Commonwealth of Australia 2012

This work is copyright. Apart from any use as permitted under the Copyright Act 1968, the work may be reproduced in whole or in part for study or training purposes, subject to the inclusion of an acknowledgment of the source. Reproduction for commercial use or sale requires prior written permission from the Productivity Commission. Requests and inquiries concerning reproduction and rights should be addressed to Media and Publications (see below).

This publication is available from the Productivity Commission website at www.pc.gov.au. If you require part or all of this publication in a different format, please contact Media and Publications.

Publications Inquiries:

Media and Publications

Productivity Commission

Locked Bag 2 Collins Street East

Melbourne    VIC    8003

Tel:	(03) 9653 2244

Fax:	(03) 9653 2303
Email:	maps@pc.gov.au

General Inquiries:

Tel:	(03) 9653 2100 or (02) 6240 3200

An appropriate citation for this paper is:

Productivity Commission 2012, Electricity Network Regulatory Frameworks, Draft Report, Canberra.

The Productivity Commission

The Productivity Commission is the Australian Government’s independent research and advisory body on a range of economic, social and environmental issues affecting the welfare of Australians. Its role, expressed most simply, is to help governments make better policies, in the long term interest of the Australian community.

The Commission’s independence is underpinned by an Act of Parliament. Its processes and outputs are open to public scrutiny and are driven by concern for the wellbeing of the community as a whole.

Further information on the Productivity Commission can be obtained from the Commission’s website (www.pc.gov.au) or by contacting Media and Publications on (03) 9653 2244 or email: maps@pc.gov.au

# Opportunity for further comment

Electricity regulation is a complex area. This Commission is releasing this draft report to encourage further comment and scrutiny from participants. You are invited to comment on this draft inquiry report in writing and/or by participating in the public hearings, as shown below. Anyone interested in participating in a public hearing should contact Jill Irvine on (02) 6240 3223 or Christine Underwood on (02) 6240 3262.

Please send written responses to the Productivity Commission by 23 November 2012. If possible, please provide submissions by email (electricity@pc.gov.au).

Public hearings will commence on the 26th November, with the venues to be advised. For those participating in the public hearings, the Commission would appreciate receiving advance copies of submissions or a brief summary on the main discussion points at least 2 working days prior to the relevant hearing date. Subject to demand from participants, the Commission may add further hearings. If these are required, details of any additional hearings will be published on the Commission’s website.

The final report will be prepared after submissions have been received and public hearings have been held, and will be forwarded to the Australian Government by 9 April 2013.

Commissioners

For the purposes of this inquiry and draft report, in accordance with section 40 of the Productivity Commission Act 1998, the powers of the Productivity Commission have been exercised by:

| Philip Weickhardt | Presiding Commissioner |
| --- | --- |
| Wendy Craik | Commissioner |

# Terms of reference

I, Wayne Swan, Deputy Prime Minister and Treasurer, pursuant to Parts 2 and 3 of the Productivity Commission Act 1998, hereby request that the Productivity Commission undertake an inquiry into electricity network frameworks, focussing on benchmarking arrangements and the effectiveness of the application by network businesses of the current regulatory regime for the evaluation and development of interregional network capacity in the National Electricity Market (NEM).

Background

Australia’s electricity sector is facing a number of challenges over the coming years. This includes a large investment requirement for networks to replace ageing assets, meet growing levels of peak demand, reliability requirements and to facilitate the transition towards Australia’s clean energy future.

Recent increases in network expenditure, and the resultant flow on to increases in electricity prices for end users, have highlighted the need to ensure networks continue to deliver efficient outcomes for consumers. Network regulation is a complex task requiring difficult and technical judgements. This inquiry will inform the Australian Government about whether there are any practical or empirical constraints on the use of benchmarking of network businesses and then provide advice on how benchmarking could deliver efficient outcomes, consistent with the National Electricity Objective (NEO). In addition, a second stream of this inquiry will examine if efficient levels of transmission interconnectors are being delivered, to inform the Australian Government about whether the regulatory regime is delivering efficient levels of interconnection to support the market.

Scope of the Inquiry

The Commission is requested to assess the use of benchmarking as a means of achieving the efficient delivery of network services and electricity infrastructure to meet the long term interests of consumers, consistent with the NEO. In addition, the Commission is requested to assess whether the current regulatory regime, as applied to interconnectors, is delivering efficient levels of network and generation investment across the NEM.

In undertaking the review, the Commission should:

- examine the use of benchmarking under the regulatory framework, incorporating any amendments introduced in the review period, in the National Electricity Rules and provide advice on how different benchmarking methodologies could be used to enhance efficient outcomes; and

- examine whether the regulatory regime, with respect to the delivery of interconnector investment in the NEM, is delivering economically efficient outcomes.

In undertaking the inquiry, the Commission should consider and take into account the work that is currently being progressed through the Standing Council on Energy and Resources, the Australian Energy Market Commission (AEMC) and the Australian Energy Regulator (AER). The Commission should have particular regard for the AEMC reviews into transmission frameworks, power of choice (demand side participation) and the suite of rule changes relating to network regulation currently under consideration by the AEMC in accordance with its statutory obligations.

The Commission should engage with the AEMC, the AER and the Australian Energy Market Operator in undertaking the review. In addition, the Commission should consult with Australian Government agencies, state and territory government agencies and other key stakeholders in undertaking the review.

The Commission will report within 15 months of receipt of this reference and will hold hearings for the purpose of this inquiry. The Commission is to provide both a draft and a final report, and the reports will be published. The Government will consider the Commission’s recommendations, and its response will be announced as soon as possible after the receipt of the Commission’s final report.

Wayne Swan

Deputy Prime Minister and Treasurer

[Received 9 January 2012]

# Acknowledgement of referee

The Commission engaged the services of Dr John Tamblyn, a well-known expert on the National Electricity Market (who has recently been involved in two other independent reviews of aspects of the electricity industry) to review some draft chapters and the overview for this report. Dr Tamblyn provided valuable feedback to the Commission, for which we are most grateful. However, the views and judgements in this report are those of the Commission alone, and should not be attributed to Dr Tamblyn or any other participant, except where clearly stated.

# Disclosure of interests

The Productivity Commission Act 1998 specifies that where Commissioners have or acquire interests, pecuniary or otherwise, that could conflict with the proper performance of their functions during an inquiry they must disclose the interests.

Dr Craik has advised the Commission that she is the beneficiary of subsidised solar PV panels.

Contents

The Commission’s report is in two volumes. This volume 1 contains the Overview, Draft Recommendations and findings and chapters 1 to 8. Volume 2 contains chapters 9 to 21 and the appendices. Below is the table of contents for both volumes.

Volume 1

Opportunity for further comment	iii

Terms of reference	iv

Acknowledgement of referee	vi

Disclosure of interests	vi

Abbreviations and explanations	xiii

Overview	1

Draft Recommendations and findings	39

1	About the inquiry	63

1.1	What are the perceived problems?	63

1.2	Overview of the regulatory framework and its institutions	66

1.3	The Commission’s approach to its terms of reference	69

1.4	A guide to the report	74

2	The structure and performance of the National Electricity Market	79

2.1	The structure of the National Electricity Market	80

2.2	The scale of the network and its costs	91

2.3	The nature of demand	94

2.4	Prices have been rising	100

2.5	The proximate reasons for higher network charges	105

2.6	Reliability	109

2.7	What is at stake?	111

3	The rationale for regulation of electricity networks	115

3.1	The characteristics of electricity networks	116

3.2	Evidence about the costs of market power	119

3.3	The case for regulating monopolies	120

3.4	Are deadweight losses passé? New theories of why monopolies should be regulated	132

3.5	The alternative policy implications of different theories of monopoly regulation	137

3.6	In summary	138

4	A framework for benchmarking	139

4.1	Benchmarking managerial efficiency and performance	140

4.2	Benchmarking techniques	146

4.3	What should be benchmarked?	150

4.4	The use of benchmarking for Australian electricity networks	152

4.5	Criteria for judging benchmarking	156

4.6	Validity — does the measure test what it claims to?	158

4.7	Other scientific criteria for judging benchmarking	168

4.8	Testing the credibility of results	172

4.9	No perfect measure is possible	175

5	Incentive regulation and benchmarking	177

5.1	Incentive regulation	178

5.2	Incentive regulation and the electricity sector	182

5.3	Effectiveness of incentives applying to capex	190

5.4	The AER’s ability to determine expenditure forecasts	210

6	Empirical evidence of network efficiency levels	219

6.1	Existing evidence and arguments	220

6.2	The relative impacts of the WACC, capex and opex	228

6.3	Demand driven augmentation	231

6.4	What does the RAB tell us?	237

6.5	Expenditure, allowances and timing	242

6.6	Public and private ownership	246

6.7	Conclusions	249

7	Ownership	251

7.1	A framework for considering ownership	252

7.2	Incentive regulation and state-owned corporations	255

7.3	Non-commercial imperatives and interference	257

7.4	The productivity and performance of state-owned businesses	264

The bottom line	267

8	How should the Australian Energy Regulator use benchmarking?	269

8.1	Could benchmarking have a mechanistic role in setting revenue allowances?	271

8.2	Benchmarking could act as a basic test of the effectiveness of the regulatory regime	276

8.3	Could more targeted analysis act as a filter?	279

8.4	Benchmarking could be a trigger for negotiated settlements	286

8.5	Information and ‘moral suasion’	290

8.6	The long-run application of benchmarking	291

8.7	The regulator’s benchmarking practices	292

8.8	Conclusion	300

Volume 2

9	Peak demand and demand management	301

9.1	What is peak demand and why is it a problem?	302

9.2	A roadmap for how this report addresses peak demand management	305

9.3	Facets of the peak demand problem	307

9.4	What is demand management and how can it provide a solution?	318

9.5	Demand management is not widely implemented	325

9.6	Why is the uptake of demand management so low?	331

9.7	Gauging the prospective benefits and costs of demand management	332

10	Technologies to achieve demand management	341

10.1	About demand management technologies	343

10.2	Some challenges implementing smart meters	351

10.3	Other technologies to reduce peak load inefficiencies	372

11	Moving to time-based pricing for the distribution network	377

11.1	Introduction	378

11.2	How do distribution businesses currently price?	382

11.3	Implementing time-based pricing	387

12	Complementary reforms to support demand management	415

12.1	Incentive regulation of network businesses	416

12.2	Retailers’ incentives and price regulation	427

13	Distributed generation	439

13.1	What is distributed generation?	440

13.2	Scale of distributed generation in Australia	442

13.3	Potential benefits of distributed generation	443

13.4	Effects of distributed generation on network costs	444

13.5	Obstacles to efficient network investment	448

13.6	Benchmarking to achieve efficient levels of network use of distributed generation	458

14	Building a reliability framework in order to benchmark	461

14.1	What issues does reliability raise?	463

14.2	Reliability under incentive regulation	465

14.3	The costs of reliability for network businesses	466

14.4	What level of reliability is efficient?	470

14.5	Measuring the value of reliability	470

14.6	Concluding comments	482

15	Transmission reliability	485

15.1	Introduction	486

15.2	Frameworks for transmission reliability	488

15.3	New South Wales, Queensland and Tasmania	492

15.4	Victoria and the Australian Energy Market Operator’s preferred national model	498

15.5	South Australia	508

15.6	The AEMC hybrid model	512

15.7	Summing up	517

15.8	The way forward	520

15.9	Delivering reliability in the shorter term	531

15.10	Changes to transmission reliability	534

16	Distribution reliability	539

16.1	Introduction	540

16.2	Reliability performance of distribution businesses in the National Electricity Market	541

16.3	Reliability settings for distribution networks in the National Electricity Market	544

16.4	An efficient and effective distribution reliability framework — a bolstered STPIS	560

17	The role of interconnectors	571

17.1	Background and perceived problems	572

17.2	Some conceptual considerations	582

17.3	Evidence of the efficiency of interconnection	587

18	Efficient use of interconnectors	599

18.1	The spot market	600

18.2	Disorderly bidding	602

18.3	Potential solutions	609

18.4	More fundamental reforms	621

18.5	The hedging market	626

19	Identifying future transmission investment	635

19.1	Transmission planning in context	636

19.2	Transmission planning	638

19.3	The Regulatory Investment Test for Transmission	643

20	Merchant interconnectors	659

20.1	The role of merchant interconnectors in the National Electricity Market	660

20.2	Regulatory biases	671

20.3	Beneficiary pays	679

21	Governance	683

21.1	Governance of the Australian Energy Regulator	685

21.2	Consumer engagement and representation	706

21.3	Processes for amending electricity network regulation	716

Appendices	723

A	Conduct of the inquiry	725

A.1	Visits and meetings	727

References	729

# Abbreviations and explanations

Abbreviations

ABS	Australian Bureau of Statistics

ACCC	Australian Competition and Consumer Commission

ACT	Australian Competition Tribunal

AEMC	Australian Energy Market Commission

AEMO	Australian Energy Market Operator

AER	Australian Energy Regulator

AEMA	Australian Energy Market Agreement

CAIDI	Customer average interruption duration index

CAPEX	Capital expenditure

CBA	cost-benefit analysis

CDF	Customer Damage Functions

COAG	Council of Australian Governments

CPI-x	Consumer Price Index minus a benchmark productivity rate (x)

CPP	Critical Peak Price

CSIRO	Commonwealth Scientific and Industrial Research Organisation

DANCE	Dynamic Avoidable Network Cost Evaluation model

DG	Distributed generation

DLC	Direct load control

DM	Demand management

DMEGCIS	Demand Management and Embedded Generation Connection Incentive Scheme

DNSP	Distribution Network Service Provider

DRED	Demand Response Enabling Device

DSP	Demand side participation

ESCOSA	Essential Services Commission of South Australia

ETC	Electricity Transmission Code

EU	European Union

GDP	Gross Domestic Product

HV	High voltage (nominally 5–22kV)

IPART	Independent Pricing and Regulatory Tribunal (NSW)

IRSR	inter-regional settlement residue

kVA	kilovolt ampere

kW	kilowatt

kWh	kilowatt hour

LRMC	Long Run Marginal Cost

LV	Low voltage

MAIFI	Momentary average interruption frequency index

PSCR	Project Specification Consultation Report

MAR	maximum annual revenue

MCE	Ministerial Council on Energy

MDMS	meter data management system

MED	Major event days

MW	megawatt

MVA	megavolt amperes

MWh	megawatt hour

NECF	National Electricity Customer Framework

NEM	National Electricity Market

NEMMCO	National Electricity Market Management Company Limited

NEO	National Electricity Objective

NEL	National Electricity Law

NER	National Electricity Rules

NGL	National Gas Law

NMS	network management systems

NTNDP	National Transmission Network Development Plan

NTP	National Transmission Planner

N-x

Ofgem	Office of Gas and Electricity Markets (UK)

Ofwat	Office of Water Services (UK) (On 1 April 2006, the functions of Ofwat were replaced by the Water Services Regulation Authority)

OPEX	Operating expenditure

PC	Productivity Commission

PV	Photovoltaic

RIT-D	Regulatory Investment Test for Distribution

RIT-T	Regulatory Investment Test for Transmission

SAIDI	System average interruption duration index

SAIFI	System average interruption frequency index

SCER	Standing Council on Energy and Resources

STPIS	Service Target Performance Incentive Scheme

SOC	State-owned corporation

TNSP	Transmission network service provider

TOU	time of use (electricity tariffs)

VCEC	Victorian Competition and Efficiency Commission

VCR	Value of Customer Reliability

WACC	Weighted average cost of capital

WAPC	weighted average price caps

Explanations

| Billion | The convention used for a billion is a thousand million (109). |
| --- | --- |
| Findings | Findings in the body of the report are paragraphs highlighted using italics, as this is. |
| Recommendations | Recommendations in the body of the report are highlighted using bold italics, as this is. |
| Requests for further information | Information requests are paragraphs highlighted using italics, as this is. |