Overview

# Overview

The main messages

Electricity prices have risen by more than 50 per cent in real terms over the past five years. Spiralling network costs are the main contributor to these increases, partly driven by inefficiencies in the industry and flaws in the regulatory environment. Resolving benchmarking and interconnector problems is worthwhile, but only as a component of a more fundamental, nationally-focussed, package of reforms that addresses the major, interlinked regulatory barriers to the efficiency of electricity networks, including: a poor focus on consumers, despite their interests being the overarching objective of the regulatory regime inadequate demand management costly ways of achieving, and sometimes excessive, reliability requirements state regulatory arrangements and network business ownership the resourcing and capacity of, and structural arrangements for, the regulator the regulatory rules, and the ability of the regulator to apply them. The overarching objective of the regulatory regime is the long-term interests of electricity consumers. This objective has lost its primacy as the main consideration for regulatory and policy decisions. Its pre-eminence should be restored by giving consumers much more power in the regulatory process. Australian governments should create an industry-funded representative energy consumer body with the expertise to be an effective participant. Some 25 per cent of retail electricity bills are required to meet around 40 hours of critical peak demand each year. Avoiding this requires a phased and coordinated suite of reforms, including consumer consultation, the phased removal of retail price regulation, and the staged introduction of smart meters, accompanied by time-based pricing for critical peak periods. This would defer costly investment, ease price pressures on customers, and reduce the large hidden cross-subsidies from (often lower-income) people who do not heavily use power in peak times, to those who do. Reliability is critical to electricity networks, but some consumers are forced to pay for higher reliability than they value. Reliability decisions should be based on what customers actually want, rather than by prescriptive (sometimes politically influenced) standards.

State-owned network businesses have conflicting objectives. There is no evidence that these businesses outperform their private counterparts in terms of efficiently meeting the long-term interests of their customers. Indeed, there appears to be evidence to the contrary. Conflicting objectives also frustrate the effectiveness of incentive regulation for these businesses. State-owned network businesses should be privatised. In progressing reform, the Australian Energy Regulator needs more resourcing, expertise, independence and accountability. The incentive regulation regime encourages businesses to build too much. Eliminating some obvious flaws would encourage more efficient investment, including: ensuring the allowed rate of return on regulated assets is not excessive ex post review of capital spending, when businesses overspend no requirement that the regulator consider every detailed aspect of the businesses’ spending proposals. At this stage, benchmarking — which compares the relative performance of businesses — is too unreliable to set regulated revenue allowances. Nevertheless, greater and more effective use of benchmarking could better inform the regulator’s decisions There is no evidence of insufficient capacity in the interconnectors carrying power between jurisdictions, as sometimes alleged. In fact, they are underutilised because of perverse incentives created by the regulatory regime. Changes to pricing rules address these incentives. The gains from a package of reforms are significant. Indicative estimates suggest: In New South Wales alone, $1.1 billion in distribution network capital expenditure could be deferred until the next five year regulatory period by adopting a reliability framework that took into account consumers’ preferences for reliability. The actual savings are likely to be larger. Adopting a different reliability framework for the high-voltage part of the network (transmission) could defer investment around $2 to 3 billion of investment across the national electricity market over the next five year regulatory period Critical peak pricing would produce savings of around $100–$250 per household each year (after accounting for the costs of smart meters). While the gains from these reforms are large, they will not happen overnight — long-term investments and regulatory decisions have already been made. But future cost savings rely on reforms made now. In considering the benefits for consumers, it is important not to blame network businesses for the current inefficiencies. Mostly, they are responding to regulatory incentives and structures that impede their efficiency.

## Why should we care about electricity networks?

Nationwide, retail electricity prices rose by around 50 per cent in real terms from June 2007 to June 2012. The rising costs of the electricity network — the wires, poles and other infrastructure used to transport power from generators to consumers — have been a major driver of these prices. Network costs are around 
40–50 per cent of an average household’s electricity bill, so any cost pressures on the network have a major impact.

Figure 1	Prices have risen steeply

| Capital city prices 1998-99 to 2012-13 (forecast) | New South Wales household electricity bill 2007-08 and 2012-13 |
| --- | --- |

Regulation plays a key role in these developments. While Australian governments have generally opened the generation and retailing segments of the electricity sector to competition, the network services remain natural monopolies and are subject to detailed government price and other regulation. This inquiry focuses on the National Electricity Market (NEM), which enables the trading of power throughout Australia, excepting Western Australia and the Northern Territory. It has several common features and institutions, including the:

Standing Council on Energy and Resources (SCER), which replaces the previous Ministerial Council for Energy, and has representatives from the Australian Government and all states and territories. It is responsible for broad policy and the legislative framework for the NEM

Australian Energy Market Operator (AEMO) which, among other roles, manages the transmission network and operates the spot market that determines wholesale energy prices

the Australian Energy Market Commission (AEMC), which undertakes energy market reviews, provides policy advice to SCER, and sets the National Electricity Rules (the ‘Rules’)

the Australian Energy Regulator (AER), which is the economic regulator for electricity and gas markets in the NEM.

The importance of the long-term interests of consumers — the objective of the national regulatory regime — has been under-emphasised. The ‘National’ in the NEM is also a work in progress — but progressing too slowly in the Commission’s view.

State and territory governments, and their regulators, still play too large a role in setting reliability standards and in regulating retailing, and they also mandate other licence conditions for the network businesses. Additionally, they have various renewable energy policies that affect network businesses’ options for efficiently addressing emerging bottlenecks in their systems. They are the owners of network services in Queensland, New South Wales, Tasmania and, in part, the Australian Capital Territory. They still own generators in New South Wales and Tasmania, and retailers in Tasmania and the Australian Capital Territory.

As a result, there is no nationally uniform regulation of network services in the NEM, with major variations in the treatment of the:

distribution networks, the lower voltage capillaries that deliver power at the local level. The distribution networks account for the bulk of total network costs

intra-regional transmission network, which comprises the high voltage components of the network that carry power over long distances within states

inter-regional high voltage transmission network (‘interconnectors’).

Quite apart from the continued parochial mix of costly state-based regulations, the AER claims that the national regime is flawed too, and has led to inflated costs of capital and created incentives for inefficient investment, with flow-on price effects.

Some also identify future problems in the NEM arising from shortcomings in the regulatory arrangements for ‘interconnectors’. The concern is that there is underinvestment in interconnectors, weakening the capacity for trading power across the network. Underinvestment could put more pressure on prices and undermine the efficient use of renewable energy generators.

Figure 2	The electricity system

The Australian Government has requested that the Commission consider these issues through two lenses:

the use of benchmarking as a means of achieving the efficient delivery of network services and electricity infrastructure. Benchmarking typically measures the costs or revenues of an efficient network business, with the regulator using the results as the standard for assessing whether any given network business’s expenditure proposals are efficient and prudent. (An alternative benchmarking approach is to reduce each network business’s allowable annual revenue by the productivity growth rate of an efficient firm — an approach already considered by the AEMC.)

the effectiveness of regulatory arrangements for interconnectors.

This report includes extensive analysis of issues directly related to benchmarking and interconnectors. However, the Commission has found that it is not possible or desirable to look at those issues separately from the complex and interrelated regulatory system in which they sit. There is, in effect, no point in simply fixing a punctured tyre if the car has no engine.

Accordingly, the Commission has adopted a broader perspective, reflecting that outcomes in the NEM involve complex interactions between multiple influences: the National Electricity Rules; the behaviour of the regulator; the governance and culture of each of the regulated network businesses; and the impacts of many other (multi-jurisdictional) regulations and policies (figure 3).

There are many ongoing and intensive reviews of the NEM, most of which are focused on specific areas of major concern. The Commission has considered the evidence and analysis from these other reviews during the course of the inquiry. It will continue to do so for reviews that have not yet been finalised.

While recognising the predominant role of the AEMC as the ‘Rule maker’, the implementation of a coordinated package of reforms — as proposed by the Commission — suggests that it will be desirable to consider some adjustment to policy-making processes (as discussed later). This would avoid undue delays in reform.

Against the broader perspective adopted by the Commission, the overarching issue is whether the main policy objective behind the NEM — the promotion of efficient investment in, and efficient operation of, electricity services for the long-term interests of consumers — is being achieved and if not, why not? This motivates the key questions underlying this inquiry: why have network costs been rising, will they continue to do so, are the costs justified given the policy objective of the NEM, and if not, how can the problems be fixed?

## Consumers have little voice in the regulatory regime

While the objective of the National Electricity Law is to meet the long-term interests of consumers, the involvement of consumers in the processes of the NEM has been partial and intermittent.

Figure 3	Benchmarking is one (small) piece of a complex regulatory jigsaw

Consumer groups have generally represented either major energy users or disadvantaged people. They have traditionally had some involvement in the AER’s regulatory processes — primarily in attempting to decrease network charges or to develop better arrangements for disadvantaged consumers. They have proposed changes to the Rules, submitted to AER network determinations and participated in some Australian Competition Tribunal hearings of appeals to AER determinations.

However, the smaller advocacy groups do not have many resources to do this, and do not believe that the Tribunal has given much weight to their views (the panel evaluating the limited merits review regime suggested that they are treated as ‘inconvenient guests’). In general, network businesses have not sufficiently engaged with consumers, even in matters where they have aligned interests (such as addressing reliability problems or introducing smart meters and the smart grid). The AER has also not engaged well with consumer groups — an observation emphasised by the inquiry into the limited merits review regime.

There are strong grounds for improving information flows to consumers — such as through the public availability of benchmarking results, and information on the various cost drivers of electricity bills.

Equally, there is merit in a single consumer body with expertise in the economic regulation of energy markets and, accordingly, the capacity to understand some of the complexities of the NEM and its investment and cost drivers. The body would need to represent all consumer groups, consistent with the objective of the National Electricity Law to promote the long-term interests of consumers.

This body could engage with NEM institutions in their processes and would give them the scope to participate in the negotiation of regulatory determinations with network service providers, a model that has apparently worked well in the United Kingdom and the United States. It would represent all household and business consumers — and not any particular constituency — and it would be headed by people selected on a merit basis. An advisory group representing the many diverse consumer groups would provide (non-binding) advice to the body.

As for some other institutions in the NEM, the body would be financed through a small ongoing levy on market participants (effectively amounting to a consumer levy). In addition to its major role as an informed and capable body with economic expertise, the body could also take over the functions currently performed by the Consumer Advocacy Panel. (The Panel is a grant-giving body, not one that participates in regulatory or appeals processes.) This would limit the proliferation of new bodies.

## Are network expenditures inefficient?

There is a strong case that the efficiency of some network businesses could be improved. The Commission’s analysis of several metrics suggests that there are significant differences in the performance of the various businesses. That should not be surprising. This is true for almost any industry. The difference, however, is that the usual competitive processes that weed out less efficient businesses are non-existent for regulated natural monopolies.

Some factors are (partly) outside the control of the businesses — which is why benchmarking of all relevant regulations (including those in states and territories and non-regulated policy influences) should play an ongoing role in monitoring the performance of network businesses.

## Demand management is weak

Network and generation capacity is based on meeting peak, not average, demand (figure 4). Peak demand growth has been a key driver of investment in generation and network capacity in the last five years. Peak demand events occurring for less than 40 hours per year (or less than 1 per cent of the time) account for around 25 per cent of retail electricity bills.

The growth in household air conditioning is the major contributor to this pattern. A household running a 2 kilowatt (electrical input) reverse cycle air conditioner, and using it during peak times, receives an implicit subsidy equivalent of around $330 per year from other consumers who don’t do this. Around two thirds of this subsidy reflects the high costs of augmenting electricity networks for very hot days, when air conditioner use collectively places enormous loads on networks.

More generally, the costs of meeting peak demand through investment in generation and network augmentation are not fully borne by those using power at peak times. As a rule of thumb, supplying a ‘peaky’ consumer will be more than double the cost of supplying a ‘non-peaky’ consumer.

### Critical peak pricing is already occurring for large energy-intensive users

Large industrial and commercial end users tend to have much flatter patterns of use and, at the margin, are a lesser contributor to peak demand. Most of these customers have the required metering, and some are already exposed to critical peak pricing. A first step would be to extend such pricing to the bulk of the remaining businesses in this group. This could provide a relatively low cost and more rapidly achieved source of critical peak load reduction, especially for transmission assets.

Figure 4	Networks must be built for the peakiest events

Currently, networks (or parties acting on their behalf) pay some large industrial and commercial users to curtail their demand to relieve network constraints in peak demand periods. These arrangements could be extended to more businesses. As proposed in the AEMC’s recent Power of Choice Review, a complementary change would be to allow reductions in load to be combined and offered by ‘aggregators’ to the NEM spot market.

### The adoption of cost reflective pricing in households and small businesses is in its infancy

Households and smaller businesses are generally not exposed to time-based, cost-reflective network pricing. Thus, users are not encouraged to shift consumption away from peak demand periods, leading to hidden subsidies between peaky and non-peaky consumers, and over-investment in peak-specific investments. Currently, a low-income household without an air conditioner is effectively writing cheques to high-income users who run air conditioners during peaky periods.

Accordingly, reliance on supply side investment to meet growth in peak demand is inefficient, is inequitable in some cases, and drives network prices higher than they need to be. Many major players have supported a change in principle, including the NEM Rule maker (the AEMC) and all peak industry bodies representing the supply chain (the Electricity Network Association, the Energy Retailers Association, and the Energy Supply Association). Various consumer groups acknowledge the benefits, but are concerned about the risks for low-income consumers.

The savings appear to be significant. One business, AGL, estimated household savings from the phased introduction of smart metering and time-based charges of $1.6 billion annually. (The Commission has generally found smaller, but still important benefits if a cost-benefit based rollout process were adopted.)

Removing such buried cross-subsidies and reducing the required investment in the network (and peaking generators) cannot realistically happen quickly. The Commission’s quantitative estimates show that any big-bang policy related to appropriate pricing would be likely to fail a cost-benefit test, as well as creating transitional costs. In contrast, a carefully managed approach has the potential to reduce price pressures significantly.

It is worth mapping out the desired end point — some years away — and then ensure there is an orderly transition. In the long run, appropriate network pricing requires several complementary policy changes, including:

time-based pricing of network charges that reflect the underlying network costs — an uncontroversial principle for many. Such pricing would have to particularly apply to around 40 critical peak hours per year (whenever they occur). The network businesses would pass on these charges to retailers. To provide the right signals, retailers would need to reflect these charges in their tariff offerings to consumers

the need to signal critical peak prices to consumers in advance — to encourage people to shift the time of their power use (hot days are predictable). In some cases, people may request that the distribution business or retailer control their key power-using appliances — mainly air-conditioning — during these peak hours (‘peak load control’). For example, they may agree to have their air conditioner remotely controlled to cycle on and off during the critical peak period, thus maintaining reasonable comfort levels, while cutting costs. The pricing and revenue formulae used by the AER would have to preserve, or create, the right incentives for network businesses to undertake such demand management

smart meters and associated technologies to determine people’s electricity consumption over time (and to read people’s meters remotely, without manual inspection). People cannot be charged time-based prices unless network businesses receive real-time information about usage patterns. Furthermore, without additional policy action, peaky users would have an incentive to refuse smart meters to retain their cross-subsidies. The Commission’s preferred approach to this problem is that in network areas where the installation of meters would deliver net benefits, all households should be required to have a meter. Alternatively, as a group, those without smart meters would have to have bear all the residual costs of peak use averaged over their tariffs and also fully bear the high incremental costs of reading their old meters manually

the phasing out of retail price regulation, which would otherwise frustrate time-based charging and stifle retail competition and innovation. In particular, with the implementation of time-based network charges, any retailers that failed to adapt their business model and continued to embed significant cross-subsidies in their tariff offers would risk losing market share (including to new-entrant retailers)

the use of weighted average price caps and changes to incentive regulation to remove the existing bias in favour of capital expenditure.

- While specifying the long run is relatively straightforward, the transition involves tricks and traps. Any transition would require:

the engagement of network businesses, retailers and especially consumers in the process, comprising provision of information, consultation, and a transition that takes into account the costs of change. (The process should take account of the lessons from the Victorian smart meter rollout, which experienced several major problems, and has made consumers wary of technological change in this area.)

coordination by distribution businesses of the gradual rollout of smart meters to consumers within localised areas of their network. Rollouts should only occur in regions where there are looming network constraints. A NEM-wide rollout at a given time would be costly, and in many instances make no difference to the required investments, thereby producing negligible benefits. An essential aspect of any regional rollout should therefore be a cost-benefit test, which would need to take into account the investments needed to implement cost-reflective pricing; the degree to which a rollout would avoid or defer costly network infrastructure; the nature of the user charges the business could apply; and retailer and consumer responses. One of the critical benefits of this approach is that it can take account of policy decisions, learning from experiences elsewhere, and technological changes that might affect the payoff from demand management over time

sensible transitional network charges. The transitional arrangements might include the initial use of poorly targeted ‘time-of-use’ tariffs, which only have simple peak, off-peak and shoulder rates. While AusGrid’s experiences in New South Wales show these do not achieve major network efficiencies, they might at least raise consumer awareness that costs vary over time and may ease the adjustment path. However, financial analysis suggests that the transition to critical peak pricing should not be too slow because the rewards from critical peak pricing are the major network savings. If the transition is too slow, then the Commission’s quantitative assessment is that it would be better not to rollout smart meters in the medium term at all

that retailers pass on time-based network charges to consumers, since this is an essential element of achieving a demand response. This is likely, but should not be assumed. Retailers could also offer complementary demand management services and technologies that reduce people’s bills, while also relieving pressure on the network at peak times.

Given the importance of the transition and its relative complexity, the Commission proposes that the Council of Australia Governments, through the Standing Council of Energy and Resources, should oversight the process. However, it should avoid prescriptive approaches that do not take into account the cost-benefit framework described above.

### Distributed generation

Distributed generation — which produces power close to the point of consumption — could potentially perform a similar role to demand management. It may sometimes help to relieve network congestion, meet peak demand or improve system reliability, thereby avoiding or deferring network investment.

However, the current policy environment sends opposing signals to distribution networks and consumers about the economic value of distributed generation. On the one hand, the capacity for local generation to substitute for network investment is constrained by regulatory obstacles, although some of these — such as a lack of information about network constraints and uncertainty about connection charges — have been, or are soon to be, substantially resolved.

On the other hand, various subsidies to certain types of distributed generation — particularly rooftop photovoltaic units — have led to unbalanced incentives and inefficiencies. The take-up of rooftop photovoltaic units has produced minimal network savings, as existing non time varying tariffs do not encourage householders to orient units to the west to maximise generation in periods of peak demand late in the afternoon. Moreover, the effective use of distributed generation to produce network savings needs to ensure that take-up is maximised in those parts of the system subject to the greatest constraints.

Current subsidies to particular forms of distributed generators have had few benefits for the network and, in the face of carbon pricing, now play a redundant (and inefficient) role as a measure for reducing emissions. Governments should therefore phase out as quickly as practicable subsidies for rooftop photovoltaic units, other forms of distributed generation delivered via feed-in tariffs, and the small-scale component of the Renewable Energy Targets Scheme.

State and territory governments should change the feed-in tariffs for any uncontracted small-scale distributed generators exporting power into the grid, so that their tariffs reflect the market wholesale prices at the time of energy production, and the (net) value to network businesses from reducing loads on their equipment at critical peak periods.

## Reliability standards are mostly too high

Ensuring reliable networks requires significant ongoing investment. As demand grows, reliability standards increase, or network infrastructure ages, network businesses must increase their investment — which ultimately customers must finance. However, there is a growing concern that some network reliability standards are too high (which some claim have reflected political responses to isolated major blackouts, rather than systemic problems), with costs that exceed consumers’ willingness to pay. (Against that background, the AEMC is undertaking its own independent examination of reliability in transmission and distribution networks.)

The benefits of re-aligning standards to meet consumer preferences appear to be large and some benefits could be realised soon after jurisdictions agree to the new framework. For example, the Australian Energy Market Operator (AEMO) cited a proposed investment in New South Wales to meet a ‘deterministic’ standard that implied that customers valued their electricity at around $9 million per MWh (an estimated 150 times more than consumers would be willing to pay).

There are two principal sources of difficulty with reliability standards.

Parochialism — there is no national framework for standards. Jurisdictions impose different reliability requirements (mostly uninformed by customer preferences), and measure reliability in different ways. The focus of network businesses and particularly transmission businesses — reinforced by history, organisational culture, an understandable desire to control outcomes, and familiarity with local requirements — might rely too heavily on intra-state network solutions and ignore more efficient inter-state options.

The price–quality tradeoff is invisible to most consumers — most are unaware of the high price they pay in their electricity bills for the super-reliability resulting from excessively stringent standards. (Equally, were a lower than optimal standard to be set, they would not know how much they would need to pay to improve it).

The way forward must take account of the fact that the reliability issues for distribution and transmission networks are different.

### Distribution networks

Given the greater and more timely observability of reliability problems in distribution, it should be possible to relinquish current jurisdictionally prescribed input standards. Instead, the regulator should impose appropriate penalties (rewards) for businesses failing (exceeding) a reliability performance target, basing the incentives on clear evidence of customers’ willingness to pay for reliability. This approach would aim to replicate the signals that customers in competitive markets send to suppliers about the tradeoffs between quality and price, allowing distribution businesses to take a commercial approach to their investments in reliability. This would lead to reliability outcomes at the local level that reflected local consumer preferences rather than prescriptive standards, and that would encourage efficient expenditure (including for non-network solutions).

The new incentive regime would build on the AER’s existing Service Target Performance Incentive Scheme (STPIS), which penalises/rewards businesses for their reliability performance. As well as applying all components of the Scheme to distribution businesses throughout the NEM, the Commission proposes that incentives for performance be based on an up-to-date assessment of the value that the relevant mix of customers place on reliability. Bolstering the reporting requirements under the Scheme would also increase transparency and facilitate benchmarking. An amended STPIS would remove the need for jurisdictionally-based reliability requirements for distribution businesses.

### Transmission networks

Unlike distribution networks, transmission networks rarely experience major problems. Problems in transmission can lie latent until major loads and coincident failures in generation or network equipment overstretch the system. The resulting extreme power outages can then affect large populations and entail high costs. For example, in an international context, a major blackout in North America in 2003 led to power loss for up to two days for 50 million people, costing around $6 billion at that time and contributing to 11 deaths. The prospects of relying exclusively on an incentive scheme similar to the STPIS are weak because of the rarity of such events, the lack of good leading reliability indicators (and the potential financial inability of a network business to compensate consumers for the large damages experienced).

Another aspect of transmission networks is that power inputs into the network at any one point (say North Queensland) can affect transmission networks thousands of kilometres away. Interruptions or changes can have adverse impacts on other networks in the NEM, including major blackouts if the system becomes unstable. As the NEM becomes more interconnected, network effects are likely to increase. Reliability standards that are specific to a jurisdiction (or a network) do not consider these inter-jurisdictional network effects, and so current requirements that encourage transmission businesses to optimise only their own networks do not provide an efficient level of reliability.

It should be emphasised that there are no easy solutions for ensuring efficient transmission reliability and planning in the NEM (and indeed this is the experience internationally). All arrangements involve ‘big brother’ in one form or another, whether it be governments, a confederation of network businesses, or a single body. Compromises and judgments must be made. A combination of transparency, accountability, consultation, specialist knowledge, independent decision-making and giving pre-eminence to consumer preferences are the essential components of a workable arrangement. The AEMC have recently made recommendations to address the above problems. While there are significant overlaps between the Productivity Commission’s and the AEMC’s thinking in this area, on balance, the Commission prefers a different model to that favoured by the AEMC.

The Commission favours:

developing a single NEM-wide reliability framework for transmission, which would make network planning more coherent and avoid some of the biases towards intra-regional transmission infrastructure compared with interconnectors or other solutions

setting planning standards using the ‘probabilistic approach’ (in which the costs of an improvement in reliability are set against the assessed value to consumers of this improved reliability at the jurisdictional, or even more local level). This is simply a cost–benefit test

a model that better caters for the varying value of reliability by region and customer type and need, rather than the present system where the required standards are often divorced from customer preferences

involving a single planning agency for the entire NEM that is independent of individual governments and network businesses, which are conflicted in their role as planners and reliability setters. The Commission proposes AEMO as that agency. Under this model, AEMO, in close collaboration with each transmission business would use a probabilistic model to identify and specify augmentations, and use a cost-benefit test to select the most efficient investment. Introducing contestability for ‘separable’ augmentations of the network (as currently applies in Victoria and in parts of the United States) is appealing in principle. However, realising the potential benefits requires deep, contestable markets and low transaction costs. The Commission currently has insufficient evidence on the costs and benefits of contestability and accordingly is seeking further information. At this stage, the Commission recommends that the planner (AEMO), in consultation with incumbent transmission businesses, would identify and specify appropriate augmentations and non-network solutions and their timing. For large projects, the network businesses would be expected to manage and tender individual projects themselves, but the AER would approve the required revenue allowance before the project is due to commence. However, for small projects, only AEMO would be involved in negotiating the costs with the transmission businesses.

This approach does not involve significant uncertainty. It is similar to the model used in Victoria. However, under the Commission’s model, AEMO would not exercise a procurement function for either separable or non-separable projects at this stage.

The gains of reform in this area are significant. The Commission estimates that an efficient transmission reliability framework could produce net present value savings in the realm of $1 billion within a single regulatory period, but much more over the long run.

However, some parties prefer a model in which businesses would meet so-called hybrid standards and make their own investment decisions, with AEMO playing an advisory role. Such an approach (which the AEMC supports) would be superior to the current arrangements outside Victoria and would reduce excessive investment. Its effectiveness would be bolstered by privatisation since, under incentive regulation, businesses would have a profit motive to choose the least costly approach. However, under the hybrid model:

customers would not immediately benefit from the cost savings of the businesses, until the AER factored these into lower revenue allowances in future regulatory periods

there would still be some of the costs associated with the use of deterministic standards, with the risks this poses for overinvestment, poorly allocated investment, bias towards intra-state rather than inter-state options, and levels of reliability exceeding those valued by consumers

the gains could be weakened if state-owned transmission businesses are not privatised

there is no independent determination of the type, scale and timing of investment needed to optimise the network.

If governments do adopt such an approach rather than the Commission’s preferred alternative, the Commission proposes that there should be greater scrutiny by the AER of the measures intended to relieve constraints or deliver customer driven reliability standards. Where there is a discrepancy between the scope, specification and costings of AEMO and the transmission business then:

during the revenue determination process, the AER, would accept AEMO’s advice on the required revenue to fund the (big and small) investments necessary for reliability purposes, unless the transmission business can show why its alternative was more efficient. This would require amendment of the Rules

given this approach maintains incentive regulation, the network business may subsequently choose alternative investments than those proposed by AEMO.

The Commission is seeking feedback on the costs and benefits of its preferred approach compared with alternatives, and will take into account the AEMC’s considerations of these issues in the final report.

## State-owned enterprises

Transmission and distribution businesses in Tasmania, NSW and Queensland remain state-owned (and partly state-owned in the ACT), whereas network businesses in Victoria and South Australia are privately owned.

While governments have a legitimate role in owning and operating many services in Australia, the rationale for state-ownership of electricity network businesses no longer holds. This reflects the development of sophisticated incentive regulations that function best when the regulated businesses have strong cost-minimising and profit motives.

State governments often impose multiple constraints on state-owned corporations that are incompatible with the maximising returns to their shareholders. These constraints can include:

social and environmental obligations

requirements to procure locally

a lack of coherence of governments in their dealings with the businesses over time. Governments may make decisions to reduce dividends when price increases are politically sensitive, limit capital spending when governments are concerned about debt levels, or encourage capital expenditure if there are pressures for greater reliability

employee benefits and job security for employees that are out of kilter with those associated with most businesses

poor governance, including appointment of board members on a non-merit basis.

For example, in New South Wales, the Acts governing the state-owned corporations include non-commercial goals, which, where appropriately justified, would be better met through explicit government regulation or budgetary measures. At a minimum, the objectives should be prioritised. For example, in New South Wales, s. 8 of the State Owned Corporations Act 1989, requires state-owned corporations to give equal weight to commercial success, social responsibility, ecological sustainability, and a sense of responsibility towards regional development and decentralisation.

State ownership can involve employee protection arrangements that would not be typical in most private businesses. For instance, in New South Wales, Ausgrid is required to provide a five-year employment guarantee to award staff and is subject to requirements to procure locally in some cases, a hidden cost which electricity consumers must bear.

While analysis of relative efficiency is difficult, the empirical evidence suggests that, although some perform relatively well, as a group, the aggregate productivity outcomes of state-owned businesses are poorer than their private peers. This is likely to reflect the mixed incentives they face. Some participants in this inquiry claim that a risk-averse focus on ‘building things’ still permeates some of these businesses.

There are strong arguments for privatisation of these businesses. There is no evidence that the productivity, reliability, quality or cost performance of private sector electricity network businesses is worse than their public sector equivalents. To the contrary, the evidence in Australia and internationally suggests that such private sector enterprises are more efficient. It should be emphasised that privatisation is not de-regulation. To the contrary, there is a symbiosis between regulation and privatisation. Strong regulation is needed to achieve the private provision of secure, reliable and appropriately priced electricity network services. And privatisation strengthens the effectiveness of incentive regulation.

Figure 5	Operating expenses for state-owned and private businesses

$ per kilometre of line

Privatisation is not a radical move. There have been few problems in Victoria or South Australia.

In the event that privatisation does not occur, there are strong grounds for different governance arrangements, with the goal of re-invigorating the original purpose of corporatisation of the old state-owned businesses. Among others, this includes merit-based appointment of all board members, public disclosure of ministerial directions, and the removal of non-commercial objectives and obligations (such as procurement and employment policies).

## The critical role of the Australian Energy Regulator

The NEM involves multiple interested parties and institutions with clearly defined roles. Ensuring these institutions work well is critical to effective regulation and, in the context of this inquiry, to the degree of discretion that they may wield in using benchmarking, determining new rules and planning the network.

There are reasonable grounds for changing aspects of the governance of the AER, which is currently located within, and resourced by, the Australian Competition and Consumer Commission (ACCC). During the formation of the NEM, it was initially intended that the AER should be a standalone independent entity.

The regulator has not won the confidence of stakeholders, and perceptions of its performance have declined in recent years — as indicated in the AER’s own surveys. The concerns about the agency assume several forms. One relates to the resourcing, processes and capabilities of the organisation. Some have claimed that it is overly legalistic, adversarial, insufficiently consultative, and that it does not have enough in-house expertise. The other concern relates to the degree of its independence, given its co-location in, and links with the ACCC.

Impressions of organisations by other stakeholders can be misleading, but these concerns have been raised by many diverse parties. The Commission understands that the AER is also aware of many of these issues, and has developed a strategy for addressing them. A first step in organisational change would be to undertake a small-scale and quick review to independently assess the nature and degree of any inadequacies, including the need for more resourcing and greater expertise in some areas.

On the governance issue, the Commission weighed up several options, of which the two most appealing were:

leaving the AER inside the ACCC, but with independent control over its resources, and budget, and greater accountability about how it manages those resources (including through a separate annual report). The AER would publish its strategy for improving its performance and its relationship with stakeholders, and provide milestones against which to assess whether the strategy was working. This option recognises some of the benefits of co-location, including access to some of the ACCC’s specialist expertise, the synergies with other aspects of utility regulation undertaken by the ACCC, and the capacity to move staff between the two bodies when there are peak demands (as occurs as new regulatory determinations are progressed). There are also budgetary benefits from sharing offices with the ACCC across the eastern states and territories

removing the AER from the ACCC and creating a standalone independent energy regulator — an option suggested by many stakeholders in the Commission’s consultations — and consistent with the original institutional arrangements envisaged for the National Electricity Market (and as raised in the most recent October meeting of the Standing Council on Energy and Resources). This would remove any perception that the ACCC unduly influences the AER, and would make it easier for it to be properly funded (as for AEMO) through a levy on market participants. Such funding would assure that the agency would have a secure source of funding to undertake its regulatory functions (noting that these will grow as it assumes responsibility for regulation of energy retailing, and the additional functions outlined in this inquiry report). Separation would allow the AER to develop its own organisational culture, and under an appropriately constituted board, to exercise control over its recruitment, remuneration, performance management and accountability for effective processes and outcomes.

The choice between the two options appears finely balanced. The Commission’s current position is to recommend the first option for the time being and assess whether that achieves the desired outcomes. This would take account of the non-trivial transaction costs of re-structuring (especially as major regulatory determinations are looming) and the loss of some positive synergies. However, the Commission is seeking feedback on this issue from stakeholders.

Another related issue is funding. While it appears that funding through a levy on market participants would most easily be achieved were the AER a separate regulator, the Commission understands that it may still be possible to fund the AER through an industry levy without separation. The desirability and feasibility of such a funding arrangement is uncertain — another area where the Commission invites the views of participants.

## Incentive regulation is not working well

### Incentive regulation and the regulator’s forecasts of efficient costs

Under incentive regulations, the regulator forecasts efficient aggregate costs over the upcoming regulatory period (of usually five years), which it uses to set a revenue allowance for that period. The business makes higher profits if it reduces costs below those forecast by the regulator. In doing so, the business reveals the efficient costs of delivering the service, which would then influence the regulator’s determination in the next period. Accordingly, incentive regulation encourages efficiency while reducing the risks that networks use their monopoly positions to set unreasonably high prices. Benchmarking — which measures a network supplier’s efficiency against a reference performance — is just one way of assessing whether any given business’s expenditure proposals are efficient.

The theory is fine; the reality is not. The regulatory arrangements underpinning incentive regulation are protracted, uncertain and costly, with the proposals and the regulator’s determinations becoming increasingly detailed over time. The decision documents for Victorian electricity distributors were around 450 pages in 2000, around 1000 pages in 2005 and 1800 pages in 2010 — reflecting the complexity of the proposals and the huge size of the network revenues involved (around $9 billion annually). The Rules that stipulate many of the requirements for proposals are also lengthy and subject to regular changes — currently more than 1300 pages, and now up to the 51st version in just six years. (The Rules most relevant to this inquiry are around 200 pages in length.) The approximate cost of one complete cycle of revenue determinations using the current approach is $330 million.

One of the potential advantages of more aggregated benchmarking of business costs (or, as the AER requests, more discretion) is that it might avoid the necessity for such complex proposals and determinations, and help overcome the information disadvantages a regulator has in dealing with the minutiae of a business’s cost structures. However, given claims about systemic flaws in the current Rules, a critical issue is whether the results from benchmarking or any other cost models would be pointless adornments to long reports, or would actually constrain inefficient network businesses’ spending.

There are three main areas of concerns about the Rules, all of which have a bearing on benchmarking.

### Can the business circumvent incentive regulation?

Several aspects of the regulatory environment — one a function of the Rules, and the other a consequence of state-ownership of businesses — may collectively have unwittingly frustrated the purpose of incentive regulation.

Some businesses have spent much more than the regulator’s revenue allowance. Any excess capital spend (capex) is rolled into a business’s Regulatory Asset Base at the next regulatory determination. While it cannot recover revenue to meet the cost of this additional capex during the relevant regulatory period, the business can earn a return on that excess capex for the remaining (usually long) life of the assets.

Though hard to substantiate, there is reasonable concern that:

the weighted average cost of capital used to determine allowances may have been too high, reducing the penalty from overspending (and sometimes making it commercially attractive)

the investment decisions of state-owned corporations may be distorted by easier access to finance than their private peers. The states apply competitive neutrality charges on debt and tax equivalent payments on the network companies. However these flow back to state treasuries which, as shareholders may take a different view to those of private companies. From a whole-of-government perspective, the usual strong discipline of shareholders to constrain overspending is weakened. Certainly, it appears that state treasuries have recently been prepared to fund capital overspending of their network businesses. This appears to be in contrast to most private shareholders which, given recent equity and debt markets, would have found it very difficult, if not imprudent, to have adopted a similar strategy.

The incentives for what some call ‘goldplating’ would be weakened if the regulated rate of return on capital is ‘correct’ and if the AER were to introduce an incentive arrangement that provides consistent incentives to reduce capital expenditure costs throughout the regulatory period (a so-called ‘efficiency benefit sharing scheme’). Nevertheless, where a business exceeds the amount of forecast spending in the regulator’s final determination, there are compelling grounds for the AER to re-assess the efficiency and prudence of the additional capital spending. The onus of proof should be shifted so that the business would need to show why consumers should bear the costs of expenditure overruns.

### Do the Rules oblige the regulator to become bogged in a morass of detail?

Several informed commentators argue that the Rules require the AER to examine all elements of the proposals made by the businesses when making its determinations. There is some uncertainty about whether the Rules really do oblige the AER to behave this way. Nevertheless, the AER appears to act as though it is constrained, and the length and detail of the proposals and responses are consistent with this. For example, there have been debates about the efficient number of locks and keys, the length of insulated conductors and appropriate pole treatment processes.

If the AER must engage with the detail at this level, then it would severely constrain the capacity for many forms of benchmarking and other cost forecasting approaches to simplify the current system. For instance, the AER would have an uncertain capacity to use benchmarking in concert with other cost estimation methods to reach determinations on reasonable aggregate opex allowances.

Moreover, such a detailed approach leaves the AER exposed to merit review of any of the parts of a business proposal. Network businesses have a capacity to ‘cherry pick’ the aspects of a proposal where they believe the regulator is in error. In contrast, they obviously have little interest in revealing where the regulator has been too generous. In some instances, this has led to the situation in which a ruling has been made on one aspect of the AER’s determination to correct an error, while ignoring that such an error must have countervailing impacts on a related matter. (This has apparently applied to the way in which the weighted cost of capital is calculated.) The National Electricity Law gives little capacity for the regulator to address these interdependencies. Overall, the objective of the National Electricity Law — the long-term interests of consumers — appears to have been lost in what has become an elaborate legalistically framed process. There would be benefits in clarifying:

the importance of the National Electricity Objective as a guiding principle for decisions in any merits review process

the interdependence between some critical aspects of business costs.

An independent panel investigating the limited merits review regime has recently reported its findings and recommendations to the Standing Council on Energy and Resources (although at the time of finalising this report, the Commission has not examined the panel’s review).

### The reasonableness of the ‘reasonableness criterion’

The AER has argued that it cannot set efficient revenue allowances because the Rules oblige it to accept the highest cost that just passes a reasonableness criterion, rather than using its best cost estimate. However, there are several counter perspectives:

In using benchmarking and other approaches, the regulator has rejected business cost proposals in many cases, sometimes by large amounts, so it is hard to assess the degree to which it has actually been constrained.

Some of the recent and very significant cost increases for distribution networks reflect decisions made in state-based regulatory environments, and cannot be attributed to the Rules.

Any cost estimation method — benchmarking or otherwise — cannot ever measure the most efficient cost with precision. The likelihood of error with even the ‘best’ regulatory estimates is (exactly) 100 per cent. Assuming that the problems that encourage cost padding are resolved (as discussed below), under-remuneration is likely, ultimately, to lead to larger costs than over-remuneration of an equal magnitude. This is because the costs of underinvestment affect the long-run provision of reliable network services to consumers. In contrast, if the incentive regime were performing its role, any over-remuneration would not lead to over-investment by a well-governed, profit-motivated network company. Rather it would result in slightly larger profits (which have lower efficiency costs), which the regulator could reduce in subsequent regulatory periods.

This suggests there should be the retention of some bias towards encouraging investment, but not too large a one. Benchmarking (triangulated with other information) is compatible with this approach so long as the regulator uses a standard for assessing business performance that is not at the best practice frontier — leaving room for regulatory error.

However, in keeping with desirability of avoiding assessment of every detail of a business proposal (as discussed above), the Commission considers that the AER should only be required to test the ‘reasonableness’ of the overall expenditure proposals.

The AER has requested a rule change through the AEMC to address the various deficiencies in the regulatory regime, including much greater scope for discretion. The AEMC’s consideration of this matter is ongoing but they appear to be sympathetic to the AER’s rule change request (reflected in a recently released draft determination). The Productivity Commission is also sympathetic to some aspects of the Rule change request, but considers that regulatory discretion needs to be tempered. Certainly, as discussed further below, aggregate benchmarking by itself would be a fragile basis for exercising discretion.

## The role of benchmarking

Supposing that the flaws in the regulatory regime were corrected, including privatisation and some major Rule changes, the question remains about the role of benchmarking.

At this stage, and given the difficulties outlined in box 1, benchmarking is not sufficiently reliable or robust to set regulated revenue allowances. A particular concern is that it is difficult to distinguish between inefficiency and errors arising from model misspecification, poor data, different regulatory settings and varying operating environments.

Box 1 The difficulties with benchmarking

While benchmarking methods are often sophisticated, there are many problems in applying them and uncertainties about the accuracy and robustness of the results: - There are many different methods for estimating ‘efficient’ costs. They revolve around the assumption that unexplained differences in the performance of firms reflect managerial inefficiency. Different approaches can result in divergent measures of efficiency — which may not be a sound basis for regulating future revenue or prices. - Incentive regulations require a reward for the vigorous (and risky) pursuit of cost efficiency. Setting the benchmark to that of the highest performer dulls those incentives since no one would have an incentive to be the leader. However, setting the benchmark at the lower end of performance takes pressure off inefficient businesses. The decision about where to set the line is difficult and involves judgment. - Quality must not be overlooked. A business subject to incentive regulation may appear to be performing efficiently in cost terms, but may lower its quality. This is why, regardless of the regime used to set revenue allowances, complementary regulation or incentive schemes specifically related to reliability, are also necessary. This is much more difficult in transmission where there are few good output measures of likely future reliability performance. - Different reporting systems produce measurement errors. - Any comparisons between businesses must take into account differences in their operational circumstances (such as topography, customer density, and differences between jurisdictions about which assets lie within transmission or distribution networks) and policy constraints (such as higher or differently defined reliability standards or statutory requirements for non-commercial goals for state-owned corporations). Much of the international academic literature on benchmarking uses too few variables to draw strong inferences about the efficiency of specific firms. - There are only 13 distribution businesses, five regional transmission businesses and three separate DC interconnectors in Australia, which reduces the capacity for elaborate models that take into account (e). It also means that the performance bar might be set quite low if the highest performing Australian business were still quite inefficient. International benchmarking might assist, but has to be interpreted carefully given that adjusting for the differences noted in (d) and (e) may increase the number of variables at a higher rate than the additional number of businesses used in benchmarking.

Such difficulties are less severe if the purpose of benchmarking is to identify broad efficiency concerns about network businesses. However, in setting regulatory allowances, badly configured benchmarks could lead to under-remuneration of businesses, with risks for efficient investments and business solvency.

Nevertheless, benchmarking may usefully test specific features of a network business’s proposal. Operating expenses, such as the costs of vegetation clearance around poles and wires, are more generally amenable to benchmarking than capital expenditure. Such specific benchmarking may be reasonably reliable because there are fewer confounding variables. It may also be possible to expand the number of comparisons by analysing performance outcomes from many regions of any given business. The AER has made some use of such benchmarking, as have network businesses for commercial purposes, underlining that it is sufficiently robust to be useful.

If its rigour and accuracy improves, aggregate benchmarking could also encourage early settlement in determinations, short-circuiting the current costly processes. Depending on the divergence between benchmarking and the business proposal, the AER could immediately accept a proposal as reasonable, or if the proposal were in the ‘ballpark’, commence negotiations with the network business, with the involvement of consumers. The AER could also request further information (a ‘please explain’ notice) to assist the early resolution of an agreement. Failing a quick resolution, the AER would adopt the current forensic and protracted processes. The risks and costs of those processes would encourage parties to seek negotiated settlements.

A Rule change would be required to allow the AER to use benchmarking (or any other evidence at its discretion) on a standalone basis, where it led to an early and mutually agreed outcome between the business, the regulator and consumers.

### Processes and resources for benchmarking

A major study ranked Australia as a relatively unsophisticated user of benchmarking in electricity networks. Recognising this, the AER has recently reviewed the use and methods of benchmarking by other energy regulators, and is collecting data that would allow it to undertake more elaborate benchmarking. However, the AER should adopt further measures to ensure the successful use and evolution of benchmarking, including:

the development of publicly available databases and full transparency in the processes and methods the AER uses in its benchmarking. (The standard of reporting of benchmarking and testing of its rigour and robustness would need to be high before the results could play a major role in revenue determinations.)

the development and retention of internal expertise, strategies that maximise learning and greater international collaboration with other regulators and benchmarking agencies

peer review of its benchmarking practices (‘benchmarking of benchmarking’)

appropriate consultation with stakeholders about the required data and appropriate methods and regular checking to ensure that the benefits of its benchmarking practices exceed the compliance and resource burdens.

effective communication of the results of benchmarking to its diverse audiences, and in particular to consumer groups, which may use the information to place greater pressure for improved performance by network businesses.

Such initiatives may eventually allow benchmarking to serve a greater role in making regulatory determinations. If benchmark methods become sufficiently robust, the current onus of proof might be switched, with a business having to explain why its alternative proposal would be reasonable. Setting the benchmark target at a slightly less demanding level that that of a fully efficient firm could provide some protection against regulatory error.

## Interconnectors

In contrast to concerns about over-investment in each region’s own network, some stakeholders argue that there has been underinvestment in interconnectors, citing the presence of interconnector congestion as an indicator of this. They claim that underinvestment has led to insufficient trade in energy across borders and the use of market power by some generators, and acted as a barrier to the wider use of low-carbon emitting generators (particularly wind).

However, there are several major flaws in these claims:

Congestion is not inherently bad. Just as in roads, some congestion is efficient because the costs of lowering congestion can exceed the benefits. The current evidence suggests that interconnector capacity is close to its optimal level. For example, cost–benefit analyses of interconnector upgrades or new interconnectors suggest that these are only economically efficient in the future.

The problems attributed to apparent underinvestment in interconnectors — such as the exercise of market power by some generators — are often the consequence of other aspects of the network and the regulatory system. Simply increasing interconnector investment would often not resolve these problems, or would not be the most efficient way of doing so.

The Rules may sometimes affect the bidding behaviour of generators in perverse ways. This can undermine the purpose of interconnectors by impeding the efficient use of excess capacity (quite the opposite of a problem with congestion). Moreover, the regulatory regime for transmission (of which interconnectors are a part) should be future looking. Accordingly, while existing interconnection infrastructure may be satisfactory, the current system may not deliver efficient future investment.

The reasons for this are highly technical, but the main factor undermining the efficient use of interconnectors is the strategic behaviour of generators, which is encouraged by the design of the spot market in the NEM, the physical configuration of both transmission and generation in the NEM and the way that transmission services are priced.

When transmission constraints bind, it may be necessary to dispatch higher cost generators ahead of more efficient ones to meet demand. But this can also be the result of, or be exacerbated by, strategic behaviour by generators (so-called ‘disorderly’ bidding) located behind a constrained transmission line. They can also prevent the dispatch of efficient generators in another state and thereby reduce traffic on an interconnector, sometimes precisely when maximising flows would be helpful to meet peak demand in another jurisdiction. Indeed, in certain bizarre instances, generator bidding behaviour may result in ‘counterflows’, in which the pattern of trade violates the usual assumptions of comparative advantage. Generators with higher costs send power to a state with lower-cost generators. Disorderly bidding can be a highly profitable strategy for generators.

In the short-run, this conduct mainly results in income flows between parties, but not inefficiency. However, over the longer run, it has several perverse outcomes:

generators face inefficient signals about where to locate

older higher-cost generators may not be decommissioned early enough

the capacity of inter-regional contracting across interconnectors to provide insurance through hedging instruments is undermined, forcing parties to use more costly hedging, or to avoid inter-regional trading altogether

the signals for the efficient investment in interconnectors are distorted, and with that, network planning across the NEM.

The Commission agrees with the option proposed by the AEMC in its transmission frameworks review. Disorderly incentives can be removed by providing for ‘optional firm access’. Under this arrangement, generators can pay for privileged (‘firm’) access, or if choosing open access, risk paying compensation if they are dispatched out of order. This would achieve short-term gains and provide long-run locational signals.

Quite apart from reforms to transmission pricing, the Commission’s preferred NEM-wide planning approach (as discussed earlier) is likely to overcome biases against interconnectors arising from a tendency to favour intra-regional transmission options. Despite some concerns, the framework for the RIT-T (Regulatory Investment Test for Transmission) for any major new transmission projects is generally sound. Nonetheless, requiring that an independent planner undertake the test in close consultation with the transmission business is likely to ensure that all relevant options (including inter-jurisdictional options) have been considered.

## Implementation and outcomes

In considering benchmarking and interconnectors, the Commission has necessarily had to examine how the whole NEM functions, but with a particular focus on networks. It has proposed a suite of coordinated reforms (table 1) that aim to take account of the many inter-relationships in what amounts to a complex economic ‘machine’. However, such reforms require careful implementation (table 2).

Over time, the fundamental objective of the NEM — the need for efficient investment in, and operation of, networks in the long-term interests of consumers — has lost its justifiable pre-eminence. The current NEM is ‘off-course’ to deliver this objective. This has been apparent in the merits review process, parochialism, too much focus on the network businesses (exemplified by transmission planning and reliability issues), the gradualism of retail reform, continued government ownership of network businesses, and above all, the muted role of consumers themselves in the processes.

Major stakeholders, particularly investors in long-lived network assets, are understandably nervous about any changes to the rules and regulatory environment that might adversely affect their investments. Meeting the long-run interests of consumers requires that investors are confident that the regulatory regime will deliver adequate returns on their investment. Some may argue that the Commission’s suite of recommendations represent an unacceptable rate of change and risk to investor confidence. To this, the simple but fundamental point is that the recommendations made by this inquiry do not represent any change to the ‘goal posts’ of the NEM — with the fundamental uncertainty that would entail for consumers and network businesses. Rather, the recommendations are designed to re-orient the framework to better achieve its original objective.

There have been some legitimate reasons for price increases over the last few years, but the system as a whole is inefficient, and price pressures could be reduced substantially over the longer term if a coordinated set of reforms were introduced. Consumers have much to gain from the proposed reforms.

### How can the Commission’s review fit into the reform agenda?

The existing governance arrangements for the NEM ensure that any consequential Rule changes only occur after in-depth analysis and transparent consultation by an independent body — the AEMC. The South Australian Minister — with agreement by other jurisdictions in the Standing Council on Energy and Resources — has previously had a (limited) capacity to make Rule changes, but that capacity has lapsed.

One Achilles’ heel of these processes is that a parallel review — such as this inquiry or the recent evaluation of the limited merits review regime — that uses similar transparent processes and analytic methods, does not appear to remove the need for formal Rule change requests and further AEMC reviews. The implication is that reviews lead to reviews, which delays reforms and adds burdens to stakeholders.

The burdens posed by inertia and compliance costs could be resolved by amending the National Electricity Law so that the Rules can be changed if the reform proposal is underpinned by an independent and consultative review undertaken by an appropriate agency, and whose recommendations are agreed by the Standing Council.

The Commission recommends that, subject to endorsement by the Standing Council, it should give the:

AEMC the power to fast-track Rule changes based on the outcomes of such reviews (extending its current capacity to accelerate reviews for minor matters), and

South Australian Minister a broad ‘one shot’ power to make Rules when a comprehensive review has occurred.

Table 1	A summary of the Commission’s main proposals

| Current problem | Proposed response | Main benefits from reform |
| --- | --- | --- |
| A focus on consumers The National Electricity Objective (the long-term interests of consumers) has lost its pre-eminence in regulatory decisions. | A new consumer body, with the expertise and funding to be an effective participant in the regulatory process should be created. (The limited merits review process should also be reformed) | Customers would have more power in the regulatory process, keeping the NEO in sight and preventing undue focus on technical, financial and legalistic details. |
| Demand management Some 25 per cent of (expensive) system investment is required just to meet 40 hours of critical peak demand each year. | A coordinated suite of reforms should be introduced over time, including consumer consultation, removal of retail price regulation, and the phased introduction of smart meters, accompanied by time-based pricing for critical peak periods. Direct load control options — complementing or substituting for time-based pricing — would also play a role. | System use and investment would be better aligned, reducing the amount of expenditure required just to meet peak periods. The Commission estimates net annual savings of $100–$250 per household (after smart meters are installed). |
| Reliability Reliability is critical to electricity networks, but the current standards are not set efficiently, and often bear little relationship to the value to customers. | Reliability decisions should be based on customers’ valuations, not prescriptive standards. For distribution, a new national reliability framework should be introduced, and incentive schemes reformed to reflect customer preferences For transmission, reliability standards should be set on a NEM-wide basis, and involve a single transmission planner (which would also benefit interconnectors). | Distribution: in NSW alone, $1.1 billion of network capital expenditure could be deferred until the next five year regulatory period. The actual, NEM-wide, savings are likely to be larger. Transmission: a new reliability framework could defer around $2 to 3 billion of investment across the NEM, over the next five year regulatory period. |
| Network ownership State-owned network businesses and their owners have conflicting objectives, which can frustrate the effectiveness of incentive regulation. There is no evidence that state-owned businesses outperform private ones, and some evidence to the contrary. | State-owned network businesses should be privatised. If not, governance should be improved, and non-commercial objectives and policies should be removed. | In the first instance, the efficiency of network businesses can be expected to improve, reducing costs to customers. Incentive regulation would also become more effective, reinforcing efficiency improvements. |
| Incentive regulation The current incentive regulation regime encourages businesses, especially state-owned ones, to build too much. | Some obvious flaws should be eliminated, including: ensuring the allowed rate of return on regulated assets is not excessive ex post review of capital spending, when businesses overspend no requirement for the AER to consider every detailed aspect of proposals. | Incentive regulation would be more effective at encouraging efficient investment. |

Table 1	continued

| Current problem | Proposed response | Main benefits from reform |
| --- | --- | --- |
| Governance of regulators There appears to be little confidence amongst stakeholders that the AER has sufficient resourcing, expertise and capacity to fulfil current obligations. Future reforms would only add to these obligations. | In the first instance, there should be a review of the AER’s resources and capacity. The AER should be given more control over its budget, and be more accountable for how it manages resources and improves its performance. A more far-reaching option could be to establish the AER as a separate, independent entity. This raises complex issues, and the Commission is still assessing its merits. | The AER would be better able to perform its (current and future) role, improving the effectiveness of incentive regulation. |
| Benchmarking Information asymmetries make it difficult for the regulator to accurately assess the efficiency of businesses’ proposals | At this stage, benchmarking is too unreliable to be used to set regulated revenue allowances, but could better inform the regulator’s decisions. In the future (after the rigour and accuracy of benchmarking improves), reforms could be made to underpin negotiations for ‘early settlements’ with businesses, and potentially to base allowances on benchmarking. | Better information could improve the accuracy and effectiveness of incentive regulation, lowering prices to consumers. Additionally, in the future, lengthy regulatory determinations could be avoided, reducing compliance costs. |
| Interconnectors There is no evidence of insufficient physical capacity of interconnectors. Indeed, they are sometimes underutilised due to perverse incentives in the structure of the wholesale market. Underutilisation may often coincide with periods of peak demand when the interconnectors would be most valuable. | There should be reforms to the wholesale market to influence generator bidding behaviour, and change the way they pay for access to the transmission network. The ‘optional firm access’ package currently being considered by the AEMC would implement such reforms. In the long-term, ‘nodal pricing’ should be introduced with a system of financial transmission rights (pending an implementation review). | Generator bidding behaviour (and locational choices) would be more closely aligned to efficient levels. In the long term, this would allow better flows along interconnectors, improve certainty in (electricity) financial markets and improve interconnector planning. (Introduction of ‘optional firm access’ would lead some transmission investments becoming market-driven, improving the alignment of investment expenditure with user benefits.) |

Table 2	The timing of reform

| Timing | Measure (and corresponding draft recommendations) |
| --- | --- |
| Already underway | - changes to incentive regulation, including ex-post evaluation of overspends to be incorporated in the Australian Energy Market Commission’s rule change, completed by November 2012. (r. 5.1–5.6) |
| Initiate now | - initiate changes to expedite the Rule change process where policies have been subject to independent and appropriately undertaken reviews (r. 21.4) - phase out retail price regulation, subject to adequate impending competition (r. 12.3) - state and territory governments to introduce feed-in tariffs that reflect the value of providing power to the grid at peak and non-peak time (r. 13.1) - the Australian Energy Regulator to: - at this stage, use aggregate benchmarking to inform (but not use as the exclusive basis for) determinations (r. 8.1, 8.5) - begin (ongoing) development of detailed benchmarking performance and control variables, with periodic review for relevance and compliance costs (r. 8.2, 8.3, 8.6, 8.8, 8.9). Benchmarking results and data to be public (r. 8.7, 8.11) - increase the innovation allowance component of the Demand Management Embedded Generation Connection Incentive Scheme for distributors (r. 12.2) - be given greater control over, and accountability for its financial and staff resources. (r. 21.2) - have its resourcing and capacity subject to review (r. 21.1). - the Australian Energy Market Operator, network businesses and other experts, to review the technical aspects of probabilistic planning (r. 15.5) - transmission businesses that do not already use them should transition to dynamic capacity ratings (r. 15.10) |
| Mid 2013 | - the Australian Energy Market Operator to commission the Australian Bureau of Statistics to undertake surveys for the value of customer reliability (r. 14.1) - the Standing Council on Energy and Resources to develop common criteria for assistance to vulnerable consumers (r. 11.6) |
| By end 2013 | - the Australian Energy Market Operator to take on the role of a decision-making national transmission planner, and implement probabilistic planning for the entire NEM transmission network (r. 15.2) - state and territory governments to create a single set of licence conditions for network businesses, expressed in the National Electricity Rules and administered by the Australian Energy Regulator (r. 11.2) - the Standing Council on Energy and Resources to remove jurisdiction-specific distribution reliability requirements. Distribution reliability settings to be contained in the Service Target Performance Incentive Scheme with the reliability settings driven by consumer preferences. (r. 16.1) |

(continued on next page)

| Timing | Measure |
| --- | --- |
| By end 2013 (continued) | - a new, single, consumer representative body with expertise in economic regulation to be established and adequately funded (r. 21.3) - the Australian Energy Regulator to: - complete a review of the Service Target Performance Incentive Scheme for transmission to ensure consistency with the new reliability framework (r. 15.9) - amend the Service Target Performance Incentive Scheme for distribution (r. 16.2) - assess the costs and benefits of rolling out smart meters on a region-by-region basis, including consumer consultation (r. 10.1) - (within six months of the conclusion of a positive assessment by the Australian Energy Regulator) distribution businesses to submit costings and agreed timelines for rollout of smart meters (r. 10.1) - (once meters are installed, and retail price regulation removed) mandatory time-based network charges to be implemented (r. 10.1, 11.4, 11.2) |
| 2013–2016 | - the Australian Energy Regulator to use weighted average price (not revenue) caps for regulation of distribution businesses (r. 12.1) - the National Electricity Rules to be amended to ensure that network tariffs efficiently recover the costs of peak capacity, with particular reference to long run marginal costs (r. 11.3) - state and territory governments to privatise network businesses (r. 7.1), after announcing reliability framework |
| Second half of 2014 | - the Australian Energy Market Commission’s ‘optional firm access’ package to be implemented. It should - operate for at least 10 years - be monitored by the Australian Energy Market Operator for effects on network planning and, in concert with the Australian Energy Regulator, changes in observed patterns of generator bidding behaviour (r. 18.1) - the Australian Energy Regulator to oversight the public reporting process of the Australian Energy Market Operator’s planning role (r. 15.4) |
| By 2018 | - subsidies that stimulate inefficient investment in and positioning of rooftop photovoltaic units should have been fully phased out (r. 13.1), but existing contracts should be honoured |
| 2019 | - the Australian Energy Regulator to: - if benchmarking is robust enough, it should be the basis for (quicker and less elaborate) regulatory determinations. The onus of proof would be on a network business’ proposal to demonstrate its cost estimates were preferable (r. 8.5) - where the divergence between estimates is narrow, have discretion to reach a mutually acceptable negotiated settlement with a network business, with the involvement of the consumer representative group (r. 8.4) |
| 2025 | - barring the identification of any significant, insurmountable barriers in a pre-implementation cost-benefit analysis, nodal pricing (including financial transmission rights) to be implemented (r. 18.2) |