# 8	How should the Australian Energy Regulator use benchmarking?

Key points

At this stage, aggregate benchmarking models are ill suited to setting regulatory revenue allowances. However, benchmarking: is a useful diagnostic tool that can help assess the reasonableness of bottoms-up proposals. More elaborate benchmarking should act as a discipline on proposals by network business and should be implemented as soon as possible may facilitate negotiated arrangements that bypass the current costly and protracted regulatory processes. This ‘short circuit’ approach should only apply where the benchmarking models suggest that costs are reasonable can provide information to consumers and others that provides pressure for improved performance by network businesses. Over the longer run, there may be scope for a larger role for benchmarking in determining regulatory allowances, but this should be subject to: demonstration that the results are robust the requirement that the Australian Energy Regulator (AER) does not choose the ‘frontier’ firm as the benchmark, but a yardstick more akin to that applying in competitive markets — which would be a firm close to, but not at the frontier. The AER will need to adopt various processes to ensure the successful use and evolution of benchmarking, including: the development of publicly available databases and full transparency in its processes and methods the development and retention of internal expertise strategies that maximise learning international collaboration peer review of its benchmarking practices (‘benchmarking of benchmarking’) appropriate consultation with stakeholders about the required data and appropriate methods effective communication of the results of benchmarking to its diverse audiences regular checking to ensure that the benefits of its benchmarking practices exceed the compliance and resource burdens.

A major international survey ranked Australia as a relatively unsophisticated user of benchmarking in electricity networks (Haney and Pollitt 2011). End users have also criticised the limited use of benchmarking in the current regulatory regime:

Our view is that benchmarking has generally had an insignificant role in the AER’s determination of expenditure allowances. We have observed that in most of its determinations there is no evidence that the AER has benchmarked capitalised expenditure allowances at all. The benchmarking that it has done of operating expenditures has not, in our opinion, been adequate. Even where there is some evidence of benchmarking by the AER, there is no evidence of how this information affected its view of the appropriate expenditure allowances. (EUAA, sub. 24, p. 4)

The AER has not used benchmarking effectively and yes it should adopt different practices. The reasons for this probably lie with the regulatory approach (propose/respond) the AER must implement. (MEU, sub. 11, p. 30)

This raises the question of the appropriate aspirations for benchmarking in an Australian context — recognising the limits raised in chapter 4. The type of benchmarking and the manner of its application will depend on the purposes of its use — the policy imperative is ‘do not use benchmarking on its own account’. There are many such purposes, with implications for the degree to which the tests set out in chapter 4 would need to be met.

This chapter examines the different ways that the AER could use benchmarking to achieve better outcomes. Some of these uses are alternatives, but some are complementary.

Section 8.1 considers whether the AER could use benchmarking as the primary basis for its revenue determinations, and highlights some of the major drawbacks in that approach at this stage.

Section 8.2 examines the degree to which higher-level benchmarking could indicate the overall effectiveness of the regulatory regime, which would have implications for policy settings, as well as provide a guide to whether the regime is achieving its intended purposes.

The current bottoms-up approach in determining revenue allowances is exhaustive in its detail — one of the reasons for the increasingly lengthy documents used in the propose-respond model. The AER might use benchmarking to determine the areas where detailed analysis is required, while avoiding excessive analysis in other areas — in effect a filter for more targeted analysis (section 8.3).

Currently, end-users (whether households or commercial users) are disenfranchised from the regulatory process. While greater engagement should occur whatever the form of the regulatory model (chapter 21), it may be possible for end-users to play an active model in reaching negotiated settlements in regulatory determinations — avoiding the complex and protracted processes currently in place. Benchmarking would support such a framework (section 8.4).

Benchmarking need not always directly inform regulatory decisions. In some cases, the publication of benchmarking results may create pressures for improved performance (section 8.5).

While this chapter is sceptical of the degree to which benchmarking could play a major role in determining regulatory allowances in the near future, that may change over the longer-term with the increasing sophistication of the models and with better data. In that instance, benchmarking could assume a more prominent role (section 8.6).

Regardless of the particular purposes of benchmarking, the regulator has to develop competencies in benchmarking and follow processes that ensure that others can interpret and use the results, and that compliance and other cost associated with benchmarking are moderated. Section 8.7 spells out the processes that will achieve cost effective and useful benchmarking.

## 8.1	Could benchmarking have a mechanistic role in setting revenue allowances?

The apparently greater simplicity and clarity of using aggregate benchmarking as the primary basis for setting revenue allowances lies behind its attraction for some parties.

### Setting aggregate capex and opex in building block models

A regulator (or indeed a business proponent) could use aggregate benchmarking to determine measures of total efficient forecast operating expenditure (opex) and capital expenditure (capex), which would then be included as the key inputs of the standard building blocks model. (The weighted average cost of capital — WACC — would be estimated in the way described in chapter 5.) This would represent a significant departure from the current common practice of deriving the total cost forecasts used in the building blocks model by aggregating many detailed sub-components of total spending (as described by Major Energy Users, sub. 11, p. 10), with benchmarking at best informing that process.

### Setting revenues based on CPI-x

A second mechanistic approach is to use the CPI-x approach (as described in chapter 4) for the forthcoming regulatory period, with x based on the total factor productivity growth estimates. This would not require a building blocks approach at all, since it would focus at the highest possible level of aggregation. In its submission to the Commission, the Australian Energy Market Commission (AEMC) commented:

Alternatively, a TFP [total factor productivity] methodology could be applied in a more mechanistic manner where TFP indices are used to set the allowed rate of change of allowed revenues over the regulatory period. This methodology would be applied as an alternative to the existing building block approach established in the Rules. (AEMC, sub. 16, p. 1)

### A ‘supra- aggregate’ benchmarking model

A third, more ambitious approach would use ‘supra-aggregate’ benchmarking at the commencement of any regulatory period to set the required total revenue allowance, without any reference to the role of the WACC, capex and opex, or the historical costs of the business (with the absence of the latter being the contrast to the CPI-x approach above). The business would then make all the choices about how to provide the services, including between capex and opex. This would be akin to the kind of benchmarking analysis used by Mountain (2011) and Mountain and Littlechild (2010), in that the benchmarking model would estimate revenue per customer.

The regulator would not need to formally roll any capital into a regulated asset base (RAB) in the next period, but would need to ensure that the benchmark method used related to the long-run marginal costs of supplying services. If the regulator took a long-run perspective, then it would have little incentive to ex post under-remunerate the sunk investments of the businesses (‘asset stranding’). (The National Electricity Objective’s long-term focus would oblige the AER to do this.) On the face of it, this would be a simple scheme, although in reality, the story is different.

### Problems with deterministic approaches

While apparently more simple than current approaches, all of these approaches have major theoretical and practical difficulties:

In respect of the CPI-x method, the AEMC did not believe that data was yet adequate, but that it could work as an alternative mechanism for setting allowances in the future. If the basis for x was productivity within the network industry, the wave of prospective mergers in New South Wales (and uncertainties about future structural change in the industry) combined with slowly developing data collection, means that even that aspiration seems optimistic over the medium term. Chapter 4 also noted that a ‘pure’ CPI-x approach could preserve inefficiency or perpetuate rents.

It is also not clear how regulators would derive x in practice. Comprehensive reviews by Farrier Swier Consulting (2002), the AEMC (2011b) and London Economics (2008) found a wide range of methods used by regulators to actually set x. These include assuming a value of x; setting it as a catch-up factor to move businesses from a level of inefficiency to better performance over several years; using it to freeze prices (x=CPI); basing it on business proposals; and (most rigorously) determining it using technical analysis. Many of these are pragmatic rather than scientific choices. However, so long as x is not too high, and adjustments to initial revenues are not too dramatic, CPI-x approaches provide strong incentives for productivity, while ensuring business viability and placing a (arbitrary) floor on network price changes for consumers. So a reasonable operational rule would be to set an x sufficiently low that it gives the business some scope to keep some of the gains of higher productivity growth. Preliminary ongoing development of TFP indexes would still be useful, if nothing else to assess the degree to which they become more reliable. Nevertheless, as the AEMC, notes, its practical realisation is some way off.

Similar — if not greater problems — would beset any deterministic use of benchmarking models reliant on cross-sectional data. Their use would require strong confidence in the results, which would be misplaced given the findings in chapter 4. The deterministic approach has five other significant risks (to which the ‘supra’ aggregate approach would be particularly susceptible).

#### (a) Regulatory opportunism

Were electricity prices to be rising rapidly, there could be pressure on the regulator to choose tougher benchmarks (recognising that even were sophisticated benchmarking models to develop over time, it is likely that they could be tweaked to give higher or lower benchmarks)

As explained by Yarrow (2012), the assumption of regulatory impartiality may not hold given opportunism:

By way of further example of the difficulties with the arguments as they presently stand, consider the argument that the current ‘propose-respond’ process precludes the AER from substituting ‘impartial’ forecasts of costs for what are claimed to be the biased forecasts of costs that are submitted by the companies. This argument begs a fundamental question. As discussed above, the working presumption in the relevant economics is that a regulator with unconstrained discretion to set price controls will be tempted to opportunism, and that the temptation will be particularly great in circumstances of rate-shock. That is, at bottom, there is an underinvestment problem associated with the regulation of private monopoly. (Yarrow 2012, p. 9)

The extent of regulatory risk perceived by the industry would depend partly on the specific characteristics of the AER itself, including its objectivity; its independence; its abilities and funding; and its general reputation in the industry (a matter discussed further in chapter 21).

#### (b) Future network developments present a challenge for benchmark models

Unlike some investments where, once made, the additional investment requirements are modest (say a toll road), electricity networks require significant ongoing maintenance, replacement, new connections and other augmentation. Many network costs reflect expectations about the future characteristics of demand and supply, and these can change over time given the effect of climatic variations and peak loads. As such, many costs would be hard to incorporate into ex ante aggregate benchmark models (at least without significant further development). There would need to be a process for approving contingent projects.

#### (c) Benchmarking, information and efficient contracting

The AER’s revenue allowance determinations are effectively contracts over the regulatory period between network businesses and the regulator, which acts on behalf of end users. Ultimately, among other factors, good contracts depend on both (i) shared and (ii) rich information about the nature of costs and contingencies.

There is a theoretical case that, where the regulatory regime allows businesses to exploit their information advantages over the regulator, restricting the relevant information for making a regulatory determination to a small set of variables (the only requirements for aggregate benchmarking) may produce better outcomes. That meets condition (i).

It would also meet (ii) if the selected class of variables adequately reflected the key operational differences of the businesses concerned. But few participants in this inquiry suggested this was currently possible. In that case, rather than forcing both regulators and businesses to act as nescient players in their dealings with each other, a preferred approach would be to:

correct the flaws in the incentive arrangements (using the approaches set out in chapter 5) that allow businesses an excessive capacity to exploit their informational advantages

ensure adequate provision of relevant detailed information (and not rely on the exclusive use of aggregate benchmarking).

Reliance on too lean an information set would increase regulatory risk and require the regulator to pay a premium to cover that risk. There would then be a trade-off between simplicity and cost.

#### (d) Detailed analysis would creep in via the back door

The checks and balances required to ensure aggregate benchmarking was reliable as the sole basis for setting revenue allowances would re-create the need for scrutiny of bottoms-up data to test the results (thus losing simplicity after all). At the very least, benchmarking models would need to address capex, opex and the WACC separately (thus reinstating the RAB as an important facet of the regulatory arrangements).

#### (e) Uncertainties about the merit review process

Moreover, it is not clear how merit review would proceed if regulators used aggregate benchmarking to determine revenue allowances. The outcomes would depend on how merit review arrangements were structured (an issue currently before the Standing Council on Energy and Resources), but it is likely that decisions would involve:

battles between econometricians. That would have some advantages to the extent that it encouraged good statistical processes, clear statements of how to interpret the results, better data collection, and the development of expertise (as set out in figure 4.7 in chapter 4). However, given the data and modelling problems afflicting benchmarking, it is doubtful that a merits review body could reach a well-based judgment on whether it is meaningfully possible to, say, disentangle ‘the heterogeneity from inefficiency in one step, using a latent class model for stochastic frontiers’ (Cullmann 2009). A tribunal might then seek its own expert advice, but then the battle would be widened, but not necessarily won

the re-admission of detailed data as the corroborating evidence on which to base the determination. The bottoms-up approach might then simply be deferred to the ‘courtroom’. It is notable that in an appeal brought by Energy Australia, the Tribunal emphasised the relevance of the business’s detailed information:

EnergyAustralia is correct to submit that it is not the AER’s role to simply make a decision it considers best. It is also correct for it to say that the AER should be very slow to reject a DNSP’s proposal backed by detailed, relevant independent expert advice because the AER, on an uninformed basis, takes a different view. Nor, as EA submits, may the AER reject such a proposal merely because it has an expert opinion. The AER, based upon any expert advice, needs to make its own evaluation, an evaluation that is reviewable by this Tribunal. (Australian Competition Tribunal 2009, p. 56)

Currently, the arguments for the AER to use benchmarking to set allowances mechanistically are not compelling. The AER and the network businesses (and others) share this view (box 8.1).

## 8.2	Benchmarking could act as a basic test of the effectiveness of the regulatory regime

The AER and user groups have claimed that the existing regulatory arrangements have produced inefficient outcomes. This has been more informed by consideration of the incentive arrangements than by empirical analysis by the regulator (though some others have undertaken research — chapter 6).

Box 8.1 Participants said benchmarking should not be used deterministically

The AER highlighted concerns about using benchmarking in a determinative fashion: Benchmarking is not a substitute for rigorous analysis and the exercise of judgement to determine expenditure allowances for a network business and cannot be used in a mechanistic fashion to directly determine expenditure allowances. However, when benchmarking is used prudently and carefully, and based on a robust specification that incorporates good quality data, it can be a very useful tool in the overall assessment of an expenditure proposal. (AER, sub. 13, p. 13) The AER considers that at the current time it cannot establish revenue allowances based primarily on the outcome of comparative benchmarking against other firms. When more standardised and appropriate data becomes available as a result of the application of the AER's new framework, noted above, and benchmarking models give more consistent results, the weighting given to top down benchmarking as a part of the AER’s comparative analysis will likely increase. (AER 2010b, Appendices, p. 99) A review of the international use of benchmarking in regulatory agencies worldwide indicated the dangers of using benchmarking to punish/reward businesses: The significant uncertainties in efficiency estimates could have important undesired consequences especially because in many cases the estimated efficiency scores are directly used to reward/punish individual companies through regulation schemes such as price-cap formulas. (Farsi et al. 2007, p. 13) The network businesses themselves were (unsurprisingly) hostile to benchmarking as a determinative tool: The ENA considers that it is not yet possible to set efficient costs using pure statistical benchmarking at high levels of aggregation without regard to expert interpretation. Doing so would impose material regulatory risk on the businesses and deter much needed investment in the regulated network sector (ENA, sub. 17, p. 5) The Businesses are not aware of any country that uses benchmarking exclusively to regulate DNSPs’ revenues and prices. (ETSA Utilities et al., sub. 6, p. 30) Perhaps more importantly, high level aggregate benchmarking with the use of a few high level causal factors makes it impossible to ‘sanity check’ the results that come out of a statistical model with the real world engineering constraints facing a business. If the regulator determines that expenditure on zone substation is not efficient because less costly alternatives exist, then this is a finding that can be contested on the available facts. By contrast, consider an example where a regulator decides that five per cent of total expenditure is not efficient purely on the basis of a high level statistical comparison to other businesses. This reasoning provides no indication of what aspects of the expenditure proposal are imprudent. Consequently, the business has no recourse to defend its proposed asset investment program on the engineering needs of the business because this was not the basis of the regulator’s finding. (ENA, sub. 17, p. 27) Others have been similarly cautious: The CEC agrees with the Commission that benchmarking will be unable to supersede the current ‘building block’ approach taken by the AER. Rather, benchmarking methods should be able to be applied by the AER in order to provide supporting information to its determinations. Indeed, benchmarking should be another tool from the AER’s toolbox of revenue assessment tools at its disposal. Given the broad use of benchmarking in regulated markets globally the CEC sees no reason why this could not be the case. (Clean Energy Council, sub. 38, p. 3)

Upper level benchmarking should at least provide further information about the effectiveness of the regulatory regime (even if it is changed following the recent Rule change request by the AER).

As well as cross-sectional benchmarking (as described in chapter 4), the AER should also model growth rates of total factor productivity (and their constituent partial productivity rates) — for each business and for the industry as a whole. This would highlight how any business is performing compared with the entire electricity network and with other industries in the Australian economy. This would also test the degree to which revenue determinations reflected ongoing negative (or low) TFP growth (and would assist in any progression to CPI-x benchmarking later).

Any such indicative aggregated benchmarking analysis should control for the most important differences in the operating environments of businesses — such as customer density, line type and length, reliability requirements, and the capital vintage of relevant assets.

DRaft Recommendation 8.1

The Australian Energy Regulator should regularly undertake aggregate benchmarking of the performance of network businesses, including of their:

multifactor productivity — the output of services for given inputs

separate productivity of capital, labour and intermediate inputs.

The results should control, to the best extent available, for any significant variations in the operating environments of the businesses, including customer density, line type and length, reliability requirements, and the capital vintage of relevant assets.

As emphasised in chapters 1 and 4, rigorous benchmarking analysis may highlight the efficiency impacts of the regulatory and policy environments facing network businesses. While most of the regulator’s interest in benchmarking is on the residuals from a model (the proxies for the inefficiency levels of businesses), policymakers should concentrate on the estimated parameters regarding policy variables in any model. In the current imperfect policy environment, those parameters may reveal the most lucrative direction for reform. These policy opportunities are the principal subjects of chapters 9 to 16.

## 8.3	Could more targeted analysis act as a filter?

Benchmarking could be used as a diagnostic tool to identify areas of a proposal that may require greater scrutiny, but without it assuming a determinative role. Many participants supported the use of benchmarking as an input into the regulatory process (box 8.2).

Box 8.2 Benchmarking is a useful adjunct to other modelling

Many participants accepted the value of benchmarking as one input into the regulator’s determination of the appropriate aggregate or disaggregated costs of the regulated business: The Businesses support the Rules’ requirement for the AER to use benchmarking as part of the building block approach to test the efficiency of DNSPs’ expenditure — and to choose which types of benchmarking techniques it will use — although this should recognise the inherent limitations of different benchmarking techniques and of the comparability of data. (ETSA Utilities et al., sub. 6, p. 15) Overall, benchmarking of certain performance outcomes is useful only as an adjunct to the establishment of revenues using the existing cost build-up approach. The fundamental objective enshrined in the National Electricity Law will not be achieved with regulatory uncertainty, which will ultimately deter investment. (APA Group, sub. 2, p. 2) Ergon Energy believes that benchmarking techniques are not robust enough to replace a detailed investigation of costs and should not be relied on entirely to set revenue allowances. Instead, benchmarking should be one of many assessment techniques adopted by the AER to determine efficient and prudent expenditure. (Ergon Energy, sub. 8, p. 9) In the ENA’s view, pure statistical analysis is most likely to be useful: as a means of identifying anomalies in an expenditure proposal that require closer more detailed examination; or when applied at low levels of expenditure aggregation. (ENA, sub. 17, p. 5) … benchmarking results can also be used to allow the regulator to request further information. Consumer Action believes an appropriate first step to sophisticated benchmarking approaches should be to ensure that the regulator has more information combined with the ability to request further information/evidence from network businesses that under-perform. The onus should then be on the network businesses to justify and prove their case (in relation to revenue proposals). (Consumer Action Law Centre, sub. 5, p. 2) Some leading experts are pessimistic about the usefulness of benchmarking in economic regulation: In practice, benchmarking has proven either troublesome or irrelevant to the regulatory process, but proponents continue to search for ‘better’ models that will be more useful. … I conclude that, at best, benchmarking can help to focus regulatory enquiries, but that it shows no prospect of becoming a substitute for detailed evaluation of each regulated utility’s own costs. (Shuttleworth 2005) In looking at arrangements for Swiss distribution businesses Farsi et al. (2005, p. 1) concluded that benchmarking analysis should be used to support rather than to determine regulatory decisions.

Such aggregate benchmarking has advantages over detailed bottoms-up approaches in that it would test the businesses likely to be most inefficient in their capex or opex. The analysis could then bore down into the detail, but only down the branch where benchmarking revealed that costs were sufficiently distant from the efficiency frontier.

Figure 8.1	Boring down through successive layers of network costsa

a The chart is illustrative of the process, but not intended to depict the cost structures of distribution network businesses.

Where an expenditure class appeared close to best practice, further investigation of its constituent elements — of the forensic kind currently undertaken — would be avoided (box 8.3). The AER’s repex model for modelling replacement expenditure by distribution businesses exemplifies this approach:

The calibrated repex model, among other things (e.g. significance of expenditure), was used as a guide to whether or not we considered a detailed review of a specific asset category should be undertaken. (Nuttall Consulting 2010a, p. 31)

Any such analysis would have to consider substitution possibilities between certain classes of spending, particularly opex and capex.

Box 8.3 The bottoms-up approach — getting into the detail

Locks and keys In its regulatory proposal to the AER, Ergon Energy proposed an allowance for expenditure on 300 000 locks and keys. The AER asked its consultants, PB Associates to assess this claim. As a result of this, Ergon revised its budget for locks and keys and provided ‘a business case’ for this expenditure including an ‘options analysis’. PB Associates then assessed this claim by examining the number of locks per kilometre of track, and the number of keys to be provided. At the end of its review, PB Associates concluded that the scope of works was transparent and the cost estimate was well supported and so it decided that the revised budget for locks and keys was prudent and efficient. The AER then concluded that Ergon Energy provided a ‘well substantiated’ forecast for its revised keys and locks program in its revised regulatory proposal and so it accepted Ergon’s revised proposal. The lock and key budget was less than 0.2 per cent of the total allowed expenditure by Ergon during its regulatory period. (Mountain 2011, p. 55) The average span lengths of insulated conductors The [blacked out writing] also assumes an average span length of 50m for an insulated conductor. This assumed span length is actually 25 per cent greater than the actual average span length. The [blacked out] identifies that CitiPower has 191km of ABC and 4,703 spans. This works out as an average of 40.6m per span. The reason why the longer span assumption was used when actual span length information was available is not clear. (Nuttall Consulting 2010a, p. 296) Special trees As a result of discussions with the ESV, United Energy has revised down its resource requirement to one full time equivalent (FTE) to establish the ‘habitat’ tree register in the first year (2011), followed by 0.4 FTE in subsequent years to monitor and update the register, process questions and information requests, and provide on-going training to employees and vegetation contractors. (Nuttall Consulting 2010a, p. 357) Pole treatment processes Aurora submitted that the AER erred in comparing Aurora's historical pole lives to pole lives achieved by mainland distribution network service providers (DNSPs) because Aurora uses a different type of timber pole to mainland DNSPs. In its draft determination the AER considered that the treatment of Aurora's timber poles should result in similar lives to the untreated mainland timber poles despite Aurora using a different timber class to mainland DNSPs. Aurora submitted that the treatment process typically only impregnates the sapwood (outer layers) whilst the heartwood (inner core) remains untreated. Aurora submitted that although treatment may extend pole life, there is no engineering reason to expect that it would result in a pole with the same life as the poles used on the mainland. (AER 2012f, p. 60)

Regardless of whether the regulator used a formal hierarchical modelling approach, aggregate opex/capex benchmarking could test the overall reasonableness of any bottoms-up approach. If the two are sufficiently discordant, the regulator could ask the business to investigate the likely source of the difference, such as important omitted control variables that affect the benchmarking model. This would again focus attention on major rather than minor cost drivers, and improve the quality of the benchmarking models.

If two similar network businesses have very different unit costs, then they should be able to explain the probable reasons and to quantify them. Some networks have already used this approach:

Country Energy provided us with a comparison that had been undertaken with Ergon Energy’s vegetation management expenditure. The comparison showed that Ergon Energy had a similar profile of vegetation density and that after allowing for differences in cycles and size, Country Energy’s proposed expenditure was comparable to that incurred by Ergon Energy. (Wilson Cook and Co. 2008, p. 41)

Requesting feedback from businesses about why results might diverge would not require the business to demonstrate how the benchmark result was wrong (notwithstanding the views of one key participant — box 8.2). Until the methods and the data underpinning benchmarking are significantly improved, reversing the existing onus of proof in the Rules would increase business risk significantly (Lowry and Getachew 2009, p. 1325).

Regardless of whether it is used in the way described in figure 8.1, disaggregated benchmarking could more generally be used to judge detailed bottoms-up aspects of a business’s proposal (an approach supported by the ENA, sub. 17, p. 5). For example, this might relate to:

vegetation management

the linkages between asset vintages and replacement rates by major class of assets (such as poles and distribution substations)

maintenance efficiency, such as time and resources to correct certain faults

the efficient monitoring of assets.

Such specific benchmarking may be reasonably reliable because there are fewer confounding variables.

Management performance measures should not be overlooked. For example, benchmarking of distribution businesses in Europe suggested that higher performing businesses were more likely to outsource their network functions (figure 8.2). Among other factors, management performance could be measured as the adoption rates of best-practice commercial processes and equipment, including:

the use of customer panels and surveys (as these can be important elements of customer engagement)

employment practices

outsourcing (a way in which the business itself can exploit competitive processes)

demand management (as a network alternative)

information technologies (increasingly important as networks become ‘smarter’, and given the need to serve millions of customers and control complex networks efficiently)

innovation

financial controls

procurement practices

occupational safety

project management.

Figure 8.2	Do not overlook management processes

Outsourcing and high performing firms in European distribution network businessesa

a Outsourced network activities related mainly to preventative maintenance, and assembly and construction.

Data source: Chanel, P. 2008, Overview of Electricity, Distribution in Europe, Summary from Capgemini’s 2008 European benchmarking survey.

Following Turvey’s advice (discussed in chapter 4), regulators need an ‘understanding of what an enterprise does and how it does it’ before collecting information. Consequently, in determining relevant benchmarking performance and control variables, the Australian Energy Regulator should consult with network businesses, generators, retailers and network equipment suppliers.

It is equally critical to test whether the performance measures are relevant to customers (by the type of customer). For example, customers may give different weights to connection costs, fault rectification times, reliability, and call centre performance, and may sometimes directly observe practices they regard as inefficient. Finally, and as emphasised later, electrical engineers and other experts may provide strong guidance on the most appropriate measures and controls, including the pitfalls in their measurement and interpretation.

draft Recommendation 8.2

Subject to compliance and other costs (draft recommendation 8.12), the Australian Energy Regulator should accompany aggregate analysis with detailed benchmarking of particular aspects of the performance of the businesses, including:

the rate of investment relative to the age-weighted capital stock by asset class

the efficiency of major maintenance activities

the adoption rate of best-practice commercial processes and equipment, including the use of customer panels and surveys, outsourcing, demand management, information technologies, financial controls, procurement practices, occupational safety, and project management.

In determining relevant benchmarking performance and control variables, the Australian Energy Regulator should consult with:

network businesses, generators, retailers and network equipment suppliers

customer representatives

relevant experts within Australia and internationally.

As discussed in chapter 4, the small number of network businesses in Australia poses an obstacle to authoritative benchmarking, especially because it makes it hard to control for differences in operating environments. There are several strategies for addressing this:

use combined time-series, cross-sectional (or panel) data

collect data about different businesses’ performances by feeder type, so that comparisons are more robust. For example, the AER (2008a, pp. 160ff) examined reliability by four feeder types — central business district, urban, short rural and long rural feeder

collect data about the performance of different business units within businesses (for example, comparing in-house with contracted services, or monitoring activities in different areas).

Given that most people served by distribution networks are in Australia’s major cities, comparisons between business performances within metropolitan areas are likely to be the most useful.

draft Recommendation 8.3

The Australian Energy Regulator should periodically assess the comparative performance of network business units within particular sub-regions of the National Electricity Market, where:

those sub-regions share similar physical operating environments

the costs and informational requirements of doing this are not too great (draft recommendation 8.12).

The comparisons should relate to business units within a particular business, as well as comparable business units in different businesses.

The Australian Energy Regulator should place most emphasis on comparisons of the efficiency of distribution networks in different metropolitan areas.

### Potential challenges of the targeted approach

This targeted approach may result in excessive rents for some businesses. Any benchmarking model will involve:

(i)	false positives (firms that appear inefficient, but are not)

(ii)	false negatives (firms that appear efficient, but are not).

Under the targeted approach, firms in (i) would be subject to more detailed scrutiny, which should correct the error, but businesses in (ii) would not. That would create an upward bias in revenue allowances. That may not matter greatly over successive determinations as the regulator learns more. Moreover, at least under (properly functioning) incentive regulation, businesses in (ii) have strong incentives to improve their performance. In that respect, the asymmetric treatment of false positives and negatives may be appropriate. However, were the negotiated approach outlined in section 8.4 to be used, it would also probably reduce the incidence (or severity) of false positives, as customers would have some bargaining power to reduce rents.

A further challenge is that, notwithstanding its greater likely reliability and accuracy, the passage of disaggregated benchmarking through the limited merit review process still suggests that it can be problematic to control for the relevant differences in the operating environments of the businesses (box 8.4).

## 8.4	Benchmarking could be a trigger for negotiated settlements

As the analytical rigour of aggregate benchmarking develops, it could also encourage early settlement in determinations, short-circuiting the protracted, uncertain and costly processes currently applying under the Rules (figure 8.3). The current costs of the determination process are up to $15 million for each network firm and up to $6 million for the AER (AEMC 2009a, p. 9). In considering the advantages of CPI-x as a simpler approach to determinations, the AEMC (2011b, p. iii) estimated that the approximate cost of one complete cycle of revenue determinations using the current building blocks method was $330 million (of which the component paid by the businesses would mainly be passed onto consumers).

Under a ‘short circuit’ approach, depending on the divergence between benchmarking and the business proposal, the AER could immediately accept a proposal as reasonable, or if the proposal was in the ‘ballpark’, commence negotiations with the network business, with the involvement of customers. These would be better informed because of published benchmarking analyses, and could act better on this information given the reforms to their resourcing set out in chapter 21.

The AER could also request further information (a ‘please explain’ notice) to assist the early resolution of an agreement. Failing a quick resolution, the AER would adopt the current forensic and protracted processes, with the risks and costs that this would involve for all parties.

Box 8.4 The fiery hoop of merits review

CitiPower and Powercor each challenged the AER’s expenditure allowances for vegetation clearance (with the Tribunal considering their concerns in a single review). The AER’s ruling relied heavily on benchmarking the costs of Powercor and Citipower against those of other distribution networks. The challenge provides a useful case study of how the limited merits review has applied to benchmarking. The network’s proposal lacked explanatory evidence. The Tribunal agreed that it should not have been accepted. However, the AER also had to prove that its judgement was reasonable under the Rules. Similar boundaries are likely to apply to benchmarking in the future. The Tribunal had agreed in principle with the AER’s treatment of the proposal, given the lack of explanatory information. The AER was entitled to be suspicious of the quantum of the step change amounts claimed by each of CitiPower and Powercor given the shortcomings in the information provided and the significant increase over the 2009 base year. Furthermore, it was entitled to benchmark those rates against information provided by the other DNSPs. In our view, CitiPower and Powercor had ample opportunity to provide greater assurance to the AER concerning the step change amounts which they had claimed. They must be taken to have understood that the AER would wish to look at the rates which underpinned those amounts carefully, would wish to benchmark them against the other DNSPs’ rates and would wish to cross-check them as against expenditure in prior periods. (Application by United Energy Distribution Pty Limited [2012] ACompT 1). On the other hand, the Tribunal also considered the benchmarking undertaken by the AER, and found that it had not considered factors which were likely to be significant. … the assessment made by Nuttall Consulting failed to pay proper regard to the differences between Powercor’s network and those of the other DNSPs and failed to take proper account of the differences between the work programs which had been put in place by Powercor, in particular, and those which the other DNSPs proposed to undertake. After all, the work programs which Powercor had put in place had been assessed as reasonable by ESV, at the behest of the AER. ESV had concluded that the Powercor work programs constituted a reasonable response to the new regulatory environment created by the Victorian Government as a result of the Black Saturday bushfires. The AER was justified in not being satisfied with the VEMCO costings [Vemco Pty Ltd is an independent, third party vegetation management contractor]. However, its assessment of the costs of Powercor’s work programs was unreasonable. (ibid) The Tribunal’s decision was to remit the matter back to the AER.

The Rules suggest that if the AER were to use benchmarking as a tool for early settlement, it would still be obliged to consider a range of other evidence. A Rule change may be justified to allow the AER to use benchmarking (or any other evidence at its discretion) on a standalone basis where it led to an early and mutually agreed outcome with the business.

Figure 8.3	Benchmarking as a short circuit

An elaboration of this model would be to use benchmarking to empower customers in any merit review process. The EUAA cited an example where the availability of benchmarking might have assisted in the merit review process:

The [Australian Competition Tribunal] refused the EUAA leave to appeal on the basis that the EUAA could not demonstrate that the AER’s failure to have regard to benchmarks satisfied the financial threshold for appeals under the National Electricity Law. The Tribunal required the EUAA to have benchmarked the distributors’ expenditure and to show that, had the AER also done this, the expenditure allowance would have been significantly lower than the allowance determined by the AER. Obviously, the EUAA was not in a position to undertake extensive regulatory benchmarking itself and so could not satisfy the Tribunal’s criterion for leave to appeal the AER’s determination. (EUAA, sub. 24, p. 4).

#### There are precedents for benchmarking as a short-circuit

In California, benchmarking analysis is used in the settlement process between the business and a consumer advocate:

[The role of the DRA — the Division of Ratepayer Advocates] is to advocate on behalf of the customers of regulated public utilities. It represents consumers in the CPUC [California Public Utilities Commission] proceedings, including rate settings, investigations, and rule makings. The DRA also participates in CPUC-sponsored working groups, advisory boards, workshops, and other forums. The DRA also evaluates utility proposals, investigates issues, presents findings and formal testimony, litigates complaints, and makes recommendations to the CPUC and to other forums. The DRA must ‘represent and advocate on behalf of the interests of public utility customers and subscribers…to obtain the lowest possible rate for service consistent with reliable and safe service levels’. The DRA also has statutory rights to obtain information from utilities through discovery and other means. The CPUC is required to provide sufficient legal support for the DRA, and provide the DRA with its own lead counsel. (ACCC/AER 2012b, p. 176)

Ofgem has proposed the implementation of a similar approach for the regulation of UK electricity networks. In the Ofgem Information Quality Incentive framework, firms are initially judged on the quality of their proposals; their past performance; and benchmarking exercises. Firms are then categorised accordingly as:

requiring a low level of scrutiny — business plans would typically be given a shorter assessment, and final determinations would be relatively early

requiring a moderate level of scrutiny — assessments would focus on the deficiencies of the proposal, as well as past performance. Capital projects may be subject to random inspections. Determinations would likely run their normal duration

requiring a high level of scrutiny — business plans would be subject to a full engineering and economic analysis, as well as follow up analysis. Firms may be required to supplement their business plans with further explanatory data. Determinations would likely run their normal duration. (Ofgem 2010, p. 58)

Regulation of water in Italy has used a similar approach. The business proposes a tariff in the first step. The regulator estimates a price cap using benchmarking analysis, and approves the business’s proposal if it lies within an acceptable range around the estimated price cap. If it does not, then the tariff is renegotiated with the business required to justify its excessive tariff before any revision (Farsi et al. 2005, p. 25).

draft Recommendation 8.4

The Rules should be changed to allow the Regulator to have the discretion to initiate a three-way negotiation of a mutually acceptable settlement, involving itself, the business, and a representative and qualified customer group similar, or identical, to that identified in draft recommendation 21.3.

Negotiation would only be triggered if the Australian Energy Regulator judged that the divergence between aggregate benchmarking estimates of forecast spending and the business’s proposal were sufficiently narrow.

Where an arrangement was successfully negotiated using this process, the Australian Energy Regulator should not be obliged to go through the current formal draft/final determination processes.

## 8.5	Information and ‘moral suasion’

Benchmarking at any level of aggregation could be used to inform customers (and media) about the relative performance of businesses, which provides indirect pressures on inefficient businesses and their shareholders (including state governments). In this respect, the Consumer Action Law Centre  pointed out:

Enhanced information and transparency about regulated network businesses can benefit the regulatory process as well as improving the behaviour of network businesses. A better-informed regulator will produce more efficient price setting, while comparative analysis and reporting on the network businesses’ performance by the regulator can create an incentive for the network businesses to ‘self-discipline’ as a result of competition-by- comparison and brand protection. (sub. 5, p. 1)

Aside from contributing to determinations, the advantage of systematic benchmarking comparisons between network businesses at the micro and macro level is that it could identify groups of firms that are consistently more efficient, and highlight some of the potential causes of the efficiency gaps (an issue raised in chapter 4).

## 8.6	The long-run application of benchmarking

As discussed in section 8.1, there is little immediate scope for aggregate benchmarking to serve as a sound basis for the regulatory determination of revenue allowances. Nevertheless, there are longer-term prospects for more sophisticated benchmarking:

The AER now has extensive information gathering powers under the NEL and it is exercising those powers. Over time, that should produce a data-set that could support more extensive use of benchmarking and the use of more sophisticated benchmarking techniques; however that is some way off. (Jemena, sub. 21, p. 10)

Subject to the development of improved data, reliable (and corroborated) models, and better-designed incentives arrangements, there may be greater scope to give more weight to aggregated benchmarking. Nevertheless, the risk of regulatory error would still persist. The protection against regulatory error would be to set the benchmark at a level close to the competitive market standard — such as the 75th percentile — rather than at the frontier (Newton et al. 2009, p. 1329). The Major Energy Users also recognised the need for the long-run viability of the network businesses when setting the benchmark:

If it is awarded too little revenue which is based on the efficient frontier, then the firm could be in financial trouble which would be a worse outcome for consumers. (MEU, sub. 11, p. 26)

draft Recommendation 8.5

In any of the next rounds of regulatory determinations, the Australian Energy Regulator should not use aggregate benchmarking as the exclusive basis for making a determination. Instead, the Australian Energy Regulator should use such aggregate benchmarking results as a diagnostic tool in responding to business cost forecasts.

However, if the processes proposed in draft recommendations 8.9 to 8.11 led to sufficiently robust benchmarking, then:

a business would continue to make a detailed cost proposal, but if the overall proposal were divergent from the regulator’s benchmarking estimate, the onus of proof would be for a network business to provide quantitative evidence demonstrating why its cost forecast was preferable in meeting the National Electricity Objective

the Australian Energy Regulator’s efficiency threshold applied to firms should be set close to, but below, the level of the most efficient firm.

## 8.7	The regulator’s benchmarking practices

The path to more sophisticated benchmarking requires supportive actions by the regulator.

### Acquiring, sharing and using data

Due to the rulings in AEMC (2012a), network operators are already collecting greater amounts of data specifically for benchmarking purposes, while the AER is standardising its data collection and benchmarking processes (box 8.5).

There remains a further question over the extent to which data should be made publicly available. Several commentators have emphasised the importance of putting data in the public domain in order to allow greater transparency, and to allow stakeholders to undertake their own analysis (Lawrence 2009). Information and data on network characteristics are often only publicly available in high-level aggregates, whereas detailed data is often subject to confidentiality concerns. However, network businesses are natural monopolies, where confidentiality is not as justified as it is for businesses operating in the competitive market. Accordingly:

most data required to assess business performance should be made publicly available. This would allow rigorous analysis of network performance by customer groups and researchers. This would increase the capacity for customers to act in the negotiating role set out in section 8.4 and in creating public pressures for improved efficiency (section 8.5)

even where data are genuinely commercial-in-confidence, consumer groups involved in negotiations under draft recommendation 8.4 and independent researchers should be able to access the data. This access should be subject to requirements that they do not divulge publicly the information either directly, or in a way that identifies specific businesses. Such arrangements are routine for other sensitive information (for example, survey data sets collected by the ABS and administrative records from major government agencies).

To give effect to the better dissemination and use of these data, the AER needs to develop systematic and easily used databases, and publish more information on how businesses are performing. The annual ‘State of Energy’ reports are useful, but the information provided has reduced over time. The 2008 report provided more than 320 pages of information, while the 2011 report was 120 pages in length. (This is in contrast to the exponential growth in the length of regulatory proposals and determinations.)

Box 8.5 The AER’s information strategy

The AER’s information strategy includes reviewing the data definitions of key information required to undertake economic regulation, and developing: benchmarking measures for electricity network capex, operating expenditure and, if appropriate, total expenditure benchmarking measures to compare the relative efficiency of regulated energy businesses, with an initial focus on electricity distribution a performance report for gas distribution networks, commencing with Victoria for 2009-10. It also intends to expand the electricity distribution performance report to include network businesses from ACT, New South Wales, Queensland and South Australia for the 2010-11 report, Victorian businesses in the 2011-12 report, and Tasmanian businesses in the 2012-13 report.

Source: AER (sub. 13, p. 18).

### In-house expertise

While raw data is valuable, a major role for benchmarking is to transform complex data into meaningful performance measures. As discussed in chapter 4, this often entails high-level technical expertise. While the AER should continue to engage external consultants, an in-house capacity to undertake sophisticated analysis would have significant benefits. It would:

better inform the collection of data relevant to best practice analysis

improve the AER’s capacity for intelligent and demanding outsourcing. Outsourcing requires sufficient in-house capability to discriminate among the various consultants. Moreover, there are likely to be greater benefits from outsourcing if the AER can absorb the research results it receives. (In the business world, an internal research capability is not only valuable in its own right, but because it raises the absorptive capacity of the business to others’ ideas — PC 2007.)

allow the AER to interpret and communicate any technical results in an accessible way to non-experts.

### Maximising the AER’s capacity to learn

One particularly important aspect of acquiring and retaining internal expertise is a greater capacity for learning within the AER, and a more general capacity to interpret the revenue proposals of businesses.

A major problem besetting any method for determining the benchmark efficient costs of a business is that there is no recognised standard against which to test the accuracy and reliability of the estimated costs. In effect, there is no agreed benchmark for verifying either bottoms-up or benchmarking models against the ‘true’ cost.

Given that businesses have strategic interests, it seems likely that, after considering the businesses’ processes and the detailed consultations that follow, the AER is in the best position to determine the best, unbiased estimate of their true costs. For the reasons outlined in chapter 5, that may be different from the AER’s actual determination reached under the Rules. However, draft recommendation 5.6 proposes that if there is any divergence between the two estimates, the AER would also publish its preferred estimate. The AER can then over time compare the more estimate derived from a more bottoms-up approach with the simpler ones derived from aggregate benchmarking analysis. Over time, if benchmarking models improve, they should converge on the true estimate (in the fashion depicted in figure 8.4), improving their wider use, without as much bottoms-up testing.

Indeed, two immediately useful exercises in this vein would be for the AER to:

reveal its preferred estimate of capex and opex arising from past determinations and examine how these estimates compare with the predictions of simple benchmarking models. That would provide an early test of the value of ‘primitive’ benchmarking

examine the basis for variations in the Australian Energy Market Operator’s top-down peak and average demand forecasts and the aggregate of distribution businesses’ bottoms-up peak and average demand forecasts, since these are important ingredients in the determinations of revenue allowances and, in some cases, prices.

Given its importance to actual revenue determinations, the latter is the greatest priority.

Figure 8.4	Convergence between benchmarking models and bottoms-up cost estimates

A speculative illustration for a single business

a The graph on the left hand side shows the relationship between the bottoms-up and benchmark estimate of costs from T1 to T8. Full convergence occurs if the two estimates are the same, which means they would lie on the 45 degree line. At T9, the two estimates have converged. The right hand chart shows the ratio of bottoms-up cost to the benchmarking costs over time, showing how they move closer together over time (shown as reduced variance).

draft Recommendation 8.6

The Australian Energy Regulator should develop and maintain appropriate benchmarking databases and in-house expertise for the technical analysis required to undertake sophisticated benchmarking.

draft Recommendation 8.7

The Australian Energy Regulator should make all benchmarking input data publicly available (recognising that the businesses being benchmarked are regulated monopolies) except where the data can be demonstrated to be genuinely commercial-in-confidence.

Where the latter holds, the Australian Energy Regulator should still make the full datasets available to:

independent researchers who are using the results for non-commercial purposes

the consumer group involved in any negotiations described under draft recommendation 8.4

- –	but subject to statutory requirements for non-disclosure of information predetermined as commercially-in-confidence, drawing on existing models for data protection.

draft Recommendation 8.8

When making its revenue allowance determinations, the Australian Energy Regulator should make judgments about capital expenditure forecasts that take account of any discrepancy between the Australian Energy Market Operator’s top-down peak and average demand forecasts and the aggregate of distribution businesses’ bottoms-up peak and average demand forecasts.

The Australian Energy Regulator should use benchmarking of the discrepancies between previous expenditure forecasts and actual outcomes by different parties to inform that process.

### Collaboration

While there are several obstacles to international benchmarking, it may still provide useful information (chapter 4), and businesses and governments already undertake such analysis. International collaboration between regulators, academic experts and global benchmarking specialists may improve the validity of international benchmarking. This has been long-recognised (Jamasb and Pollitt 2001, and Farrier Swier Consulting 2002), but the mechanisms for achieving it are still incomplete.

International collaboration would involve the consistent collection, auditing and reporting of data, and shared approaches to reporting results and the statistical testing of models. This would facilitate meta-studies, which help identify common variables that lead to robust benchmarking results. For example, if many (rigorous) individual country studies find that a limited set of consistently defined explanatory variables perform well in measuring industry costs — across diverse regulatory and operational environments — it suggests that such methods may be reasonably robust in any country.

Collaboration could also have other benefits, such as:

increasing diffusion of best practice benchmarking techniques and data construction (such as meaningful measures of capital), which would build expertise and knowledge

facilitating contacts between experts for solving technical and practical problems in benchmarking

providing lessons and case studies on the pitfalls and unexpected benefits of benchmarking. This report has benefited from the experiences of Ofgem in the United Kingdom and FERC in the United States

making it easier for secondments between agencies

supporting external peer review of specific regulator’s benchmarking analysis.

#### Transparency, consultation and communication

Section 8.3 has already spelt out the need for stakeholder involvement in developing benchmarking models. But, equally, they (and experts) should have a role in commenting on results (which should all be public), encouraged to undertake their own analysis, and have the information required that would allow them to replicate any models.

From a scientific perspective, the AER should adopt processes that increase the quality of the analysis. This would involve independent expert peer review of benchmark models to:

establish their ongoing relevance, sensitivity to assumptions, and scientific validity (including the performance of any statistical models against accepted standards — including confidence intervals, parameter stability, and specification testing, as set out in chapter 4)

assess the modelling strategy used to produce the results

consider the policy implications of model and parameter misspecification

assess whether the AER has adopted best practice models.

It is also important for the AER to disclose the impacts of factors outside the control of businesses, but that may be controllable by governments (since, as noted above, these are important for policy and regulatory development).

While the key role of benchmarking is the determination of efficient revenue allowances, the AER would also need to communicate the results to their disparate stakeholders in an accessible way. As Berg (2010, p. 56) has colourfully noted: avoid ‘sensational factoids’, but use clear presentation methods for experts and lay audiences.

draft Recommendation 8.9

The Australian Energy Regulator should collaborate with other leading regulatory agencies, academic experts and global commercial benchmarking specialists to enable robust meta-analysis of electricity network benchmarking results from individual country (and where credible, multi-country) studies. The collaboration should include cooperation in developing:

the most meaningful measures of performance

consistent data collection

consistent reporting of results

best-practice analytic frameworks.

draft Recommendation 8.10

The Australian Energy Regulator should submit its major benchmarking analyses of electricity networks for independent expert peer review to establish their ongoing relevance, scientific validity, adoption of best-practice, and to gauge the degree of uncertainty in the results.

draft Recommendation 8.11

The Australian Energy Regulator should make its benchmarking results publicly available, with:

accessible reporting of the results to inform consumer groups, network businesses, and others

disclosure of the importance of factors outside the control of businesses, but that may be controllable by governments

publication of the modelling strategy used to produce the results

the sensitivity of the results to changes in key assumptions

the performance of any statistical models against accepted scientific standards, including confidence intervals, parameter stability, and specification testing.

### Practicality and compliance costs

Data collection and modelling imposes costs on the regulator and the businesses. Accordingly, the principle should be to only collect information or use processes likely to produce net benefits. A measure should not involve onerous data obligations or take too much time to prepare.

The AER considered that benchmarking methods might reduce compliance costs for businesses:

Unlike the current building-block approach, benchmarking does not unrealistically, burdensomely and intrusively aspire to duplicate or exceed the knowledge of business operation possessed by decentralised decision-makers in regulated entities. Rather, the informational and regulatory burden of a benchmarking program is limited to relative knowledge – a knowledge that only need pertain to relative performance. (ACCC/AER 2012a, p. 168)

This seems overly sanguine, since detailed bottoms-up modelling is unlikely to be displaced over the medium term. Moreover, testing the validity of benchmarking models (using the learning process set out earlier) requires both forms of information. Consequently, the informational burdens are likely to rise, not fall (and this is one of the reasons why the AER itself will require further resources, as discussed in chapter 21). That should change as the AER (and its international collaborators) develop better models and identify the most important data items.

In the meantime, the AER should routinely re-assess its benchmarking approaches, the resources it uses in benchmarking, and the compliance burdens that its data and consultation requirements impose on businesses. These assessments should be publicly available. The overall costs of collecting and analysing data for benchmarking purposes should be reviewed independently after five years.

draft Recommendation 8.12

The Australian Energy Regulator should periodically examine its detailed benchmarking methodologies and processes to assess their compliance costs for businesses and the costs for the Australian Energy Regulator. It should compare these costs with the likely benefits when determining the appropriate frequency and type of detailed benchmarking. In undertaking such assessments, the Australian Energy Regulator should consult closely with network businesses.

The Australian Energy Regulator should make all such assessments publicly available.

The overall costs of benchmarking should be subject to independent review after five years.

## 8.8	Conclusion

Although Australia has been relatively ‘unsophisticated’ in its use and application of regulatory benchmarking in the electricity sector, this is likely to change in coming years with improvement in the AER’s data collection and modelling capabilities. An increase in benchmarking for diagnostic and informational purposes is likely to be feasible in the near term. Over time, repeated use of benchmarking models (as well as ex-post analysis) will improve the reliability of the models’ estimation of network efficiencies, and increase the potential for it to have greater weight in regulatory decisions. Some changes in the Rules will be required to facilitate this. Whilst there may be some shorter-term burdens for network businesses in providing additional data to the AER, improved confidence in benchmarking has the potential to simplify determinations and lower overall costs, leading to benefits for network businesses and consumers.

The term ‘building blocks’ refers to a relatively simple procedure for determining the total revenue allowance, based on total capex, opex, depreciation, and the weighted average cost (chapter 5). The building blocks model can be either simple or complex, depending on how its inputs are estimated. In that sense, benchmarking is not inconsistent with the use of a building blocks approach (ETSA Utilities et al, sub. 6, p. 10).

For example, while Ofgem is often seen as one of the most prominent users of the CPI-x approach, the AEMC (2011b, p. 45) notes that x is based on a productivity growth ‘assumption’.

An x above the industry-wide achievable productivity growth rate would not provide enough revenue over time for the business to fund efficient opex and capex.

Too dramatic a cut in revenue for any given business in the first year of a CPI-x regime would expose the business to immediate insolvency.

While methods that jointly use cross-sectional and time series (panel) data would help, given their better capacity to control for different operating environments, there has not been widespread testing of their reliability (Frontier Economics 2010b, p. 59).

With the inherent problems spelt out in detail by Rubinfeld (1985).

The AEMC (2011b) proposed a similar approach to pre-testing of TFP methods. In its review of TFP benchmarking, it recommended ‘paper trials’ of benchmarking before considering further Rule changes in the area.

For example, Aurora Energy (2012, p. 73) has indicated that it will increasingly decide whether to replace an asset when it has actually deteriorated (rather than basing replacement on asset ages, which was its past practice). This approach will reduce replacement investment, but would be likely to increase monitoring costs.

This was recognised by the ACCC/AER (2012a, p. 166) and several participants in the inquiry, such as Ergon Energy (sub. 8, p. 10).

All data collected by the AER through Regulatory Information Notices (or other compulsory processes) are confidential. In the Commission’s own experience, the sourcing of detailed data for the purposes of this inquiry has been met with various responses from networks, ranging from free unfettered use to complete anonymity.

The AER already routinely uses external consultants for economic and engineering advice, such as Nuttall Consulting (2010a) in the Victorian distribution network determinations, and Schweinsberg et al. (2011) on European benchmarking practices. But currently, it has limited current in-house capabilities in this area.

The situation is different from many other tests — such as the accuracy of medical diagnostics (confirmed through assays) and clocks (confirmed by reference to the US National Institute of Standards and Technology’s highly accurate clock).

In theory, under a high-powered incentive regime (chapter 5), profit-motivated businesses will progressively reveal efficient costs, which could be an alternative estimate of ‘true’ costs. However, that process may be quite slow if lower-powered incentives apply or state-owned businesses (which may be constrained by a variety of non-commercial objectives imposed by their shareholders) continue their dominant role.

There appears to be greater efforts for international collaboration in water utility benchmarking than in electricity, with benchmarking consortia established for the Americas, Africa, and internationally (Berg 2010, p. 62). In utility regulation generally, the Public private Infrastructure Advisory Facility, the World Bank, and the Public utility Research Center of the University of Florida have created a collaborative online repository of material on infrastructure regulation (http://www.regulationbodyofknowledge.org). However, this is more a collection of references and training tools, than a resource for benchmarking and data collection.