## Lines 2011
Maximum Demand Snapshot
| Lines | Lines
Figure | Transmision Network | Start | Finish | Voltage (kV) | "N" Utilisation | "N-1" Utilisation
3-3 | Eastern Corridor | Loy Yang | Hazelwood | 500 | 35% | 52% | 1 | 2% | 7%
3-3 | Eastern Corridor | Loy Yang | Hazelwood | 500 | 33% | 50% | 2 | 3% | 12%
3-3 | Eastern Corridor | Loy Yang | Hazelwood | 500 | 33% | 50% | 3 | 3% | 13%
3-3 | Eastern Corridor | South Morang | Hazelwood | 500 | 42% | 54% | 4 | 3% | 14%
3-3 | Eastern Corridor | South Morang | Hazelwood | 500 | 42% | 54% | 5 | 7% | 14%
3-3 | Eastern Corridor | Cranbourne | Hazelwood | 500 | 38% | 53% | 6 | 7% | 16%
3-3 | Eastern Corridor | Rowville | Hazelwood | 500 | 35% | 52% | 7 | 8% | 20%
3-3 | Eastern Corridor | Yallourn | Rowville | 220 | 64% | 70% | 8 | 8% | 20%
3-3 | Eastern Corridor | Yallourn | Rowville | 220 | 65% | 72% | 9 | 8% | 25%
3-3 | Eastern Corridor | Yallourn | Rowville | 220 | 65% | 72% | 10 | 9% | 25%
3-3 | Eastern Corridor | Yallourn | Rowville | 220 | 50% | 62% | 11 | 10% | 26%
3-3 | Eastern Corridor | Yallourn | Hazelwood | 220 | 57% | 67% | 12 | 10% | 26%
3-3 | Eastern Corridor | Yallourn | Hazelwood | 220 | 59% | 50% | 13 | 11% | 28%
3-3 | Eastern Corridor | Rowville | Hazelwood | 220 | 38% | 40% | 14 | 12% | 28%
3-3 | Eastern Corridor | Rowville | Hazelwood | 220 | 38% | 40% | 15 | 12% | 30%
3-3 | Eastern Corridor | Hazelwood | Jeeralang | 220 | 8% | 71% | 16 | 12% | 31%
3-3 | Eastern Corridor | Hazelwood | Jeeralang | 220 | 13% | 68% | 17 | 13% | 31%
3-3 | Eastern Corridor | Hazelwood | Jeeralang | 220 | 7% | 51% | 18 | 13% | 31%
3-3 | Eastern Corridor | Hazelwood | Jeeralang | 220 | 24% | 31% | 19 | 13% | 31%
3-3 | Eastern Corridor | Hazelwood | Morwell | 220 | 16% | 36% | 20 | 13% | 32%
3-3 | Eastern Corridor | Jeeralang | Morwell | 220 | 57% | 86% | 21 | 15% | 32%
3-3 | Eastern Corridor | Jeeralang | Morwell | 220 | 54% | 65% | 22 | 16% | 32%
3-4 | South-West Corridor | Heywood | South Australia | 275 | 17% | 32% | 23 | 16% | 35%
3-4 | South-West Corridor | Heywood | Moorabool | 500 | 12% | 20% | 24 | 16% | 36%
3-4 | South-West Corridor | Heywood | Moorabool | 500 | 8% | 13% | 25 | 17% | 38%
3-4 | South-West Corridor | Heywood | Portland | 500 | 27% | 53% | 26 | 18% | 39%
3-4 | South-West Corridor | Heywood | Portland | 500 | 27% | 53% | 27 | 19% | 40%
3-4 | South-West Corridor | Moorabool | Sydenham | 500 | 22% | 40% | 28 | 19% | 40%
3-4 | South-West Corridor | Moorabool | Sydenham | 500 | 22% | 40% | 29 | 19% | 40%
3-5 | Northern Corridor | South Morang | Dedarang | 330 | 43% | 71% | 30 | 19% | 40%
3-5 | Northern Corridor | South Morang | Dedarang | 330 | 43% | 71% | 31 | 22% | 40%
3-5 | Northern Corridor | Dedarang | Murray | 330 | 52% | 86% | 32 | 22% | 40%
3-5 | Northern Corridor | Dedarang | Murray | 330 | 52% | 86% | 33 | 22% | 41%
3-5 | Northern Corridor | Dedarang | Wodonga | 330 | 10% | 16% | 34 | 22% | 43%
3-5 | Northern Corridor | Wodonga | Jindera | 330 | 9% | 7% | 35 | 24% | 43%
3-5 | Northern Corridor | Dedarang | Mt.Beauty | 220 | 40% | 83% | 36 | 24% | 44%
3-5 | Northern Corridor | Dedarang | Mt.Beauty | 220 | 40% | 83% | 37 | 25% | 44%
3-5 | Northern Corridor | Mt.Beauty | Dartsmouth | 220 | 59% |  | 38 | 25% | 44%
3-5 | Northern Corridor | Mt.Beauty | Bogong/McKay Ck | 220 | 87% |  | 39 | 25% | 45%
3-5 | Northern Corridor | Mt.Beauty | West Kiewa | 220 | 56% |  | 40 | 25% | 45%
3-5 | Northern Corridor | Mt.Beauty | Eildon | 220 | 40% | 48% | 41 | 25% | 45%
3-5 | Northern Corridor | Mt.Beauty | Eildon | 220 | 40% | 48% | 42 | 25% | 45%
3-5 | Northern Corridor | Eildon | Thomastown | 220 | 66% | 70% | 43 | 25% | 46%
3-6 | Greater Melbourne & Geelong | Moorabool | Sydenham | 500 | 22% | 40% | 44 | 25% | 46%
3-6 | Greater Melbourne & Geelong | Moorabool | Sydenham | 500 | 22% | 40% | 45 | 26% | 46%
3-6 | Greater Melbourne & Geelong | Sydenham | South Morang | 500 | 25% | 43% | 46 | 27% | 47%
3-6 | Greater Melbourne & Geelong | Sydenham | South Morang | 500 | 26% | 45% | 47 | 27% | 48%
3-6 | Greater Melbourne & Geelong | Sydenham | Keilor | 500 | 12% | 46% | 48 | 27% | 48%
3-6 | Greater Melbourne & Geelong | South Morang | Keilor | 500 | 42% | 55% | 49 | 27% | 50%
3-6 | Greater Melbourne & Geelong | South Morang | Rowville | 500 | 13% | 31% | 50 | 28% | 50%
3-6 | Greater Melbourne & Geelong | Rowville | Cranbourne | 500 | 18% | 35% | 51 | 29% | 50%
3-6 | Greater Melbourne & Geelong | Moorabool | Geelong | 220 | 48% | 93% | 52 | 30% | 50%
3-6 | Greater Melbourne & Geelong | Moorabool | Geelong | 220 | 48% | 92% | 53 | 32% | 50%
3-6 | Greater Melbourne & Geelong | Geelong | Point Henry | 220 | 44% | 81% | 54 | 33% | 50%
3-6 | Greater Melbourne & Geelong | Geelong | Point Henry | 220 | 44% | 81% | 55 | 33% | 50%
3-6 | Greater Melbourne & Geelong | Point Henry | Anglesea | 220 | 56% |  | 56 | 33% | 50%
3-6 | Greater Melbourne & Geelong | Geelong | Keilor | 220 | 3% | 14% | 57 | 34% | 50%
3-6 | Greater Melbourne & Geelong | Geelong | Keilor | 220 | 3% | 12% | 58 | 34% | 51%
3-6 | Greater Melbourne & Geelong | Geelong | Keilor | 220 | 3% | 14% | 59 | 34% | 52%
3-6 | Greater Melbourne & Geelong | Keilor | Thomastown | 220 | 2% | 30% | 60 | 35% | 52%
3-6 | Greater Melbourne & Geelong | Keilor | Thomastown | 220 | 11% | 20% | 61 | 35% | 53%
3-6 | Greater Melbourne & Geelong | Keilor | West Melbourne | 220 | 27% | 46% | 62 | 35% | 53%
3-6 | Greater Melbourne & Geelong | Keilor | West Melbourne | 220 | 27% | 46% | 63 | 35% | 53%
3-6 | Greater Melbourne & Geelong | Keilor | Brooklyn | 220 | 19% | 28% | 64 | 35% | 53%
3-6 | Greater Melbourne & Geelong | Keilor | Altona | 220 | 13% | 25% | 65 | 35% | 53%
3-6 | Greater Melbourne & Geelong | Brooklyn | Altona | 220 | 13% | 25% | 66 | 36% | 53%
3-6 | Greater Melbourne & Geelong | Brooklyn | Newport | 220 | 8% | 55% | 67 | 36% | 54%
3-6 | Greater Melbourne & Geelong | Brooklyn | Fishermans Bend | 220 | 7% | 26% | 68 | 38% | 54%
3-6 | Greater Melbourne & Geelong | Fishermans Bend | Newport | 220 | 50% | 53% | 69 | 38% | 55%
3-6 | Greater Melbourne & Geelong | West Melbourne | Fishermans Bend | 220 | 25% | 44% | 70 | 38% | 55%
3-6 | Greater Melbourne & Geelong | West Melbourne | Fishermans Bend | 220 | 25% | 44% | 71 | 39% | 55%
3-6 | Greater Melbourne & Geelong | Thomastown | South Morang | 220 | 64% | 78% | 72 | 40% | 56%
3-6 | Greater Melbourne & Geelong | Thomastown | South Morang | 220 | 61% | 75% | 73 | 40% | 57%
3-6 | Greater Melbourne & Geelong | Thomastown | Templestowe | 220 | 32% | 41% | 74 | 40% | 61%
3-6 | Greater Melbourne & Geelong | Thomastown | Ringwood | 220 | 36% | 70% | 75 | 40% | 62%
3-6 | Greater Melbourne & Geelong | Thomastown | Brunswick | 220 | 19% | 28% | 76 | 40% | 62%
3-6 | Greater Melbourne & Geelong | Thomastown | Brunswick | 220 | 19% | 31% | 77 | 42% | 65%
3-6 | Greater Melbourne & Geelong | Templestowe | Rowville | 220 | 12% | 38% | 78 | 42% | 65%
3-6 | Greater Melbourne & Geelong | Ringwood | Rowville | 220 | 40% | 66% | 79 | 42% | 65%
3-6 | Greater Melbourne & Geelong | Brunswick | Richmond | 220 | 39% | 53% | 80 | 43% | 65%
3-6 | Greater Melbourne & Geelong | Rowville | Malvern | 220 | 35% | 65% | 81 | 43% | 66%
3-6 | Greater Melbourne & Geelong | Rowville | Malvern | 220 | 35% | 65% | 82 | 43% | 67%
3-6 | Greater Melbourne & Geelong | Rowville | Richmond | 220 | 45% | 61% | 83 | 44% | 67%
3-6 | Greater Melbourne & Geelong | Rowville | Richmond | 220 | 45% | 65% | 84 | 44% | 67%
3-6 | Greater Melbourne & Geelong | Rowville | Heatherton | 220 | 44% | 78% | 85 | 44% | 68%
3-6 | Greater Melbourne & Geelong | Rowville | Heatherton | 220 | 43% | 76% | 86 | 44% | 70%
3-6 | Greater Melbourne & Geelong | Rowville | East Rowville | 220 | 34% | 67% | 87 | 45% | 70%
3-6 | Greater Melbourne & Geelong | Rowville | East Rowville | 220 | 34% | 67% | 88 | 45% | 70%
3-6 | Greater Melbourne & Geelong | East Rowville | Cranbourne | 220 | 25% | 50% | 89 | 48% | 71%
3-6 | Greater Melbourne & Geelong | East Rowville | Cranbourne | 220 | 25% | 50% | 90 | 48% | 71%
3-6 | Greater Melbourne & Geelong | Cranbourne | Tyabb | 220 | 25% | 50% | 91 | 49% | 71%
3-6 | Greater Melbourne & Geelong | Cranbourne | Tyabb | 220 | 25% | 50% | 92 | 50% | 72%
3-6 | Greater Melbourne & Geelong | Tyabb | John Lysaught | 220 | 16% | 32% | 93 | 50% | 72%
3-6 | Greater Melbourne & Geelong | Tyabb | John Lysaught | 220 | 16% | 32% | 94 | 51% | 75%
3-7 | Regional Victoria | Red Cliffs | NSW | 220 | 35% | 50% | 95 | 52% | 76%
3-7 | Regional Victoria | Red Cliffs | Horsham | 220 | 10% | 26% | 96 | 52% | 77%
3-7 | Regional Victoria | Red Cliffs | Kerang | 220 | 15% | 31% | 97 | 54% | 78%
3-7 | Regional Victoria | Kerang | Bendigo | 220 | 30% | 44% | 98 | 55% | 78%
3-7 | Regional Victoria | Horsham | Waubra | 220 | 36% | 45% | 99 | 56% | 78%
3-7 | Regional Victoria | Waubra | Ballarat | 220 | 25% | 45% | 100 | 56% | 81%
3-7 | Regional Victoria | Ballarat | Terang | 220 | 19% | 43% | 101 | 57% | 81%
3-7 | Regional Victoria | Ballarat | Moorabool | 220 | 24% | 39% | 102 | 57% | 83%
3-7 | Regional Victoria | Ballarat | Moorabool | 220 | 28% | 45% | 103 | 59% | 83%
3-7 | Regional Victoria | Moorabool | Terang | 220 | 29% | 50% | 104 | 59% | 86%
3-7 | Regional Victoria | Ballarat | Bendigo | 220 | 35% | 77% | 105 | 61% | 86%
3-7 | Regional Victoria | Bendigo | Fosterville | 220 | 51% | 53% | 106 | 64% | 86%
3-7 | Regional Victoria | Fosterville | Shepparton | 220 | 55% | 62% | 107 | 64% | 92%
3-7 | Regional Victoria | Shepparton | Glenrowan | 220 | 33% | 56% | 108 | 65% | 93%
3-7 | Regional Victoria | Shepparton | Glenrowan | 220 | 34% | 57% | 109 | 65% | 51.12%
3-7 | Regional Victoria | Shepparton | Dedarang | 220 | 49% | 55% | 110 | 66%
3-7 | Regional Victoria | Dedarang | Glenrowan | 220 | 44% | 47% | 111 | 66%
3-7 | Regional Victoria | Dedarang | Glenrowan | 220 | 66% | 78% | 112 | 87%
[5 empty] | 32.93% | 51.12% | Mean | 32.93%

## Lines 2012
Maximum Demand Snapshot
| Lines | Lines
Figure | Transmision Network | Start | Finish | Voltage (kV) | "N" Utilisation | "N-1" Utilisation
3-3 | Eastern Corridor | Loy Yang | Hazelwood | 500 | 35% | 53% | 1 | 6% | 1 | 13% | 151.4% | 0% | 83
3-3 | Eastern Corridor | Loy Yang | Hazelwood | 500 | 35% | 52% | 2 | 6% | 2 | 13% | 148.6% | 0% | 111
3-3 | Eastern Corridor | Loy Yang | Hazelwood | 500 | 38% | 56% | 3 | 7% | 3 | 15% | 147.4% | 0% | 0.74775
3-3 | Eastern Corridor | South Morang | Hazelwood | 500 | 45% | 58% | 4 | 7% | 4 | 24% | 128.9% | 0%
3-3 | Eastern Corridor | South Morang | Hazelwood | 500 | 45% | 58% | 5 | 7% | 5 | 24% | 128.9% | 88.89%
3-3 | Eastern Corridor | Cranbourne | Hazelwood | 500 | 35% | 50% | 6 | 9% | 6 | 24% | 142.9% | 101.7%
3-3 | Eastern Corridor | Rowville | Hazelwood | 500 | 33% | 49% | 7 | 11% | 7 | 24% | 148.5% | 101.8%
3-3 | Eastern Corridor | Yallourn | Rowville | 220 | 62% | 65% | 8 | 12% | 8 | 25% | 104.8% | 104.8%
3-3 | Eastern Corridor | Yallourn | Rowville | 220 | 73% | 82% | 9 | 12% | 9 | 25% | 112.3% | 105.8%
3-3 | Eastern Corridor | Yallourn | Rowville | 220 | 75% | 84% | 10 | 13% | 10 | 25% | 112% | 105.9%
3-3 | Eastern Corridor | Yallourn | Rowville | 220 | 75% | 84% | 11 | 14% | 11 | 26% | 112% | 106.5%
3-3 | Eastern Corridor | Yallourn | Hazelwood | 220 | 60% | 77% | 12 | 15% | 12 | 29% | 128.3% | 109.5%
3-3 | Eastern Corridor | Yallourn | Hazelwood | 220 | 22% | 55% | 13 | 15% | 13 | 31% | 250% | 112%
3-3 | Eastern Corridor | Rowville | Hazelwood | 220 | 51% | 54% | 14 | 15% | 14 | 31% | 105.9% | 112%
3-3 | Eastern Corridor | Rowville | Hazelwood | 220 | 52% | 55% | 15 | 15% | 15 | 32% | 105.8% | 112.3%
3-3 | Eastern Corridor | Hazelwood | Jeeralang | 220 | 20% | 38% | 16 | 16% | 16 | 32% | 190% | 117%
3-3 | Eastern Corridor | Hazelwood | Jeeralang | 220 | 17% | 26% | 17 | 16% | 17 | 32% | 152.9% | 123.1%
3-3 | Eastern Corridor | Hazelwood | Jeeralang | 220 | 7% | 57% | 18 | 16% | 18 | 34% | 814.3% | 123.1%
3-3 | Eastern Corridor | Hazelwood | Jeeralang | 220 | 26% | 38% | 19 | 16% | 19 | 35% | 146.2% | 125%
3-3 | Eastern Corridor | Hazelwood | Morwell | 220 | 13% | 29% | 20 | 16% | 20 | 35% | 223.1% | 125%
3-3 | Eastern Corridor | Jeeralang | Morwell | 220 | 32% | 48% | 21 | 17% | 21 | 35% | 150% | 128.3%
3-3 | Eastern Corridor | Jeeralang | Morwell | 220 | 24% | 38% | 22 | 17% | 22 | 36% | 158.3% | 128.9%
3-4 | South-West Corridor | Heywood | South Australia | 275 | 33% | 66% | 23 | 17% | 23 | 36% | 200% | 128.9%
3-4 | South-West Corridor | Heywood | Moorabool | 500 | 21% | 41% | 24 | 18% | 24 | 37% | 195.2% | 129.2%
3-4 | South-West Corridor | Heywood | Moorabool | 500 | 22% | 42% | 25 | 18% | 25 | 38% | 190.9% | 129.3%
3-4 | South-West Corridor | Heywood | Portland | 500 | 23% | 46% | 26 | 18% | 26 | 38% | 200% | 133.3%
3-4 | South-West Corridor | Heywood | Portland | 500 | 23% | 46% | 27 | 19% | 27 | 38% | 200% | 136.4%
3-4 | South-West Corridor | Moorabool | Sydenham | 500 | 35% | 64% | 28 | 20% | 28 | 39% | 182.9% | 139.1%
3-4 | South-West Corridor | Moorabool | Sydenham | 500 | 35% | 64% | 29 | 20% | 29 | 41% | 182.9% | 140.5%
3-5 | Northern Corridor | South Morang | Dedarang | 330 | 34% | 58% | 30 | 20% | 30 | 42% | 170.6% | 142.1%
3-5 | Northern Corridor | South Morang | Dedarang | 330 | 34% | 59% | 31 | 21% | 31 | 43% | 173.5% | 142.9%
3-5 | Northern Corridor | Dedarang | Murray | 330 | 50% | 75% | 32 | 22% | 32 | 44% | 150% | 146.2%
3-5 | Northern Corridor | Dedarang | Murray | 330 | 50% | 75% | 33 | 22% | 33 | 45% | 150% | 147.4%
3-5 | Northern Corridor | Dedarang | Wodonga | 330 | 11% | 15% | 34 | 22% | 34 | 45% | 136.4% | 147.6%
3-5 | Northern Corridor | Wodonga | Jindera | 330 | 12% | 25% | 35 | 22% | 35 | 45% | 208.3% | 148.5%
3-5 | Northern Corridor | Dedarang | Mt.Beauty | 220 | 37% | 75% | 36 | 23% | 36 | 46% | 202.7% | 148.6%
3-5 | Northern Corridor | Dedarang | Mt.Beauty | 220 | 37% | 75% | 37 | 23% | 37 | 46% | 202.7% | 148.6%
3-5 | Northern Corridor | Mt.Beauty | Dartsmouth | 220 | 65% |  | 38 | 23% | 38 | 46% | 0% | 150%
3-5 | Northern Corridor | Mt.Beauty | Bogong/McKay Ck | 220 | 72% |  | 39 | 23% | 39 | 48% | 0% | 150%
3-5 | Northern Corridor | Mt.Beauty | West Kiewa | 220 | 37% |  | 40 | 24% | 40 | 49% | 0% | 150%
3-5 | Northern Corridor | Mt.Beauty | Eildon | 220 | 26% | 32% | 41 | 24% | 41 | 49% | 123.1% | 150%
3-5 | Northern Corridor | Mt.Beauty | Eildon | 220 | 26% | 32% | 42 | 26% | 42 | 50% | 123.1% | 150%
3-5 | Northern Corridor | Eildon | Thomastown | 220 | 46% | 49% | 43 | 26% | 43 | 51% | 106.5% | 150%
3-6 | Greater Melbourne & Geelong | Moorabool | Sydenham | 500 | 35% | 64% | 44 | 26% | 44 | 51% | 182.9% | 150%
3-6 | Greater Melbourne & Geelong | Moorabool | Sydenham | 500 | 35% | 64% | 45 | 27% | 45 | 52% | 182.9% | 151.4%
3-6 | Greater Melbourne & Geelong | Sydenham | South Morang | 500 | 34% | 56% | 46 | 30% | 46 | 53% | 164.7% | 151.4%
3-6 | Greater Melbourne & Geelong | Sydenham | South Morang | 500 | 35% | 58% | 47 | 30% | 47 | 53% | 165.7% | 152.9%
3-6 | Greater Melbourne & Geelong | Sydenham | Keilor | 500 | 9% | 43% | 48 | 31% | 48 | 54% | 477.8% | 153.5%
3-6 | Greater Melbourne & Geelong | South Morang | Keilor | 500 | 51% | 68% | 49 | 32% | 49 | 54% | 133.3% | 156.2%
3-6 | Greater Melbourne & Geelong | South Morang | Rowville | 500 | 22% | 39% | 50 | 32% | 50 | 54% | 177.3% | 156.2%
3-6 | Greater Melbourne & Geelong | Rowville | Cranbourne | 500 | 18% | 60% | 51 | 32% | 51 | 55% | 333.3% | 156.5%
3-6 | Greater Melbourne & Geelong | Moorabool | Geelong | 220 | 32% | 62% | 52 | 32% | 52 | 55% | 193.8% | 158.3%
3-6 | Greater Melbourne & Geelong | Moorabool | Geelong | 220 | 31% | 60% | 53 | 33% | 53 | 55% | 193.5% | 161.8%
3-6 | Greater Melbourne & Geelong | Geelong | Point Henry | 220 | 46% | 83% | 54 | 33% | 54 | 55% | 180.4% | 163%
3-6 | Greater Melbourne & Geelong | Geelong | Point Henry | 220 | 46% | 83% | 55 | 33% | 55 | 55% | 180.4% | 164.7%
3-6 | Greater Melbourne & Geelong | Point Henry | Anglesea | 220 | 65% |  | 56 | 33% | 56 | 55% | 0% | 165.7%
3-6 | Greater Melbourne & Geelong | Geelong | Keilor | 220 | 16% | 25% | 57 | 33% | 57 | 55% | 156.2% | 166.7%
3-6 | Greater Melbourne & Geelong | Geelong | Keilor | 220 | 16% | 24% | 58 | 34% | 58 | 55% | 150% | 166.7%
3-6 | Greater Melbourne & Geelong | Geelong | Keilor | 220 | 16% | 25% | 59 | 34% | 59 | 55% | 156.2% | 170.6%
3-6 | Greater Melbourne & Geelong | Keilor | Thomastown | 220 | 12% | 37% | 60 | 34% | 60 | 55% | 308.3% | 171.9%
3-6 | Greater Melbourne & Geelong | Keilor | Thomastown | 220 | 36% | 45% | 61 | 34% | 61 | 55% | 125% | 171.9%
3-6 | Greater Melbourne & Geelong | Keilor | West Melbourne | 220 | 30% | 55% | 62 | 34% | 62 | 56% | 183.3% | 172.7%
3-6 | Greater Melbourne & Geelong | Keilor | West Melbourne | 220 | 30% | 55% | 63 | 34% | 63 | 56% | 183.3% | 172.7%
3-6 | Greater Melbourne & Geelong | Keilor | Brooklyn | 220 | 16% | 35% | 64 | 35% | 64 | 56% | 218.8% | 173.5%
3-6 | Greater Melbourne & Geelong | Keilor | Altona | 220 | 24% | 31% | 65 | 35% | 65 | 57% | 129.2% | 173.8%
3-6 | Greater Melbourne & Geelong | Brooklyn | Altona | 220 | 15% | 35% | 66 | 35% | 66 | 57% | 233.3% | 176.5%
3-6 | Greater Melbourne & Geelong | Brooklyn | Newport | 220 | 19% | 55% | 67 | 35% | 67 | 57% | 289.5% | 177.3%
3-6 | Greater Melbourne & Geelong | Brooklyn | Fishermans Bend | 220 | 16% | 24% | 68 | 35% | 68 | 58% | 150% | 180.4%
3-6 | Greater Melbourne & Geelong | Fishermans Bend | Newport | 220 | 36% | 54% | 69 | 35% | 69 | 58% | 150% | 180.4%
3-6 | Greater Melbourne & Geelong | West Melbourne | Fishermans Bend | 220 | 7% | 24% | 70 | 35% | 70 | 58% | 342.9% | 182.9%
3-6 | Greater Melbourne & Geelong | West Melbourne | Fishermans Bend | 220 | 7% | 24% | 71 | 35% | 71 | 58% | 342.9% | 182.9%
3-6 | Greater Melbourne & Geelong | Thomastown | South Morang | 220 | 44% | 55% | 72 | 36% | 72 | 58% | 125% | 182.9%
3-6 | Greater Melbourne & Geelong | Thomastown | South Morang | 220 | 41% | 53% | 73 | 36% | 73 | 59% | 129.3% | 182.9%
3-6 | Greater Melbourne & Geelong | Thomastown | Templestowe | 220 | 17% | 45% | 74 | 36% | 74 | 59% | 264.7% | 183.3%
3-6 | Greater Melbourne & Geelong | Thomastown | Ringwood | 220 | 23% | 59% | 75 | 36% | 75 | 59% | 256.5% | 183.3%
3-6 | Greater Melbourne & Geelong | Thomastown | Brunswick | 220 | 23% | 36% | 76 | 36% | 76 | 60% | 156.5% | 185.3%
3-6 | Greater Melbourne & Geelong | Thomastown | Brunswick | 220 | 14% | 34% | 77 | 37% | 77 | 60% | 242.9% | 187.9%
3-6 | Greater Melbourne & Geelong | Templestowe | Rowville | 220 | 27% | 44% | 78 | 37% | 78 | 60% | 163% | 190%
3-6 | Greater Melbourne & Geelong | Ringwood | Rowville | 220 | 47% | 55% | 79 | 37% | 79 | 60% | 117% | 190.9%
3-6 | Greater Melbourne & Geelong | Brunswick | Richmond | 220 | 36% | 32% | 80 | 37% | 80 | 60% | 88.89% | 193.5%
3-6 | Greater Melbourne & Geelong | Rowville | Malvern | 220 | 32% | 55% | 81 | 37% | 81 | 60% | 171.9% | 193.8%
3-6 | Greater Melbourne & Geelong | Rowville | Malvern | 220 | 32% | 55% | 82 | 38% | 82 | 61% | 171.9% | 195.2%
3-6 | Greater Melbourne & Geelong | Rowville | Richmond | 220 | 42% | 59% | 83 | 38% | 83 | 62% | 140.5% | 197.2%
3-6 | Greater Melbourne & Geelong | Rowville | Richmond | 220 | 42% | 62% | 84 | 40% | 84 | 62% | 147.6% | 197.2%
|  | Rowville | Springvale | 220 | 42% | 70% |  | 41% |  | 62% | 166.7% | 200%
|  | Rowville | Springvale | 220 | 42% | 73% |  | 42% |  | 63% | 173.8% | 200%
3-6 | Greater Melbourne & Geelong | Springvale | Heatherton | 220 | 34% | 63% | 85 | 42% | 85 | 64% | 185.3% | 200%
3-6 | Greater Melbourne & Geelong | Springvale | Heatherton | 220 | 33% | 62% | 86 | 42% | 86 | 64% | 187.9% | 202.7%
3-6 | Greater Melbourne & Geelong | Rowville | East Rowville | 220 | 20% | 51% | 87 | 42% | 87 | 64% | 255% | 202.7%
3-6 | Greater Melbourne & Geelong | Rowville | East Rowville | 220 | 20% | 51% | 88 | 42% | 88 | 64% | 255% | 206.7%
3-6 | Greater Melbourne & Geelong | East Rowville | Cranbourne | 220 | 18% | 60% | 89 | 43% | 89 | 64% | 333.3% | 208.3%
3-6 | Greater Melbourne & Geelong | East Rowville | Cranbourne | 220 | 18% | 60% | 90 | 44% | 90 | 65% | 333.3% | 211.8%
3-6 | Greater Melbourne & Geelong | Cranbourne | Tyabb | 220 | 36% | 71% | 91 | 45% | 91 | 66% | 197.2% | 216.7%
3-6 | Greater Melbourne & Geelong | Cranbourne | Tyabb | 220 | 36% | 71% | 92 | 45% | 92 | 66% | 197.2% | 216.7%
3-6 | Greater Melbourne & Geelong | Tyabb | John Lysaught | 220 | 6% | 13% | 93 | 45% | 93 | 66% | 216.7% | 218.8%
3-6 | Greater Melbourne & Geelong | Tyabb | John Lysaught | 220 | 6% | 13% | 94 | 46% | 94 | 68% | 216.7% | 223.1%
3-7 | Regional Victoria | Red Cliffs | NSW | 220 | 46% | 64% | 95 | 46% | 95 | 70% | 139.1% | 233.3%
3-7 | Regional Victoria | Red Cliffs | Horsham | 220 | 15% | 31% | 96 | 46% | 96 | 71% | 206.7% | 233.3%
3-7 | Regional Victoria | Red Cliffs | Wemen | 220 | 15% | 35% | 97 | 46% | 97 | 71% | 233.3% | 242.9%
|  | Wemen | Kerang |  | 17% | 36% |  | 47% |  | 73% | 211.8% | 250%
3-7 | Regional Victoria | Kerang | Bendigo | 220 | 34% | 55% | 98 | 50% | 98 | 75% | 161.8% | 255%
3-7 | Regional Victoria | Horsham | Waubra | 220 | 37% | 55% | 99 | 50% | 99 | 75% | 148.6% | 255%
3-7 | Regional Victoria | Waubra | Ballarat | 220 | 37% | 56% | 100 | 51% | 100 | 75% | 151.4% | 256.5%
3-7 | Regional Victoria | Ballarat | Terang | 220 | 15% | 45% | 101 | 51% | 101 | 75% | 300% | 264.7%
3-7 | Regional Victoria | Ballarat | Moorabool | 220 | 34% | 60% | 102 | 52% | 102 | 75% | 176.5% | 289.5%
3-7 | Regional Victoria | Ballarat | Moorabool | 220 | 43% | 66% | 103 | 57% | 103 | 77% | 153.5% | 300%
3-7 | Regional Victoria | Moorabool | Terang | 220 | 38% | 54% | 104 | 60% | 104 | 82% | 142.1% | 300%
3-7 | Regional Victoria | Ballarat | Bendigo | 220 | 22% | 66% | 105 | 60% | 105 | 83% | 300% | 308.3%
3-7 | Regional Victoria | Bendigo | Fosterville | 220 | 57% | 58% | 106 | 62% | 106 | 83% | 101.8% | 333.3%
3-7 | Regional Victoria | Fosterville | Shepparton | 220 | 60% | 61% | 107 | 65% | 107 | 84% | 101.7% | 333.3%
3-7 | Regional Victoria | Shepparton | Glenrowan | 220 | 33% | 57% | 108 | 65% | 108 | 84% | 172.7% | 333.3%
3-7 | Regional Victoria | Shepparton | Glenrowan | 220 | 33% | 57% | 109 | 72% | Mean | 52% | 172.7% | 342.9%
3-7 | Regional Victoria | Shepparton | Dedarang | 220 | 42% | 46% | 110 | 73% |  |  | 109.5% | 342.9%
3-7 | Regional Victoria | Dedarang | Glenrowan | 220 | 40% | 60% | 111 | 75% |  |  | 150% | 477.8%
3-7 | Regional Victoria | Dedarang | Glenrowan | 220 | 45% | 75% | 112 | 75% |  |  | 166.7% | 814.3%
[5 empty] | 32.63% | 52% | Mean | 32.63%

## diff 12 to 11
|  |  | 2012 |  |  |  | 2011 | Ratio | Abs | Sorted for Graph
Loy Yang | Hazelwood | 500 | 0.35 | Loy Yang | Hazelwood | 500 | 0.35 | 0% | 0% | -37%
Loy Yang | Hazelwood | 500 | 0.35 | Loy Yang | Hazelwood | 500 | 0.33 | 6.061% | 2% | -30%
Loy Yang | Hazelwood | 500 | 0.38 | Loy Yang | Hazelwood | 500 | 0.33 | 15.15% | 5% | -25%
South Morang | Hazelwood | 500 | 0.45 | South Morang | Hazelwood | 500 | 0.42 | 7.143% | 3% | -21%
South Morang | Hazelwood | 500 | 0.45 | South Morang | Hazelwood | 500 | 0.42 | 7.143% | 3% | -20%
Cranbourne | Hazelwood | 500 | 0.35 | Cranbourne | Hazelwood | 500 | 0.38 | -7.895% | -3% | -20%
Rowville | Hazelwood | 500 | 0.33 | Rowville | Hazelwood | 500 | 0.35 | -5.714% | -2% | -20%
Yallourn | Rowville | 220 | 0.62 | Yallourn | Rowville | 220 | 0.64 | -3.125% | -2% | -19%
Yallourn | Rowville | 220 | 0.73 | Yallourn | Rowville | 220 | 0.65 | 12.31% | 8% | -18%
Yallourn | Rowville | 220 | 0.75 | Yallourn | Rowville | 220 | 0.65 | 15.38% | 10% | -18%
Yallourn | Rowville | 220 | 0.75 | Yallourn | Rowville | 220 | 0.5 | 50% | 25% | -17%
Yallourn | Hazelwood | 220 | 0.6 | Yallourn | Hazelwood | 220 | 0.57 | 5.263% | 3% | -16%
Yallourn | Hazelwood | 220 | 0.22 | Yallourn | Hazelwood | 220 | 0.59 | -62.71% | -37% | -15%
Rowville | Hazelwood | 220 | 0.51 | Rowville | Hazelwood | 220 | 0.38 | 34.21% | 13% | -15%
Rowville | Hazelwood | 220 | 0.52 | Rowville | Hazelwood | 220 | 0.38 | 36.84% | 14% | -14%
Hazelwood | Jeeralang | 220 | 0.2 | Hazelwood | Jeeralang | 220 | 0.08 | 150% | 12% | -14%
Hazelwood | Jeeralang | 220 | 0.17 | Hazelwood | Jeeralang | 220 | 0.13 | 30.77% | 4% | -14%
Hazelwood | Jeeralang | 220 | 0.07 | Hazelwood | Jeeralang | 220 | 0.07 | 0% | 0% | -14%
Hazelwood | Jeeralang | 220 | 0.26 | Hazelwood | Jeeralang | 220 | 0.24 | 8.333% | 2% | -14%
Hazelwood | Morwell | 220 | 0.13 | Hazelwood | Morwell | 220 | 0.16 | -18.75% | -3% | -13%
Jeeralang | Morwell | 220 | 0.32 | Jeeralang | Morwell | 220 | 0.57 | -43.86% | -25% | -13%
Jeeralang | Morwell | 220 | 0.24 | Jeeralang | Morwell | 220 | 0.54 | -55.56% | -30% | -10%
Heywood | South Australia | 275 | 0.33 | Heywood | South Australia | 275 | 0.17 | 94.12% | 16% | -10%
Heywood | Moorabool | 500 | 0.21 | Heywood | Moorabool | 500 | 0.12 | 75% | 9% | -9%
Heywood | Moorabool | 500 | 0.22 | Heywood | Moorabool | 500 | 0.08 | 175% | 14% | -9%
Heywood | Portland | 500 | 0.23 | Heywood | Portland | 500 | 0.27 | -14.81% | -4% | -7%
Heywood | Portland | 500 | 0.23 | Heywood | Portland | 500 | 0.27 | -14.81% | -4% | -7%
Moorabool | Sydenham | 500 | 0.35 | Moorabool | Sydenham | 500 | 0.22 | 59.09% | 13% | -7%
Moorabool | Sydenham | 500 | 0.35 | Moorabool | Sydenham | 500 | 0.22 | 59.09% | 13% | -5%
South Morang | Dedarang | 330 | 0.34 | South Morang | Dedarang | 330 | 0.43 | -20.93% | -9% | -4%
South Morang | Dedarang | 330 | 0.34 | South Morang | Dedarang | 330 | 0.43 | -20.93% | -9% | -4%
Dedarang | Murray | 330 | 0.5 | Dedarang | Murray | 330 | 0.52 | -3.846% | -2% | -4%
Dedarang | Murray | 330 | 0.5 | Dedarang | Murray | 330 | 0.52 | -3.846% | -2% | -4%
Dedarang | Wodonga | 330 | 0.11 | Dedarang | Wodonga | 330 | 0.1 | 10% | 1% | -3%
Wodonga | Jindera | 330 | 0.12 | Wodonga | Jindera | 330 | 0.09 | 33.33% | 3% | -3%
Dedarang | Mt.Beauty | 220 | 0.37 | Dedarang | Mt.Beauty | 220 | 0.4 | -7.5% | -3% | -3%
Dedarang | Mt.Beauty | 220 | 0.37 | Dedarang | Mt.Beauty | 220 | 0.4 | -7.5% | -3% | -3%
Mt.Beauty | Dartsmouth | 220 | 0.65 | Mt.Beauty | Dartsmouth | 220 | 0.59 | 10.17% | 6% | -3%
Mt.Beauty | Bogong/McKay Ck | 220 | 0.72 | Mt.Beauty | Bogong/McKay Ck | 220 | 0.87 | -17.24% | -15% | -3%
Mt.Beauty | West Kiewa | 220 | 0.37 | Mt.Beauty | West Kiewa | 220 | 0.56 | -33.93% | -19% | -3%
Mt.Beauty | Eildon | 220 | 0.26 | Mt.Beauty | Eildon | 220 | 0.4 | -35% | -14% | -3%
Mt.Beauty | Eildon | 220 | 0.26 | Mt.Beauty | Eildon | 220 | 0.4 | -35% | -14% | -3%
Eildon | Thomastown | 220 | 0.46 | Eildon | Thomastown | 220 | 0.66 | -30.3% | -20% | -3%
Moorabool | Sydenham | 500 | 0.35 | Moorabool | Sydenham | 500 | 0.22 | 59.09% | 13% | -3%
Moorabool | Sydenham | 500 | 0.35 | Moorabool | Sydenham | 500 | 0.22 | 59.09% | 13% | -2%
Sydenham | South Morang | 500 | 0.34 | Sydenham | South Morang | 500 | 0.25 | 36% | 9% | -2%
Sydenham | South Morang | 500 | 0.35 | Sydenham | South Morang | 500 | 0.26 | 34.62% | 9% | -2%
Sydenham | Keilor | 500 | 0.09 | Sydenham | Keilor | 500 | 0.12 | -25% | -3% | -2%
South Morang | Keilor | 500 | 0.51 | South Morang | Keilor | 500 | 0.42 | 21.43% | 9% | -1%
South Morang | Rowville | 500 | 0.22 | South Morang | Rowville | 500 | 0.13 | 69.23% | 9% | 0%
Rowville | Cranbourne | 500 | 0.18 | Rowville | Cranbourne | 500 | 0.18 | 0% | 0% | 0%
Moorabool | Geelong | 220 | 0.32 | Moorabool | Geelong | 220 | 0.48 | -33.33% | -16% | 0%
Moorabool | Geelong | 220 | 0.31 | Moorabool | Geelong | 220 | 0.48 | -35.42% | -17% | 0%
Geelong | Point Henry | 220 | 0.46 | Geelong | Point Henry | 220 | 0.44 | 4.545% | 2% | 1%
Geelong | Point Henry | 220 | 0.46 | Geelong | Point Henry | 220 | 0.44 | 4.545% | 2% | 1%
Point Henry | Anglesea | 220 | 0.65 | Point Henry | Anglesea | 220 | 0.56 | 16.07% | 9% | 2%
Geelong | Keilor | 220 | 0.16 | Geelong | Keilor | 220 | 0.03 | 433.3% | 13% | 2%
Geelong | Keilor | 220 | 0.16 | Geelong | Keilor | 220 | 0.03 | 433.3% | 13% | 2%
Geelong | Keilor | 220 | 0.16 | Geelong | Keilor | 220 | 0.03 | 433.3% | 13% | 2%
Keilor | Thomastown | 220 | 0.12 | Keilor | Thomastown | 220 | 0.02 | 500% | 10% | 2%
Keilor | Thomastown | 220 | 0.36 | Keilor | Thomastown | 220 | 0.11 | 227.3% | 25% | 3%
Keilor | West Melbourne | 220 | 0.3 | Keilor | West Melbourne | 220 | 0.27 | 11.11% | 3% | 3%
Keilor | West Melbourne | 220 | 0.3 | Keilor | West Melbourne | 220 | 0.27 | 11.11% | 3% | 3%
Keilor | Brooklyn | 220 | 0.16 | Keilor | Brooklyn | 220 | 0.19 | -15.79% | -3% | 3%
Keilor | Altona | 220 | 0.24 | Keilor | Altona | 220 | 0.13 | 84.62% | 11% | 3%
Brooklyn | Altona | 220 | 0.15 | Brooklyn | Altona | 220 | 0.13 | 15.38% | 2% | 3%
Brooklyn | Newport | 220 | 0.19 | Brooklyn | Newport | 220 | 0.08 | 137.5% | 11% | 4%
Brooklyn | Fishermans Bend | 220 | 0.16 | Brooklyn | Fishermans Bend | 220 | 0.07 | 128.6% | 9% | 4%
Fishermans Bend | Newport | 220 | 0.36 | Fishermans Bend | Newport | 220 | 0.5 | -28% | -14% | 4%
West Melbourne | Fishermans Bend | 220 | 0.07 | West Melbourne | Fishermans Bend | 220 | 0.25 | -72% | -18% | 5%
West Melbourne | Fishermans Bend | 220 | 0.07 | West Melbourne | Fishermans Bend | 220 | 0.25 | -72% | -18% | 5%
Thomastown | South Morang | 220 | 0.44 | Thomastown | South Morang | 220 | 0.64 | -31.25% | -20% | 5%
Thomastown | South Morang | 220 | 0.41 | Thomastown | South Morang | 220 | 0.61 | -32.79% | -20% | 6%
Thomastown | Templestowe | 220 | 0.17 | Thomastown | Templestowe | 220 | 0.32 | -46.88% | -15% | 6%
Thomastown | Ringwood | 220 | 0.23 | Thomastown | Ringwood | 220 | 0.36 | -36.11% | -13% | 7%
Thomastown | Brunswick | 220 | 0.23 | Thomastown | Brunswick | 220 | 0.19 | 21.05% | 4% | 8%
Thomastown | Brunswick | 220 | 0.14 | Thomastown | Brunswick | 220 | 0.19 | -26.32% | -5% | 9%
Templestowe | Rowville | 220 | 0.27 | Templestowe | Rowville | 220 | 0.12 | 125% | 15% | 9%
Ringwood | Rowville | 220 | 0.47 | Ringwood | Rowville | 220 | 0.4 | 17.5% | 7% | 9%
Brunswick | Richmond | 220 | 0.36 | Brunswick | Richmond | 220 | 0.39 | -7.692% | -3% | 9%
Rowville | Malvern | 220 | 0.32 | Rowville | Malvern | 220 | 0.35 | -8.571% | -3% | 9%
Rowville | Malvern | 220 | 0.32 | Rowville | Malvern | 220 | 0.35 | -8.571% | -3% | 9%
Rowville | Richmond | 220 | 0.42 | Rowville | Richmond | 220 | 0.45 | -6.667% | -3% | 9%
Rowville | Richmond | 220 | 0.42 | Rowville | Richmond | 220 | 0.45 | -6.667% | -3% | 9%
Rowville | East Rowville | 220 | 0.2 | Rowville | East Rowville | 220 | 0.34 | -41.18% | -14% | 10%
Rowville | East Rowville | 220 | 0.2 | Rowville | East Rowville | 220 | 0.34 | -41.18% | -14% | 10%
East Rowville | Cranbourne | 220 | 0.18 | East Rowville | Cranbourne | 220 | 0.25 | -28% | -7% | 10%
East Rowville | Cranbourne | 220 | 0.18 | East Rowville | Cranbourne | 220 | 0.25 | -28% | -7% | 11%
Cranbourne | Tyabb | 220 | 0.36 | Cranbourne | Tyabb | 220 | 0.25 | 44% | 11% | 11%
Cranbourne | Tyabb | 220 | 0.36 | Cranbourne | Tyabb | 220 | 0.25 | 44% | 11% | 11%
Tyabb | John Lysaught | 220 | 0.06 | Tyabb | John Lysaught | 220 | 0.16 | -62.5% | -10% | 11%
Tyabb | John Lysaught | 220 | 0.06 | Tyabb | John Lysaught | 220 | 0.16 | -62.5% | -10% | 11%
Red Cliffs | NSW | 220 | 0.46 | Red Cliffs | NSW | 220 | 0.35 | 31.43% | 11% | 12%
Red Cliffs | Horsham | 220 | 0.15 | Red Cliffs | Horsham | 220 | 0.1 | 50% | 5% | 12%
Kerang | Bendigo | 220 | 0.34 | Kerang | Bendigo | 220 | 0.3 | 13.33% | 4% | 13%
Horsham | Waubra | 220 | 0.37 | Horsham | Waubra | 220 | 0.36 | 2.778% | 1% | 13%
Waubra | Ballarat | 220 | 0.37 | Waubra | Ballarat | 220 | 0.25 | 48% | 12% | 13%
Ballarat | Terang | 220 | 0.15 | Ballarat | Terang | 220 | 0.19 | -21.05% | -4% | 13%
Ballarat | Moorabool | 220 | 0.34 | Ballarat | Moorabool | 220 | 0.24 | 41.67% | 10% | 13%
Ballarat | Moorabool | 220 | 0.43 | Ballarat | Moorabool | 220 | 0.28 | 53.57% | 15% | 13%
Moorabool | Terang | 220 | 0.38 | Moorabool | Terang | 220 | 0.29 | 31.03% | 9% | 13%
Ballarat | Bendigo | 220 | 0.22 | Ballarat | Bendigo | 220 | 0.35 | -37.14% | -13% | 13%
Bendigo | Fosterville | 220 | 0.57 | Bendigo | Fosterville | 220 | 0.51 | 11.76% | 6% | 14%
Fosterville | Shepparton | 220 | 0.6 | Fosterville | Shepparton | 220 | 0.55 | 9.091% | 5% | 14%
Shepparton | Glenrowan | 220 | 0.33 | Shepparton | Glenrowan | 220 | 0.33 | 0% | 0% | 15%
Shepparton | Glenrowan | 220 | 0.33 | Shepparton | Glenrowan | 220 | 0.34 | -2.941% | -1% | 15%
Shepparton | Dedarang | 220 | 0.42 | Shepparton | Dedarang | 220 | 0.49 | -14.29% | -7% | 16%
Dedarang | Glenrowan | 220 | 0.4 | Dedarang | Glenrowan | 220 | 0.44 | -9.091% | -4% | 25%
Dedarang | Glenrowan | 220 | 0.45 | Dedarang | Glenrowan | 220 | 0.66 | -31.82% | -21% | 25%
|  |  | 32.75% |  |  |  | 32.9%