## Substations
Maximum Demand Snapshot
Figure | Transmission Network | Transformer | Primary Voltage(kV) | Secondary Voltage(kV) | "N" Utilisation | "N-1" Utilisation |  | "N" Utilisation | "N-1" Utilisation
3-3 | Eastern Corridor | Rowville 500/220 kV A1 | 500 | 220 | 53.5% | 48% | 1 | 9% | 20%
3-3 | Eastern Corridor | Hazelwood 500/220 kV A1 | 500 | 220 | 58.25% | 73.5% | 2 | 41.67% | 46%
3-4 | South-West Corridor | Heywood 500/275 kV M1 | 500 | 275 | 54.5% | 86% | 3 | 48.5% | 48%
3-4 | South-West Corridor | Moorabool 500/220 kV A1 | 500 | 220 | 48.5% | 58% | 4 | 48.5% | 50%
3-5 | Northern Corridor | South Morang 500/330 kV F2 | 500 | 330 | 9% | 20% | 5 | 52% | 58%
3-5 | Northern Corridor | South Morang 330/220 kV H1 | 330 | 220 | 48.5% | 58% | 6 | 53.5% | 58%
3-5 | Northern Corridor | Dederang 330/220 kV H1 | 330 | 220 | 41.67% | 46% | 7 | 54% | 69%
3-6 | Greater Melbourne & Geelong | Keilor 500/220 kV A2 | 500 | 220 | 54% | 69% | 8 | 54.5% | 73.5%
3-6 | Greater Melbourne & Geelong | Cranbourne 500/220 kV A1 | 500 | 220 | 52% | 50% | 9 | 58.25% | 86%
[5 empty] | 46.66% | 56.5% | Mean | 46.66% | 56.5%

## Transformers
Maximum Demand Snapshot
Figure | Transmission Network | Transformer | Primary Voltage(kV) | Secondary Voltage(kV) | "N" Utilisation | "N-1" Utilisation |  | "N" Utilisation | "N-1" Utilisation
3-3 | Eastern Corridor | Rowville 500/220 kV A1 | 500 | 220 | 61% | 49% | 1 | 9% | 20%
3-3 | Eastern Corridor | Rowville 500/220 kV A2 | 500 | 220 | 46% | 47% | 2 | 34% | 43%
3-3 | Eastern Corridor | Hazelwood 500/220 kV A1 | 500 | 220 | 59% | 75% | 3 | 37% | 45%
3-3 | Eastern Corridor | Hazelwood 500/220 kV A2 | 500 | 220 | 60% | 76% | 4 | 45% | 46%
3-3 | Eastern Corridor | Hazelwood 500/220 kV A3 | 500 | 220 | 58% | 72% | 5 | 46% | 47%
3-3 | Eastern Corridor | Hazelwood 500/220 kV A4 | 500 | 220 | 56% | 71% | 6 | 46% | 49%
3-4 | South-West Corridor | Heywood 500/275 kV M1 | 500 | 275 | 54% | 85% | 7 | 48% | 50%
3-4 | South-West Corridor | Heywood 500/275 kV M2 | 500 | 275 | 55% | 87% | 8 | 49% | 50%
3-4 | South-West Corridor | Moorabool 500/220 kV A1 | 500 | 220 | 48% | 63% | 9 | 51% | 53%
3-4 | South-West Corridor | Moorabool 500/220 kV A2 | 500 | 220 | 49% | 53% | 10 | 52% | 63%
3-5 | Northern Corridor | South Morang 500/330 kV F2 | 500 | 330 | 9% | 20% | 11 | 54% | 65%
3-5 | Northern Corridor | South Morang 330/220 kV H1 | 330 | 220 | 54% | 66% | 12 | 54% | 66%
3-5 | Northern Corridor | South Morang 330/220 kV H2 | 330 | 220 | 51% | 65% | 13 | 55% | 71%
3-5 | Northern Corridor | Dederang 330/220 kV H1 | 330 | 220 | 45% | 50% | 14 | 56% | 72%
3-5 | Northern Corridor | Dederang 330/220 kV H2 | 330 | 220 | 34% | 45% | 15 | 58% | 75%
3-5 | Northern Corridor | Dederang 330/220 kV H3 | 330 | 220 | 46% | 43% | 16 | 59% | 76%
3-6 | Greater Melbourne & Geelong | Keilor 500/220 kV A2 | 500 | 220 | 62% | 80% | 20 | 60% | 80%
3-6 | Greater Melbourne & Geelong | Keilor 500/220 kV A3 | 500 | 220 | 37% | 46% | 21 | 61% | 81%
3-6 | Greater Melbourne & Geelong | Keilor 500/220 kV A4 | 500 | 220 | 63% | 81% | 22 | 62% | 85%
3-6 | Greater Melbourne & Geelong | Cranbourne 500/220 kV A1 | 500 | 220 | 52% | 50% | 23 | 63% | 87%
[5 empty] | 49.95% | 61.2% | Mean | 51.52% | 61.2%