## About this spreadsheet
See the Contents of this spreadsheet
The costs and benefits of demand management for households (spreadsheet)
As part of the inquiry into Electricity Network Regulation, the Commission quantitatively explored the relative merits of different demand management approaches. The analysis is intended to assist the Commission in drawing out relevant implications for issues of demand management addressed in the report - and particularly for supporting recommendations. The purpose of the calculations is to illustrate the effects of different DM strategies and how these may affect outcomes. Readers can also manipulate model parameters or use the spreadsheet as the basis for other experiments. It is NOT intended to give precise estimates, which ranges have been used for all scenarios.
As such, the Commission has not independently prepared detailed assumptions concerning the implementation of smart meters, but instead, drawn on assumptions used in previous cost benefit analysis and on actual data from the recent roll out of smart meters in Victoria. By using consistent assumptions across scenarios, conclusions about the relative merits of different approaches can still be drawn.
A range of scenarios have been examined, with the cost benefit ratios outlined in the Summary tab. For each scenario, a low, mid and high case has been developed. The low case takes assumptions entailing the highest costs and lowest benefits that have been identified (as primarily outlined in the Assumption parameters tab). Red boxes on the Assumption parameters tab are parameterised variables that will automatically flow through to the scenario calculations.
The References tab includes the bibliographical information of studies drawn on for this analysis.
The spreadsheet also includes the (separate) calculations on the size of the subsidy to air conditioning during critical peak periods.
This publication should be referenced as:
Productivity Commission 2013, The costs and benefits of demand management for households, Supplement to inquiry report on Electricity Network Regulatory Frameworks, 9 April.

## Contents
Contents
About this spreadsheet
Summary
Assumption parameters
(1) Constrained Peaky regions
(2) NEM phase in
(3) NEM phase TOU
(4) NEM DLC no SM
Airconditioning results
Summary LRMC and SRMC
Various LRMC
AECOM LRMC and SRMC
One off
Constrained peaky networks (V2)
References

## Summary
Back to the Contents of this spreadsheet
Summary of benefit cost ratios for various scenarios
Version 2 of scenario 1 (not used in TP)
| Regional roll-out in peaky constrained areas | NEM-wide roll-out with critical peak pricing | NEM-wide roll-out with weakly targeted time of use pricing | Direct load control without smart meters |  | Regional roll-out in peaky contrained area with an additional deferred lumpy investment
Cost-benefit ratios
Low | 1.1191 | 0.55248 | 0.33797 | 1.2057 |  | 1.1499
Medium | 2.6939 | 1.1507 | 0.56644 | 2.694 |  | 2.7489
High | 6.9098 | 2.6984 | 1.0788 | 6.2654 |  | 7.0037
25th and 75th percentile of annuity value per household
25th P ($) | 100 | -10 | -45 | 65 |  | 100
75th P ($) | 200 | 35 | -20 | 140 |  | 200

## Assumption parameters
|  |  | Source of estimates |  |  |  | Back to the Contents of this spreadsheet
Discount rate (%) | 8 | Discount factor | Standard discount rate used in evaluating projects (eg Harrison and in Oakley Greenwood AMI Benefits and Costs Report, August 2010)
Cost of smart meters $ per meter
Lowest | 270 |  | Lower amount presumed with economies of scale and technology change (and consistent with lower figures earlier estimated by NERA 2008a)
Mid | 535 |  | Average of lowest and highest
Highest | 800 |  | Deloitte 2011a pp.12-13, pp. 39ff
Cost of IT update for smart meters $ per meter
Lowest | 100
Mid | 125 |  | Average of lowest and highest
Highest | 150 |  | Deloitte 2011a p.12, pp. 39 ff
Annual opex cost for smart meters $ per meter
Lowest | 20 |  | Estimates based on Oakley Greenwood 2010 p.23 (transitional and ongoing opex of $284m) and Deloitte 2011a p.45 (NPV of OPEX of $592m over 20 years)
Mid | 25
Highest | 30
Annual business efficiencies smart meters $ per meter |  |  | $ per meter per year | $m NPV over meter life | Study | Data source
Lowest | 50 |  | 58.2289 | 2091 | Oakley Greenwood
Mid | 57.5 |  | 42.885 | 1540 | Deloitte 2011a
Highest | 65 |  | 62.0162 | 2227 | Futura
|  |  | 50.9 |  | CRA 2008a (low)
|  |  | 71.2 |  | CRA 2008a (high)
Cost of direct load control (mainly labour cost and installation of control devices)
Lowest | 160 |  | Wilkenfeld 2011 p.17
Mid | 210
Highest | 260
Other DLC costs (operating)
Unit cost of sending signals and maintaining IT/software | 25 |  | Delloite 2011a (It suggests $2 per meter per month - so roughly $20 a year especially as costs fall)
Peak price demand elasticity (absolute value)
Lowest | 0.1
Mid | 0.15 |  | Deloitte (2011b , volume 2, p. 52), which used 0.15
High | 0.2
Value of network and generation savings $/kW/year
Lowest | 271.2729 |  | See tab labelled 'Summary LRMC&SRMC"
Mid | 326.2729
High | 381.2729
Maximum demand management response associated with direct load control (% effect)
Lowest | 15 |  | A reasonable range of estimates drawing on trial results from Futura 2011 and adjusting for selection bias
Mid | 20
High | 25
Payment for participating in DLC for 3 years ($)
Lowest | 30 |  | Based on Futura (2011)
Mid | 65
High | 100
Participation in Direct load control (take up rates)
Lowest | 0.02
Mid | 0.05 |  | Based on a mixture of assumptions and evidence from on trial studies. Selection biases, the lack of compatible appliances and the difficulties of recruiting people without intensive marketing across the whole NEM suggests that the best trial participation rates are over-optimistic.
High | 0.2
Total peak demand from these households outside Victoria (MW)
Lowest | 11550
Mid | 13200
High | 14850
Value of transmission and generation savings $/kW/year
Lowest | 121.2729 |  | See tab labelled 'Summary LRMC&SRMC"
Mid | 141.2729
High | 161.2729
SRMC distribution savings $/kW
Lowest | 2200 |  | See tab labelled 'Summary LRMC&SRMC"
Mid | 2750
High | 3300
Number of meters in NEM excluding Victoria | 6200000 |  | In effect this is households that would have meters installed (outside Victoria)
Source and notes: All green shaded figures are from Deloitte 2011a, p. 13 and are in $million npv. They include avoided costs from the AMI program, efficiencies of network management and other benefits excluding from innovative tariffs and demand management. There are 2.66 million meters. Meters have a 15 year life. A discount rate of 8% is assumed. The annuity over the 15 year value is calculated
Source and notes: CRA 2008a p. 127
Given some inflation since the estimates, and a concern to avoid extremes at either end, we have used 50 as low, 65 as high and the average as the middle value
As discussed in chapter 11, there are different ways of calculating the LRMC, but fundamentally, it measures the annualised cost of supplying the required capacity over the life of the asset. Accordingly, unlike the SRMC, the LRMC is measured in per year terms. The Commission reviewed existing estimates of the long-run marginal cost of delivering an additional kW to an end user during peak periods
Note on A4: Including the cost of the smart meter, installation, and establishing the communication, network and customer support systems to operate the smart meters.
Note on B5: There are potential savings from the bulk purchase and installation of a large number of smart meters or direct load control devices. As such, this lower cost estimates is more likely to be achieved from a wider rollout of demand management.
Note on F7: Presented at total cost, with breakdown by years graphically
Note on A26: Includes cost of built in load control component, set up in the home, contribution to the cost of infrastructure for DLC signals
Note on A28: Initially the Commission used a figure of $1500 from EnergyAustralia and Transgrid 2009. However, this number was based on trials with high-cost retrofitting, rather than commercially-oriented rollouts. We have used a high estimate from discussions wirth a DNSP actually rollling out the technologies of $380 as the max.
Note on B63: The SA trials found that among 12,000 commercial and household residences, they were able to recruit 2392 airconditioners for the trial - with an implicit participation rate of 20% (p. 68). However, the trial required considerable marketing. In another trial, a group of 1100 potential participants were chosen on the basis of their network connection type, tariff assigned and summer consumption. The 1100 is therefore only a sample of the overall population - and had features uncharacteristic of other households. Of the 1100 households, 142 were ultimately recruited after a 'concerted recruitment campaign' or 12.9% (p. 71). The real participation was less than this once the fact that it is recognised that 1100 is less than the underlying population. Source: ETSA Utilities 2009, Annual Demand Management Compliance Report.
Note on B69: Commission estimates based on consultations and assorted sources = (Total estimated NEM peak demand less Victoria ) times the share of total accounted for by households. A full modelling exercise would recognise that NEM peak demand will be likely to grow over time, and estimate the demand response in each year given the peak demand forecast for that year. An alternative is to estimate the long run maximum demand forecast and the demand response given pricing (or other policy instruments) at that time. Then the outcomes for previous years can be some share of that long run. AEMO has forecasts up to 2021 - and this has been taken as the long-run (though in fact, peak demand will likely rise over subsequent years given population growth alone). The medium figure for the medium scenario is just over 42000 MW across the NEM of which Victoria accounts for just over 11,000 MW. These figures have been used as the available peak demand in this modelling. (Source: AEMO 2012, NATIONAL ELECTRICITY FORECASTING REPORT For the National Electricity Market (NEM). Since the PC's estimates relate to households only, an estimate of their contribution to peak demand is required. As noted in the Commonwealth’s Draft Energy White Paper, “currently, there is poor national information on the sectoral contribution to peak demand, although analysis is available for some parts of the country” . In part, this is because of the difficulty of measuring consumption at peak times by customer classes that lack time-specific meters. A dated estimate from a peak summer day in South Australia in 2001 indicates that households made up somewhat under half of the peak, small and medium business 10-20 per cent, with around 30 per cent from large businesses, and 8 per cent from transmission losses (Charles River Associates 2004, Peak demand on the ETSA Utilities system, February, www.efa.com.au/Library/PeakDemandonETSASystem.pdf, accessed 18 September 2012). The authors caution against treating these estimates as more than indicative, but the figures have been widely cited. A more recent estimate for Energex’s network covering south-east Queensland on the day of higher consumption 2009 suggests that residential customers make up closer to 35-40 per cent of the peak, with small to medium enterprises comprising roughly 25-30 per cent and commercial and industrial customers another 35 per cent. Networks in South Australia and Queensland hUSave also estimated how much of the load on peak days recorded by accumulation meters drawn by residential and non-residential customers (NERA, 2008 Cost benefit analysis of smart metering and direct load control, Work Stream 4: Consumer Impacts Phase 2 Consultation Report. Report to the Ministerial Council on Energy Smart Meter Working Group). These figures show the residential customers represent a majority of between 51-82 per cent of accumulation metered load on peak days, and 52-70 per cent on non-peak days. The low estimate of available peak demand is based on a lower household share of 35% cf the high case of 45%.

## (1) Constrained Peaky regions
Max | Limited sequential rollout of smart meters with critical peak pricing |  |  |  | Back to the Contents of this spreadsheet |  |  | Min | [7 empty] | Middle
Number of meters | 10000
Total peak demand from these households outside Victoria MW/year | 35.9274 | Note the 1.5 multiple reflects that a limited rollout would target regions with high peak to average demand | [5 empty] | Total peak demand from these households outside Victoria | 27.9435 | [6 empty] | Total peak demand from these households outside Victoria | 31.9355
Price ratio (after/before) | 8 | As per the SP Ausnet strategic pricing trial
3.4926
Year | Transition costs of meters | DM Savings | Operating costs | Operating savings | Discount factor | Discounted costs | Discounted benefits | Year | Transition costs of meters | DM Savings | Operating costs | Operating savings | Discount factor | Discounted costs | Discounted benefits | Year | Transition costs of meters | DM Savings | Operating costs | Operating savings | Discount factor | Discounted costs | Discounted benefits
0 | -2700000 | 665820.1732 | -200000 | 0 | 0.96225 | -2790526.3011 | 640685.7604 | 0 | -8000000 | 203312.5777 | -300000 | 0 | 0.96225 | -7986678.7238 | 195637.6192 | 0 | -5350000 | 398861.1626 | -250000 | 0 | 0.96225 | -5388602.5124 | 383804.3327
1 | 0 | 1331640.3464 | -200000 | 0 | 0.89097 | -178194.5275 | 1186455.1118 | 1 | 0 | 406625.1555 | -300000 | 0 | 0.89097 | -267291.7913 | 362291.8873 | 1 | 0 | 797722.3252 | -250000 | 0 | 0.89097 | -222743.1594 | 710748.7642
2 | 0 | 1997460.5195 | -200000 | 650000 | 0.82497 | -164994.9329 | 2184087.8538 | 2 | 0 | 609937.7332 | -300000 | 500000 | 0.82497 | -247492.3993 | 915670.5091 | 2 | 0 | 1196583.4878 | -250000 | 575000 | 0.82497 | -206243.6661 | 1461511.4934
3 | 0 | 2663280.6927 | -200000 | 650000 | 0.76387 | -152773.086 | 2530900.5813 | 3 | 0 | 813250.311 | -300000 | 500000 | 0.76387 | -229159.629 | 1003146.5136 | 3 | 0 | 1595444.6504 | -250000 | 575000 | 0.76387 | -190966.3575 | 1657927.6363
4 | 0 | 3329100.8659 | -200000 | 650000 | 0.70728 | -141456.5611 | 2814349.6243 | 4 | 0 | 1016562.8887 | -300000 | 500000 | 0.70728 | -212184.8417 | 1072638.8549 | 4 | 0 | 1994305.813 | -250000 | 575000 | 0.70728 | -176820.7014 | 1817225.8239
5 | 0 | 3994921.0391 | -200000 | 650000 | 0.65489 | -130978.2973 | 3041919.2448 | 5 | 0 | 1219875.4665 | -300000 | 500000 | 0.65489 | -196467.446 | 1126331.8012 | 5 | 0 | 2393166.9756 | -250000 | 575000 | 0.65489 | -163722.8717 | 1943827.2834
6 | 0 | 4660741.2123 | -200000 | 650000 | 0.60638 | -121276.2012 | 3220332.5999 | 6 | 0 | 1423188.0442 | -300000 | 500000 | 0.60638 | -181914.3019 | 1166184.7014 | 6 | 0 | 2792028.1382 | -250000 | 575000 | 0.60638 | -151595.2515 | 2041701.9103
7 | -1000000 | 4660741.2123 | -200000 | 650000 | 0.56146 | -673756.6735 | 2981789.4444 | 7 | -1500000 | 1423188.0442 | -300000 | 500000 | 0.56146 | -1010635.0103 | 1079800.6494 | 7 | -1250000 | 2792028.1382 | -250000 | 575000 | 0.56146 | -842195.8419 | 1890464.7318
8 | 0 | 4660741.2123 | -200000 | 650000 | 0.51987 | -103974.7953 | 2760916.1522 | 8 | 0 | 1423188.0442 | -300000 | 500000 | 0.51987 | -155962.193 | 999815.4161 | 8 | 0 | 2792028.1382 | -250000 | 575000 | 0.51987 | -129968.4941 | 1750430.3072
9 | 0 | 4660741.2123 | -200000 | 650000 | 0.48136 | -96272.9586 | 2556403.8446 | 9 | 0 | 1423188.0442 | -300000 | 500000 | 0.48136 | -144409.4379 | 925755.0149 | 9 | 0 | 2792028.1382 | -250000 | 575000 | 0.48136 | -120341.1983 | 1620768.803
10 | 0 | 4660741.2123 | -200000 | 650000 | 0.44571 | -89141.6283 | 2367040.5969 | 10 | 0 | 1423188.0442 | -300000 | 500000 | 0.44571 | -133712.4425 | 857180.5694 | 10 | 0 | 2792028.1382 | -250000 | 575000 | 0.44571 | -111427.0354 | 1500711.8546
11 | 0 | 4660741.2123 | -200000 | 650000 | 0.41269 | -82538.5448 | 2191704.2564 | 11 | 0 | 1423188.0442 | -300000 | 500000 | 0.41269 | -123807.8171 | 793685.7124 | 11 | 0 | 2792028.1382 | -250000 | 575000 | 0.41269 | -103173.181 | 1389548.0135
12 | 0 | 4660741.2123 | -200000 | 650000 | 0.38212 | -76424.5785 | 2029355.7929 | 12 | 0 | 1423188.0442 | -300000 | 500000 | 0.38212 | -114636.8677 | 734894.1781 | 12 | 0 | 2792028.1382 | -250000 | 575000 | 0.38212 | -95530.7231 | 1286618.531
13 | 0 | 4660741.2123 | -200000 | 650000 | 0.35382 | -70763.4986 | 1879033.1416 | 13 | 0 | 1423188.0442 | -300000 | 500000 | 0.35382 | -106145.2479 | 680457.5724 | 13 | 0 | 2792028.1382 | -250000 | 575000 | 0.35382 | -88454.3732 | 1191313.4547
14 | 0 | 4660741.2123 | -200000 | 650000 | 0.32761 | -65521.758 | 1739845.5015 | 14 | 0 | 1423188.0442 | -300000 | 500000 | 0.32761 | -98282.6369 | 630053.3077 | 14 | 0 | 2792028.1382 | -250000 | 575000 | 0.32761 | -81902.1974 | 1103068.0136
|  | 34.0246 |  |  |  | Costs | -4938594.3428 | [6 empty] | Costs | -11208780.7864 | [6 empty] | Costs | -8073687.5646
[6 empty] | Benefits | 34124819.5069 | [6 empty] | Benefits | 12543544.307 | [6 empty] | Benefits | 21749670.9536
[6 empty] | Net benefit | 29186225.164 | [6 empty] | Net benefit | 1334763.5206 | [6 empty] | Net benefit | 13675983.389
[6 empty] | Benefit-Cost Ratio | 6.9098 | [6 empty] | Benefit-Cost Ratio | 1.1191 | [6 empty] | Benefit-Cost Ratio | 2.6939
Summary
| Units | low | mid-point | high
Smart meters | number | 10000 | 10000 | 10000
Relevant critical peak demand | MWh | 27.9435 | 31.9355 | 35.9274
Up front cost | $ per appliance | 800 | 535 | 270
Refresh cost | $ per appliance | 150 | 125 | 100
Cost profile | Install costs all occur up front. IT refresh after 7 years.
Annual cost | $ per appliance per year | 30 | 25 | 20
Value of demand management savings (network/generation) | $/kW per year | 271.2729 | 326.2729 | 381.2729
Maximum demand management response | % of relevant critical peak demand | 18.7748 | 26.7957 | 34.0246
Demand management savings profile | No demand response in first year. Maximum demand response in year 7 and subsequently sustained. Linear increase between years 2 to 7..
Discount rate | per cent | 8 | 8 | 8
Discounted costs | $ Million (npv) | 11.2088 | 8.0737 | 4.9386
Discounted benefits | $ Million (npv) | 12.5435 | 21.7497 | 34.1248
Net benefit | $ Million (npv) | 1.3348 | 13.676 | 29.1862
Net benefit per household | $ (npv) | 130 | 1370 | 2920
Benefit cost ratio | ratio | 1.1191 | 2.6939 | 6.9098
Annuity in savings per household over 15 year period | $ | 14.6145 | 154.0144 | 328.2643
|  |  | 25 percentage points percentile | 75 percentage points percentile
25 and 75% percentiles NPV per household |  |  | 880.3634 | 1888.87
25 and 75% percentiles annuity per household (rounded to nearest 50) |  |  | 100 | 200
This is used to determine alpha such that it is the median between the high and low values
Inverse beta 50% probability | 1370.0001
Inverse beta 75% probability | 1888.87
alpha | 1.6609
beta | 2
error from deviation of inverse beta from the median value of the net benefit per household (Use goal seek to set error to zero by changing alpha) | 1.8397e-08
There is an initial investment in smart meters in year 0 and an upgrade in year 7
Note on B3: The results are normalised by setting the number of machines in any given region to 10,000 meters (ie the absolute dollar values represent the outcomes per 10,000 households. As such, the normalisation does not affect benefits per household or the benefit cost ratio. If a region is larger, its absolute benefits can be estimated by multiplying the results for 10,000 people by the ratio of the actual population to 10000 (or by entering the relevant number of smart meters in this cell).
Note on B4: Assumed that the sequential rollouts choose areas with peakier customers since these will produce greater dividends. Hence the average shown in the NEM is increased by 50%
Note on C28: % max demand management response

## (2) NEM phase in
Max | National smart meter rollout (phased) with critical peak pricing |  |  |  | Back to the Contents of this spreadsheet |  |  |  | Min | [7 empty] | Middle
# meters | 6200000 | Phase in years | 5 | [8 empty] | -37200000
Total peak demand from these households outside Victoria | 14850 | Before-after price ratio | 8 | [5 empty] | # meters | 6200000 | [6 empty] | # meters | 6200000
Value of network and generation savings $/kW/year | 381.2729 | [7 empty] | Total peak demand from these households outside Victoria | 11550 | [6 empty] | Total peak demand from these households outside Victoria | 13200
[9 empty] | Value of network savings $/kW/year | 271.2729 | [6 empty] | Value of network savings $/kW/year | 326.2729
Year | Transition costs of meters | DM Savings | Operating costs | Operating savings | Discount factor | Discounted costs | Discounted benefits | Net cumulative benefits | Year | Transition costs of meters | DM Savings | Operating costs | Operating savings | Discount factor | Discounted costs | Discounted benefits | Year | Transition costs of meters | DM Savings | Operating costs | Operating savings | Discount factor | Discounted costs | Discounted benefits
0 | -334800000 | 619087.4315 | -24800000 | 0 | 0.96225 | -346025261.3343 | 595717.1587 | -345429544.1756 | 0 | -992000000 | 189042.4271 | -37200000 | 0 | 0.96225 | -990348161.7499 | 181906.1603 | 0 | -663400000 | 370865.8023 | -31000000 | 0 | 0.96225 | -668186711.5421 | 356865.7846
1 | -334800000 | 5813162.0837 | -49600000 | 0 | 0.89097 | -342489881.9082 | 5179368.3548 | -682740057.729 | 1 | -992000000 | 1775087.352 | -74400000 | 0 | 0.89097 | -950133220.7775 | 1581554.26 | 1 | -663400000 | 3482388.6096 | -62000000 | 0 | 0.89097 | -646311551.3428 | 3102712.9647
2 | -334800000 | 19915638.9853 | -74400000 | 80600000 | 0.82497 | -337579632.7052 | 82922855.5469 | -937396834.8873 | 2 | -992000000 | 6081371.6116 | -111600000 | 62000000 | 0.82497 | -910442039.72 | 56165406.7026 | 2 | -663400000 | 11930511.0292 | -93000000 | 71300000 | 0.82497 | -624010836.2126 | 68663062.9108
3 | -334800000 | 49207424.9988 | -99200000 | 161200000 | 0.76387 | -331517596.6521 | 160722958.1875 | -1108191473.352 | 3 | -992000000 | 15025811.5087 | -148800000 | 124000000 | 0.76387 | -871417682.6284 | 106197011.2995 | 3 | -663400000 | 29477825.296 | -124000000 | 142600000 | 0.76387 | -601467639.6403 | 131444302.0259
4 | -334800000 | 101241238.4201 | -124000000 | 241800000 | 0.70728 | -324501351.2203 | 242627169.5545 | -1190065655.0178 | 4 | -992000000 | 30914679.3486 | -186000000 | 186000000 | 0.70728 | -833179145.0252 | 153420022.9907 | 4 | -663400000 | 60648805.3169 | -155000000 | 213900000 | 0.70728 | -578840248.1227 | 194183649.3053
5 |  | 182795418.4759 | -124000000 | 322400000 | 0.65489 | -81206544.3494 | 330848178.6741 | -940424020.693 | 5 |  | 55817785.6845 | -186000000 | 248000000 | 0.65489 | -121809816.5241 | 198967681.3495 | 5 |  | 109504031.3708 | -155000000 | 285200000 | 0.65489 | -101508180.4368 | 258488309.9065
6 |  | 295554015.2755 | -124000000 | 403000000 | 0.60638 | -75191244.768 | 423589886.6632 | -592025378.7978 | 6 |  | 90249366.3156 | -186000000 | 310000000 | 0.60638 | -112786867.152 | 242703613.4748 | 6 |  | 177052337.6917 | -155000000 | 356500000 | 0.60638 | -93989055.96 | 323536003.3864
7 | -124000000 | 437998094.1619 | -124000000 | 403000000 | 0.56146 | -139243045.8667 | 472190065.3191 | -259078359.3453 | 7 | -186000000 | 133745604.5343 | -186000000 | 310000000 | 0.56146 | -208864568.8 | 249147135.3439 | 7 | -155000000 | 262383802.851 | -155000000 | 356500000 | 0.56146 | -174053807.3333 | 347480910.2682
8 | -124000000 | 603651452.4614 | -124000000 | 403000000 | 0.51987 | -128928746.1728 | 523331893.544 | 135324788.0258 | 8 | -186000000 | 184328949.1749 | -186000000 | 310000000 | 0.51987 | -193393119.2592 | 256988756.5083 | 8 | -155000000 | 361618842.1925 | -155000000 | 356500000 | 0.51987 | -161160932.716 | 373331298.0926
9 | -124000000 | 782315984.4409 | -124000000 | 403000000 | 0.48136 | -119378468.6785 | 570569383.5595 | 586515702.9068 | 9 | -186000000 | 238885341.4445 | -186000000 | 310000000 | 0.48136 | -179067703.0178 | 264214078.7974 | 9 | -155000000 | 468648256.1563 | -155000000 | 356500000 | 0.48136 | -149223085.8482 | 397197319.5673
10 | -124000000 | 962406131.5141 | -124000000 | 403000000 | 0.44571 | -110535619.1468 | 608572629.5716 | 1084552713.3316 | 10 | -186000000 | 293877054.678 | -186000000 | 310000000 | 0.44571 | -165803428.7202 | 269152919.8685 | 10 | -155000000 | 576531688.2417 | -155000000 | 356500000 | 0.44571 | -138169523.9335 | 415859819.933
11 | -124000000 | 1133440253.799 | -124000000 | 403000000 | 0.41269 | -102347795.5063 | 634077713.3204 | 1616282631.1457 | 11 | -186000000 | 346103451.0617 | -186000000 | 310000000 | 0.41269 | -153521693.2594 | 270769120.3235 | 11 | -155000000 | 678990087.0808 | -155000000 | 356500000 | 0.41269 | -127934744.3829 | 427339224.5215
12 |  | 1287780130.6009 | -124000000 | 403000000 | 0.38212 | -47383238.6603 | 646085793.9548 | 2214985186.4401 | 12 |  | 393232149.5692 | -186000000 | 310000000 | 0.38212 | -71074857.9905 | 268721103.0375 | 12 |  | 771447758.3506 | -155000000 | 356500000 | 0.38212 | -59229048.3254 | 431014659.9218
13 |  | 1421224992.0773 | -124000000 | 403000000 | 0.35382 | -43873369.1299 | 645442713.3342 | 2816554530.6445 | 13 |  | 433980417.4454 | -186000000 | 310000000 | 0.35382 | -65810053.6949 | 263233286.1292 | 13 |  | 851388220.859 | -155000000 | 356500000 | 0.35382 | -54841711.4124 | 427371982.1084
14 |  | 1532642979.7746 | -124000000 | 403000000 | 0.32761 | -40623489.9351 | 634133654.0876 | 3410064694.7969 | 14 |  | 468002634.2523 | -186000000 | 310000000 | 0.32761 | -60935234.9027 | 254880501.4681 | 14 |  | 918133432.1001 | -155000000 | 356500000 | 0.32761 | -50779362.4189 | 417581116.1281
15 |  | 1270379565.2141 | -99200000 | 322400000 | 0.30334 | -30091474.026 | 483156097.9416 | 3863129318.7125 | 15 |  | 387918772.2557 | -148800000 | 248000000 | 0.30334 | -45137211.039 | 192900536.4716 | 15 |  | 761023908.1585 | -124000000 | 285200000 | 0.30334 | -37614342.5325 | 317363100.3805
16 |  | 981392771.4775 | -74400000 | 241800000 | 0.28087 | -20896856.9625 | 343560273.9669 | 4185792735.7169 | 16 |  | 299674750.316 | -111600000 | 186000000 | 0.28087 | -31345285.4438 | 136412308.9739 | 16 |  | 587905680.1913 | -93000000 | 213900000 | 0.28087 | -26121071.2031 | 225204551.2189
17 |  | 670506338.8876 | -49600000 | 161200000 | 0.26007 | -12899294.4213 | 216298889.8664 | 4389192331.162 | 17 |  | 204743529.3302 | -74400000 | 124000000 | 0.26007 | -19348941.632 | 85495152.7002 | 17 |  | 401668421.3425 | -62000000 | 142600000 | 0.26007 | -16124118.0266 | 141545939.7402
18 |  | 342116333.0981 | -24800000 | 80600000 | 0.2408 | -5971895.5654 | 101791040.1233 | 4485011475.7199 | 18 |  | 104467476.9164 | -37200000 | 62000000 | 0.2408 | -8957843.3481 | 40085741.4187 | 18 |  | 204945605.2257 | -31000000 | 71300000 | 0.2408 | -7464869.4568 | 66520560.678
[17 empty] | 19 |  |  |  |  | 0.96225 | 0 | 0
[7 empty] | Costs | -2640684807.0092 | [6 empty] | Costs | -5993376874.6847 | [6 empty] | Costs | -4317030840.847
[7 empty] | Benefits | 7125696282.7291 | [6 empty] | Benefits | 3311217837.278 | [6 empty] | Benefits | 4967585388.8427
[7 empty] | Net benefit | 4485011475.7199 | [6 empty] | Net benefit | -2682159037.4067 | [6 empty] | Net benefit | 650554547.9957
[7 empty] | Benefit-Cost Ratio | 2.6984 | [6 empty] | Benefit-Cost Ratio | 0.55248 | [6 empty] | Benefit-Cost Ratio | 1.1507
Summary
| Units | low | mid-point | high
Smart meters | number | 6200000 | 6200000 | 6200000
Relevant critical peak demand | MWh | 11550 | 13200 | 14850
Up front cost | $ per appliance | 800 | 535 | 270
Refresh cost | $ per appliance | 150 | 125 | 100
Cost profile | Smart meters phased in over five years (1.24 million per year). Refresh of IT components 7 years after installation
Annual cost | $ per appliance per year | 30 | 25 | 20
Value of demand management savings (network/generation) | $/kW per year | 271.2729 | 326.2729 | 381.2729
Maximum demand management response | % of relevant critical peak demand | 18.7748 | 26.7957 | 34.0246
Demand management savings profile | No demand management savings for first two years after rollout. Maximum savings achieved 15 years after rollout for each meter. Linear transition path from 2nd to 15th years
Discount rate | per cent | 8 | 8 | 8
Discounted costs | $ Million (npv) | 5993.3769 | 4317.0308 | 2640.6848
Discounted benefits | $ Million (npv) | 3311.2178 | 4967.5854 | 7125.6963
Net benefit | $ Million (npv) | -2682.159 | 650.5545 | 4485.0115
PV of Net benefit per household | $ (npv) | -432.6063 | 104.9282 | 723.3889
Benefit cost ratio | ratio | 0.55248 | 1.1507 | 2.6984
Annuity in savings per household over 15 year period | $ | -48.6333 | 11.7959 | 81.3229
|  |  | 25 percentage points percentile | 75 percentage points percentile
25 and 75% percentiles NPV per household |  |  | -97.6885 | 314.9148
25 and 75% percentiles annuity per household (rounded to nearest 5) |  |  | -10 | 35
This is used to determine alpha such that it is the median between the high and low values
Inverse beta 50% probability | 104.9282
Inverse beta 75% probability | 314.9148
alpha | 1.7783
beta | 2
error from deviation of inverse beta from the median value of the net benefit per household (Use goal seek to set error to zero by changing alpha) | 6.8363e-10
The DM savings, operating costs and savings increase over time until the whole stock of meters are deployed, and then decays over time. This is because the experiment relates to the benefits and costs of rolling out one full tranche of meters, and not the successive benefits and costs of replacing them. In any real world rollout, as meters died at 15 years, they would be replaced. This would involve a new set of costs for investment and operating expenses, and a new set of demand and operating cost savings. In successive 19 year periods, the demand management benefits would be realised immediately given that consumers' demand responses would be stable at that time (and supported by the diffusion of technology). Accordingly, a long-run model would produce bigger net benefits than those shown here. On the other hand, discounting reduces the impact of this effect,. Therefore, the long-run scenario is probably close to a multiple of the one-off scenario shown here and little is lost in adopting a finite horizon model, which has the benefit of being far more tractable numerically.
The reason for low demand response in the initial years reflects t (a) the factors described in the worksheet labelled "One-off" and (b) that the meter rollout is staged over five years. The outcomes in the first year (shown as t=0) relate to the outcomes occurring between t=0 and t=1. Altogether, the model results relate to 19 periods because the last tranche of meter rollouts occurs between years 4 and 5, with this tranche finally fully depreciated by the period between years 18 and 19 (shown as year = 18).
Note on E6: No operational savings in first two years as need sufficient penetration in any given area to realise benefits on the operational side

## (3) NEM phase TOU
Max | National smart meter rollout (phased) with poorly targeted time of use tariffs only |  |  |  |  | Back to the Contents of this spreadsheet |  | Min | [7 empty] | Middle
Phase in years | 5
Year | Transition costs of meters | DM Savings | Operating costs | Operating savings | Discount factor | Discounted costs | Discounted benefits | Year | Transition costs of meters | DM Savings | Operating costs | Operating savings | Discount factor | Discounted costs | Discounted benefits | Year | Transition costs of meters | DM Savings | Operating costs | Operating savings | Discount factor | Discounted costs | Discounted benefits
0 | -334800000 | 61908.7432 | -24800000 | 0 | 0.96225 | -346025261.3343 | 59571.7159 | 0 | -992000000 | 18904.2427 | -37200000 | 0 | 0.96225 | -990348161.7499 | 18190.616 | 0 | -663400000 | 37086.5802 | -31000000 | 0 | 0.96225 | -668186711.5421 | 35686.5785
1 | -334800000 | 581316.2084 | -49600000 | 0 | 0.89097 | -342489881.9082 | 517936.8355 | 1 | -992000000 | 177508.7352 | -74400000 | 0 | 0.89097 | -950133220.7775 | 158155.426 | 1 | -663400000 | 348238.861 | -62000000 | 0 | 0.89097 | -646311551.3428 | 310271.2965
2 | -334800000 | 1991563.8985 | -74400000 |  | 0.82497 | -337579632.7052 | 1642989.759 | 2 | -992000000 | 608137.1612 | -111600000 | 62000000 | 0.82497 | -910442039.72 | 51650126.9482 | 2 | -663400000 | 1193051.1029 | -93000000 | 71300000 | 0.82497 | -624010836.2126 | 59804930.5108
3 | -334800000 | 4920742.4999 | -99200000 | 161200000 | 0.76387 | -331517596.6521 | 126893892.4139 | 3 | -992000000 | 1502581.1509 | -148800000 | 124000000 | 0.76387 | -871417682.6284 | 95867083.1262 | 3 | -663400000 | 2947782.5296 | -124000000 | 142600000 | 0.76387 | -601467639.6403 | 111178919.4983
4 | -334800000 | 10124123.842 | -124000000 | 241800000 | 0.70728 | -324501351.2203 | 178181601.1154 | 4 | -992000000 | 3091467.9349 | -186000000 | 186000000 | 0.70728 | -833179145.0252 | 133741143.9605 | 4 | -663400000 | 6064880.5317 | -155000000 | 213900000 | 0.70728 | -578840248.1227 | 155577377.8412
5 | 0 | 18279541.8476 | -124000000 | 322400000 | 0.65489 | -81206544.3494 | 223108131.6451 | 5 | 0 | 5581778.5685 | -186000000 | 248000000 | 0.65489 | -121809816.5241 | 166068547.9639 | 5 | 0 | 10950403.1371 | -155000000 | 285200000 | 0.65489 | -101508180.4368 | 193946377.794
6 | 0 | 29555401.5275 | -124000000 | 403000000 | 0.60638 | -75191244.768 | 262293379.6127 | 6 | 0 | 9024936.6316 | -186000000 | 310000000 | 0.60638 | -112786867.152 | 193450662.0755 | 6 | 0 | 17705233.7692 | -155000000 | 356500000 | 0.60638 | -93989055.96 | 226910946.1758
7 | -124000000 | 43799809.4162 | -124000000 | 403000000 | 0.56146 | -139243045.8667 | 250861961.1119 | 7 | -186000000 | 13374560.4534 | -186000000 | 310000000 | 0.56146 | -208864568.8 | 181563140.1344 | 7 | -155000000 | 26238380.2851 | -155000000 | 356500000 | 0.56146 | -174053807.3333 | 214893781.6168
8 | -124000000 | 60365145.2461 | -124000000 | 403000000 | 0.51987 | -128928746.1728 | 240891480.6322 | 8 | -186000000 | 18432894.9175 | -186000000 | 310000000 | 0.51987 | -193393119.2592 | 170743715.0953 | 8 | -155000000 | 36161884.2193 | -155000000 | 356500000 | 0.51987 | -161160932.716 | 204134695.1704
9 | -124000000 | 78231598.4441 | -124000000 | 403000000 | 0.48136 | -119378468.6785 | 231647948.7983 | 9 | -186000000 | 23888534.1445 | -186000000 | 310000000 | 0.48136 | -179067703.0178 | 160722185.1431 | 9 | -155000000 | 46864825.6156 | -155000000 | 356500000 | 0.48136 | -149223085.8482 | 194165625.8096
10 | -124000000 | 96240613.1514 | -124000000 | 403000000 | 0.44571 | -110535619.1468 | 222515605.9593 | 10 | -186000000 | 29387705.4678 | -186000000 | 310000000 | 0.44571 | -165803428.7202 | 151267863.527 | 10 | -155000000 | 57653168.8242 | -155000000 | 356500000 | 0.44571 | -138169523.9335 | 184591439.2645
11 | -124000000 | 113344025.3799 | -124000000 | 403000000 | 0.41269 | -102347795.5063 | 213091422.26 | 11 | -186000000 | 34610345.1062 | -186000000 | 310000000 | 0.41269 | -153521693.2594 | 142218181.9769 | 11 | -155000000 | 67899008.7081 | -155000000 | 356500000 | 0.41269 | -127934744.3829 | 175146382.8884
12 | 0 | 128778013.0601 | -124000000 | 403000000 | 0.38212 | -47383238.6603 | 203204552.4769 | 12 | 0 | 39323214.9569 | -186000000 | 310000000 | 0.38212 | -71074857.9905 | 133484397.2895 | 12 | 0 | 77144775.8351 | -155000000 | 356500000 | 0.38212 | -59229048.3254 | 165705596.0258
13 | 0 | 142122499.2077 | -124000000 | 403000000 | 0.35382 | -43873369.1299 | 192873876.0385 | 13 | 0 | 43398041.7445 | -186000000 | 310000000 | 0.35382 | -65810053.6949 | 125038409.1553 | 13 | 0 | 85138822.0859 | -155000000 | 356500000 | 0.35382 | -54841711.4124 | 156259540.8345
14 | 0 | 153264297.9775 | -124000000 | 403000000 | 0.32761 | -40623489.9351 | 182237073.469 | 14 | 0 | 46800263.4252 | -186000000 | 310000000 | 0.32761 | -60935234.9027 | 116890902.5008 | 14 | 0 | 91813343.21 | -155000000 | 356500000 | 0.32761 | -50779362.4189 | 146871391.8199
15 | 0 | 127037956.5214 | -99200000 | 322400000 | 0.30334 | -30091474.026 | 136333171.3202 | 15 | 0 | 38791877.2256 | -148800000 | 248000000 | 0.30334 | -45137211.039 | 86995870.2057 | 15 | 0 | 76102390.8159 | -124000000 | 285200000 | 0.30334 | -37614342.5325 | 109597999.0804
16 |  | 98139277.1477 | -74400000 | 241800000 | 0.28087 | -20896856.9625 | 95479334.012 | 16 |  | 29967475.0316 | -111600000 | 186000000 | 0.28087 | -31345285.4438 | 60659159.063 | 16 |  | 58790568.0191 | -93000000 | 213900000 | 0.28087 | -26121071.2031 | 76591072.5124
17 |  | 67050633.8888 | -49600000 | 161200000 | 0.26007 | -12899294.4213 | 59360325.1689 | 17 |  | 20474352.933 | -74400000 | 124000000 | 0.26007 | -19348941.632 | 37572927.7179 | 17 |  | 40166842.1342 | -62000000 | 142600000 | 0.26007 | -16124118.0266 | 47531518.2891
18 |  | 34211633.3098 | -24800000 | 80600000 | 0.2408 | -5971895.5654 | 27646898.5412 | 18 |  | 10446747.6916 | -37200000 | 62000000 | 0.2408 | -8957843.3481 | 17445339.1641 | 18 |  | 20494560.5226 | -31000000 | 71300000 | 0.2408 | -7464869.4568 | 22104335.8433
0
[6 empty] | Costs | -2640684807.0092 | [6 empty] | Costs | -5993376874.6847 | [6 empty] | Costs | -4317030840.847
[6 empty] | Benefits | 2848841152.8858 | [6 empty] | Benefits | 2025556001.0893 | [6 empty] | Benefits | 2445357888.85
[6 empty] | Net benefit | 208156345.8766 | [6 empty] | Net benefit | -3967820873.5954 | [6 empty] | Net benefit | -1871672951.997
[6 empty] | Benefit-Cost Ratio | 1.0788 | [6 empty] | Benefit-Cost Ratio | 0.33797 | [6 empty] | Benefit-Cost Ratio | 0.56644
Summary
| Units | low | mid-point | high
Direct load control devices | million | 6200000 | 6200000 | 6200000
Relevant critical peak demand | MWh | 11550 | 13200 | 14850
Up front cost | $ per appliance | 800 | 535 | 270
Refresh cost | $ per appliance | 150 | 125 | 100
Cost profile | Smart meters phased in over five years (1.24 million per year). Refresh of IT components 7 years after installation
Annual cost | $ per appliance per year | 30 | 25 | 20
Value of demand management savings (network/generation) | $/kW per year | 271.2729 | 326.2729 | 381.2729
Maximum demand management response | % of relevant critical peak demand | 1.8775 | 2.6796 | 3.4025
Demand management savings profile | No demand management savings for first two years after rollout. Maximum savings achieved 15 years after rollout for each meter. Linear transition path from 2nd to 15th years.
Discount rate | per cent | 8 | 8 | 8
Discounted costs | $ Million (npv) | 5993.3769 | 4317.0308 | 2640.6848
Discounted benefits | $ Million (npv) | 2025.556 | 2445.3579 | 2848.8412
Net benefit | $ Million (npv) | -3967.8209 | -1871.673 | 208.1563
Net benefit per household | $ (npv) | -639.9711 | -301.8827 | 33.5736
Benefit cost ratio | ratio | 0.33797 | 0.56644 | 1.0788
Annuity in savings per household over 15 year period | $ | -71.9451 | -33.9374 | 3.7743
|  |  | 25 percentage points percentile | 75 percentage points percentile
25 and 75% percentiles NPV per household |  |  | -418.7508 | -185.2389
25 and 75% percentiles annuity per household (rounded to nearest 5) |  |  | -45 | -20
This is used to determine alpha such that it is the median between the high and low values
Inverse beta 50% probability | -301.8827
Inverse beta 75% probability | 23.3164
alpha | 2.0133
beta | 2
error from deviation of inverse beta from the median value of the net benefit per household (Use goal seek to set error to zero by changing alpha) | 1.5327e-15

## (4) NEM DLC no SM
Max | Direct load control in the absence of smart meters |  |  |  | Back to the Contents of this spreadsheet |  |  |  |  | Min | [8 empty] | Middle
Number of DLC devices | 1240000 | [8 empty] | # DLC devices | 124000 | [7 empty] | # DLC devices | 310000
Total peak demand from these households outside Victoria MW/year | 4455 | [8 empty] | Total peak demand from these households outside Victoria who participate in DLC scheme mVA/year | 346.5 | [7 empty] | Total peak demand from these households outside Victoria mVA/year | 990
[10 empty] | Maximum demand reduction % | 15 | [7 empty] | Number of participation payments | 3
|  | Need to take account of changing participation | [7 empty] | Number of participation payments | 3
[10 empty] | -360 | 124000
Year | Participation rates in scheme | New participants | Transition costs of DLC | DM Savings | Operating costs | Discount factor | Discounted costs | Discounted benefits | Recruitment effect all scenarios | Year | Participation rates in scheme | New participants | Transition costs of DLC | DM Savings | Operating costs | Discount factor | Discounted costs | Discounted benefits | Year | Participation rates in scheme | New participants | Transition costs of DLC | DM Savings | Operating costs | Discount factor | Discounted costs | Discounted benefits
0 | 0.04 | 248000 | -47120000 | 84928527.3805 | -6200000 | 0.96225 | -51307193.922 | 81722513.5751 | 0.2 | 0 | 0.004 | 24800 | -8928000 | 2819881.2778 | -3100000 | 0.96225 | -11573948.3964 | 2713432.0247 | 0 | 0.01 | 62000 | -17050000 | 12920404.8677 | -7750000 | 0.96225 | -23863811.1265 | 12432665.3806
1 | 0.08 | 248000 | -54560000 | 169857054.7611 | -12400000 | 0.89097 | -59659527.8163 | 151337988.102 | 0.4 | 1 | 0.008 | 24800 | -11408000 | 5639762.5555 | -3100000 | 0.89097 | -12926231.0269 | 5024874.1197 | 1 | 0.02 | 62000 | -21080000 | 25840809.7353 | -7750000 | 0.89097 | -25686741.1431 | 23023454.4086
2 | 0.12 | 248000 | -62000000 | 254785582.1416 | -18600000 | 0.82497 | -66492957.9571 | 210191650.1416 | 0.6 | 2 | 0.012 | 24800 | -13888000 | 8459643.8333 | -3100000 | 0.82497 | -14014669.6002 | 6978991.833 | 2 | 0.03 | 62000 | -25110000 | 38761214.603 | -7750000 | 0.82497 | -27108667.4748 | 31977020.0119
3 | 0.16 | 248000 | -62000000 | 339714109.5222 | -24800000 | 0.76387 | -66303519.3304 | 259495864.3723 | 0.8 | 3 | 0.016 | 24800 | -13888000 | 11279525.111 | -3100000 | 0.76387 | -12976545.9261 | 8616039.3 | 3 | 0.04 | 62000 | -25110000 | 51681619.4706 | -7750000 | 0.76387 | -25100618.0322 | 39477802.4838
4 | 0.18 | 124000 | -38440000 | 382178373.2124 | -27900000 | 0.70728 | -46921141.3251 | 270308192.0545 | 0.9 | 4 | 0.018 | 12400 | -6200000 | 12689465.7499 | -3100000 | 0.70728 | -6577730.0923 | 8975040.9375 | 4 | 0.045 | 31000 | -10075000 | 58141821.9044 | -7750000 | 0.70728 | -12607316.0102 | 41122710.9207
5 | 0.2 | 124000 | -34720000 | 424642636.9027 | -31000000 | 0.65489 | -43039468.5052 | 278094847.7927 | 1 | 5 | 0.02 | 12400 | -4960000 | 14099406.3888 | -3100000 | 0.65489 | -5278425.3827 | 9233581.2114 | 5 | 0.05 | 31000 | -8060000 | 64602024.3383 | -7750000 | 0.65489 | -10353834.4046 | 42307315.762
6 | 0.19 |  | -7440000 | 403410505.0576 | -29450000 | 0.60638 | -22369395.3185 | 244620467.9658 | 0.95 | 6 | 0.019 |  | -2480000 | 13394436.0694 | -3100000 | 0.60638 | -3383606.0146 | 8122131.6211 | 6 | 0.0475 |  | -4030000 | 61371923.1213 | -7750000 | 0.60638 | -7143168.253 | 37214768.4943
7 | 0.18 |  | -3720000 | 382178373.2124 | -27900000 | 0.56146 | -17753488.348 | 214579357.8648 | 0.9 | 7 | 0.018 |  | -1240000 | 12689465.7499 | -3100000 | 0.56146 | -2436753.3027 | 7124676.8606 | 7 | 0.045 |  | -2015000 | 58141821.9044 | -7750000 | 0.56146 | -5482694.931 | 32644533.767
8 | 0.17 |  | 0 | 360946241.3673 | -26350000 | 0.51987 | -13698679.2809 | 187646557.8035 | 0.85 | 8 | 0.017 |  | 0 | 11984495.4305 | -3100000 | 0.51987 | -1611609.3272 | 6230427.2958 | 8 | 0.0425 |  | 0 | 54911720.6875 | -7750000 | 0.51987 | -4029023.3179 | 28547174.5905
9 | 0.17 |  | 0 | 360946241.3673 | -26350000 | 0.48136 | -12683962.2971 | 173746812.7811 | 0.85 | 9 | 0.017 |  | 0 | 11984495.4305 | -3100000 | 0.48136 | -1492230.8585 | 5768914.1628 | 9 | 0.0425 |  | 0 | 54911720.6875 | -7750000 | 0.48136 | -3730577.1462 | 26432569.0652
10 | 0.17 |  | 0 | 360946241.3673 | -26350000 | 0.44571 | -11744409.5343 | 160876678.501 | 0.85 | 10 | 0.017 |  | 0 | 11984495.4305 | -3100000 | 0.44571 | -1381695.2393 | 5341587.1878 | 10 | 0.0425 |  | 0 | 54911720.6875 | -7750000 | 0.44571 | -3454238.0983 | 24474600.9863
11 | 0.17 |  | 0 | 360946241.3673 | -26350000 | 0.41269 | -10874453.2725 | 148959887.5009 | 0.85 | 11 | 0.017 |  | 0 | 11984495.4305 | -3100000 | 0.41269 | -1279347.4438 | 4945914.0628 | 11 | 0.0425 |  | 0 | 54911720.6875 | -7750000 | 0.41269 | -3198368.6096 | 22661667.5799
12 | 0.17 |  | 0 | 360946241.3673 | -26350000 | 0.38212 | -10068938.2153 | 137925821.7601 | 0.85 | 12 | 0.017 |  | 0 | 11984495.4305 | -3100000 | 0.38212 | -1184580.9665 | 4579550.0581 | 12 | 0.0425 |  | 0 | 54911720.6875 | -7750000 | 0.38212 | -2961452.4163 | 20983025.537
13 | 0.17 |  | 0 | 360946241.3673 | -26350000 | 0.35382 | -9323090.9401 | 127709094.2223 | 0.85 | 13 | 0.017 |  | 0 | 11984495.4305 | -3100000 | 0.35382 | -1096834.2282 | 4240324.1279 | 13 | 0.0425 |  | 0 | 54911720.6875 | -7750000 | 0.35382 | -2742085.5706 | 19428727.3491
14 | 0.17 |  | 0 | 360946241.3673 | -26350000 | 0.32761 | -8632491.6112 | 118249161.317 | 0.85 | 14 | 0.017 |  | 0 | 11984495.4305 | -3100000 | 0.32761 | -1015587.2484 | 3926226.0443 | 14 | 0.0425 |  | 0 | 54911720.6875 | -7750000 | 0.32761 | -2538968.1209 | 17989562.3602
15 | 0.17 |  | 0 | 360946241.3673 | -26350000 | 0.30334 | -7993047.7882 | 109489964.1824 | 0.85 | 15 | 0.017 |  | 0 | 11984495.4305 | -3100000 | 0.30334 | -940358.5633 | 3635394.4855 | 15 | 0.0425 |  | 0 | 54911720.6875 | -7750000 | 0.30334 | -2350896.4083 | 16657002.1854
[7 empty] | Costs | -458865765.4622 |  |  |  |  | Max demand management response | 6 |  |  | Costs | -79170153.617 | [7 empty] | Costs | -162352461.0636
[7 empty] | Benefits | 2874954859.937 | [8 empty] | Benefits | 95457105.333 | [7 empty] | Benefits | 437374600.8826
[7 empty] | Net benefit | 2416089094.4748 | [8 empty] | Net benefit | 16286951.716 | [7 empty] | Net benefit | 275022139.819
[7 empty] | Benefit-Cost Ratio | 6.2654 | [8 empty] | Benefit-Cost Ratio | 1.2057 | [7 empty] | Benefit-Cost Ratio | 2.694
Summary
| Units | low | mid-point | high
Direct load control devices | number | 124000 | 310000 | 1240000
Relevant critical peak demand | MWh | 76.23 | 91.476 | 4455
Up front cost | $ per appliance | 260 | 210 | 160
Cost profile | Install costs all occur up front for any group of participants. Consumers also receive annual payments (30 to 100 per year) ahead of first three years. Software for direct load control updated after 7 years
Annual cost | $ per appliance per year | 25 | 25 | 25
Value of demand management savings (network/generation) | $/kW per year | 271.2729 | 326.2729 | 381.2729
Maximum demand management response | % of relevant critical peak demand | 15 | 20 | 25
Demand management savings profile | Maximum demand management achieved in year 4, with participation in DLC falling to 70% of maximum participation by year 15
Discount rate | per cent | 8 | 8 | 8
Discounted costs | $ Million (npv) | 79.1702 | 162.3525 | 458.8658
Discounted benefits | $ Million (npv) | 95.4571 | 437.3746 | 2874.9549
Net benefit | $ Million (npv) | 16.287 | 275.0221 | 2416.0891
Net benefit per household | $ (npv) | 131.3464 | 887.1682 | 1948.4589
Benefit cost ratio | ratio | 1.2057 | 2.694 | 6.2654
Annuity in savings per household over 15 year period | $ | 14.2789 | 96.4459 | 211.821
|  |  | 25 percentage points percentile | 75 percentage points percentile
25 and 75% percentiles NPV per household |  |  | 569.3905 | 1235.099
25 and 75% percentiles annuity per household (rounded to nearest 5) |  |  | 65 | 140
This is used to determine alpha such that it is the median between the high and low values
Inverse beta 50% probability | 887.1683
Inverse beta 75% probability | 1235.099
alpha | 1.5115
beta | 2
error from deviation of inverse beta from the median value of the net benefit per household (Use goal seek to set error to zero by changing alpha) | 1.1212e-08
Note on B3: This is the high estimates of the number of DLC devices. It is based on DLC participation rates and the relevant number of households. The mnemonic says meters - but this is because this corresponds to the relevant number of households. The estimate of participation rates takes account of the fact that there maybe more than one DLC per household (eg more than one airconditioner or an airconditioner and a pool pump).
Note on B4: This is the available peak demand that might respond to DLC initiatives. It is equal to the total available peak demand (outside Victoria), times the participation rate in the DLC program, times a factor that represents the likelihood that participants will have higher levels of peak demand than non-participants (eg owners of air conditioners).
Note on J10: It takes time to recruit people into the DLC scheme. This takes account of the variations over time to reach the highest participation rate, and then the gradual loss of interest by some people in the scheme
Note on D11: Install DLC device plus Incentive payments last for 3 years
Note on F11: The reason non Vic meter numbers is relevant is that this is the relevant household number, not anything to do with smart meter numbers
Note on P11: Install DLC device plus Incentive payments last for 3 years
Note on Z11: Install DLC device plus Incentive payments last for 3 years

## Airconditioning results
Back to the Contents of this spreadsheet
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
kW A/C consumption max | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Account for not all ac on at the same time or full power (kW) | 1.1475 | 1.1475 | 1.1475 | 1.1475 | 1.1475 | 1.1475 | 1.1475 | 1.1475 | 1.1475 | 1.1475
Total savings in network and generation (LRMC) | 374.3981 | 374.3981 | 374.3981 | 374.3981 | 374.3981 | 374.3981 | 374.3981 | 374.3981 | 374.3981 | 374.3981
Discount factor | 1 | 0.92593 | 0.85734 | 0.79383 | 0.73503 | 0.68058 | 0.63017 | 0.58349 | 0.54027 | 0.50025
Discounted stream | 374.3981 | 346.6649 | 320.986 | 297.2093 | 275.1938 | 254.8091 | 235.9343 | 218.4577 | 202.2756 | 187.2923
| LRMC | SRMC | SRMC accounting for power and peak use rates
Final total real PV | 2713.221 | 7000
Annuity | 374.3981 | 965.9319 | 554.2034 |  |  |  | 326.2729
Assumptions |  |  | This is the equivalent to the $316
10 year lifespan of air conditioner
2kW A/C electricity consumption when running at full power
8% discount from real DNSP WACC
No trend in critical peak to average demand
Discount rate (%) | 8%
% turned on at any peak time | 67.5% | Swift (2005), (CRA, 2006)
running at power | 85%
Assumes that real cost of network capacity each year rises by the same growth rate as peak to average demand (could be higher or lower than this)
As it stands, the $326 is not a net subsidy since the party using the air conditioner does pay something. However, the bulk of their customer bill is a fixed charge (which will pay for much of the network capacity at peak) and then a low energy use charge (which will aslo reflect any marginal costs for retailers, generatrors as well as network businesses). Properly priced, the true marginal costs of air conditioning at critical peak times will be very high multiples of the actual marginal energy cost
Note on C11: If the PV of network and generation savings data are from Queensland Energy Management Plan

## Summary LRMC&SRMC
Back to the Contents of this spreadsheet
(1) LRMC
Distribution businesses LRMC estimates |  |  | Tranmission businesses LRMC estimates |  |  | Generation LRMC
| $ per KW per annum |  |  | $ per KW per annum |  |  | $ per KW per annum
CSIRO | 196.5 |  | CSIRO | 65.5 |  | Sub 23 low | 90
CRA (low) | 87 |  | CRA (low) | 29 |  | Sub 23 Hi | 110
CRA (high) | 109.5 |  | CRA (high) | 36.5 |  | AECOM | 73.8186
Ernst & Young (low) | 78.75 |  | Ernst & Young (low) | 26.25 |  | Average | 91.2729
Ernst & Young (high) | 264 |  | Ernst & Young (high) | 88
Ausgrid proposal | 163.2941 |  | Ausgrid low estimate | 31.4121
ActewAGL proposal | 158.4353 |  | Ausgrid high estimate | 78.5304
Jemena proposal | 188.8588 |  | Energex | 54.9713
United Energy proposal | 167.5765 |  | Powerlink (qld) | 66.7508
ETSA proposal | 169.4118 |  | Transgrid (nsw) | 70.6773
Ausgrid alternative low estimate | 86.3834 |  | SP Ausnet (Act) | 70.6773
Ausgrid Alternative high estimate | 157.0607 |  | SP Ausnet (VIC) | 36.9093
Energex | 157.0607 |  | ElectraNet (SA) | 29.0562
Energex | 219.885 |  | Transend (TAS) | 130.3604
Ergon | 290.5624 |  | AusGrid low estimate | 31.4121
Ausgrid | 212.032 |  | AusGrid high estimate | 86.3834
Essential Energy | 259.1502 |  | Average | 51.2705
ActewAGL | 227.7381
Powercor | 164.9138
SP AusNet Distr | 172.7668
United Energy | 212.032
Citipower | 259.1502
Jemena | 172.7668
ETSA Utilities | 274.8563
Aurora Energy | 376.9458
Average | 193.0652
Summary (using percentile model only)
| Low | High
Distribution LRMC | 150 | 220
Transmission LRMC | 30 | 70
Generation LRMC | 91.2729 | 91.2729
Total | 271.2729 | 381.2729
Transmission and Generation | 121.2729 | 161.2729
(2) SRMC
Distribution networks | Kw |  | Tranmission networks |  | Generation
Energex | 2800 |  | Powerlink (qld) | 850 | AECOM | 940
Ergon | 3700 |  | Transgrid (nsw) | 900 | Energex | 800
Ausgrid | 2700 |  | SP Ausnet (Act) | 900 | Ausgrid (personal communication) | 1000
Essential Energy | 3300 |  | SP Ausnet (VIC) | 470 | Average | 913.3333
ActewAGL | 2900 |  | ElectraNet (SA) | 370
Powercor | 2100 |  | Transend (TAS) | 1660
SP AusNet Distr | 2200 |  | AusGrid low estimate | 400
United Energy | 2700 |  | AusGrid high estimate | 1100
Citipower | 3300 |  | Energex | 700
Jemena | 2200
ETSA Utilities | 3500
Aurora Energy | 4800
Ausgrid Info Low | 1500
Ausgrid info high | 2000
Summary (using percentile model only)
| Low | High
DistributionSRMC | 2200 | 3300
Transmission SRMC | 470 | 900
Generation SRMC | 913.3333 | 913.3333
Total | 3583.3333 | 5113.3333
Transmission and Generation | 1383.3333 | 1813.3333
Note on A61: Personal communication from Ausgrid (note varies from AEMC sub). Ausgrid thought that the most likely figure was $1500

## Various LRMC
Back to the Contents of this spreadsheet
| Discount rate for LRMC | 0.08
Date
Futura 2009 | The value of avoided augmentation to meet peak demand has been valued as per the previous benefit between $130/kW per year and $240/kW per year p.73) |  | 2009
The $240/kW per year figure has been developed up from more recent information from DBs and other sources (cf the $130 estimate - which we accordingly ignore). It comprises $120/kW per year for distribution and transmission augmentation, and up to $120/kW per year for generation augmentation cost.
Using load factor of 0.85
Sub 23 based on the Deloitte 2012 study) | LRMC OCGT (generation) $129.2 - $155.9 /kW/pa (p. 22) |  | 2012
| Energex shares of investment savings (p. 19) $2 billion from Distribution, 0.7 from Transmission, and 0.8 for Generation | [7 empty] | LV $/kW per annum | LV $/KVA/annum
| 0.57143 | D | 2011 |  |  |  |  | Ausgrid | 163.2941 | 138.8
| 0.2 | T | 2011 |  |  |  |  | ActewAGL | 158.4353 | 134.67
| 0.22857 | G | 2011 |  |  |  |  | Jemena | 188.8588 | 160.53
| 2.8571 | Ratio of D to T | 2011 |  |  |  |  | United Energy | 167.5765 | 142.44
| 0.74074 | Ratio of D to network costs | 2011 |  |  |  |  | ETSA | 169.4118 | 144
0.75
| Network only |  | .
CSIRO $223 per kVA pa
CRA 2008 $98-124 kVA per annum
Ernst & Young $90-$300 per kVA per annum
Convert above to $/kW per annum using a load factor of 0.85 (as in Ausgrid 2012)
CSIRO $262 per kW per annum
CRA 2008 $116- $146 per kW per annum
Ernst & Young $105-$352 per kVA per annum
Average from LRMC from NEM distributors (excluding Endeavour) $144 per kVA per annum for LV (p. 21)
Range excluding Endeavour $134-$160 per kVA per annum for LV
Range for distribution in $/kW pa $158-$189
From Deloitte 2012, Analysis of initiatives to lower peak demand, Final Report, April, p. 21
Oakley Greenwood Review of AMI Benefits 2010 Report for Vic DPI
We believe a value of $200/kW/year is a more accurate estimate of the combined deferral value of generation and network infrastructure.
Ausgrid (derived, with assumptions, from personal communication and Power of Choice submission) |  | Implied $ kW per annum |  | Alternative calcs based on simple formula that commences discounting at start of year
Distribution 2011 | $1.1 - 2.0m/MW. Produced by converting the cost of network assets required to deliver 1MW of peak, with a 9 per cent real WACC and depreciation |  |  | 89.9171 | 163.4857
Transmission 2011 | $0.4 - 1.0m/MW. Produced by converting the cost of network assets required to deliver 1MW of peak, with a 9 per cent real WACC and depreciation. | Low | High | 36.4907 | 91.2269
| Implied distribution $ per kW per annum with 50 year asset life and discount rate given above | 86.3834 | 157.0607
| Implied transmission $ per kW per annum with 50 year asset life and discount rate given above | 31.4121 | 78.5304
Energex 2011 | ENERGEX estimates that the average investment for each megawatt of additional capacity is $3.5 million (comprising $2 million distribution network assets, $0.7 million transmission asset network costs and $0.8 million generation costs) | Source is Department of Employment, Economic development and Innovation, 2011, Queensland Energy Management Plan, May, p. 4 or sub. 23 |  | 700 | Energex TNSP SRMC $ per KW
|  |  |  | 800 | Energex Generayion SRMC $ per KW
| Implied distribution $ per kW per annum with 50 year asset life | 157.0607
| Implied transmission $ per kW per annum with 50 year asset life | 54.9713
| Distribution charges - Percentile Method (method 1) | Original data $ per kW per year
| CSIRO | 196.5
| CRA (low) | 87
| CRA (high) | 109.5
| Ernst & Young (low) | 78.75
| Ernst & Young (high) | 264
| Ausgrid proposal | 163.2941
| ActewAGL proposal | 158.4353
| Jemena proposal | 188.8588
| United Energy proposal | 167.5765
| ETSA proposal | 169.4118
| Ausgrid low estimate | 86.3834
| Ausgrid high estimate | 157.0607
| Energex | 157.0607
| Average | 152.6024
| Skewness | 0.32987
| Stdev | 51.9186
| Low | 100
| high | 160
| Distribution charges BETA distribution Model (method 2) | Original data $ per kW per year | Transformed to 0,1 interval |  | This is used to determine alpha and beta using the methods of moments estimation
| CSIRO | 196.5 | 0.63563 |  | low | 78.75
| CRA (low) | 87 | 0.044534 |  | high | 264
| CRA (high) | 109.5 | 0.16599 |  | Sample Average | 152.6024
| Ernst & Young (low) | 78.75 | 0 |  | Average as predicted by alpha and beta | 152.6024
| Ernst & Young (high) | 264 | 1 |  | Inverse beta 75 probability | 194.1063 | 190
| Ausgrid proposal | 163.2941 | 0.45638 |  | Inverse beta 25% probability | 106.5065 | 110
| ActewAGL proposal | 158.4353 | 0.43015 |  | alpha | 0.81809
| Jemena proposal | 188.8588 | 0.59438 |  | beta | 1.234
| United Energy proposal | 167.5765 | 0.4795 |  | error from deviation of averages (check) | 0
| ETSA proposal | 169.4118 | 0.4894
| Ausgrid alternative low estimate | 86.3834 | 0.041206
| Ausgrid Alternative high estimate | 157.0607 | 0.42273
| Energex | 157.0607 | 0.42273
| Average | 152.6024 | 0.39866
| variance | 2695.5369 | 0.078547
| alpha | 0.81809 | 0.81809
| beta | 1.234 | 1.234
| Skewness | 0.32987 | 0.32987
| Low | 110
| High | 190
| Transmission charges Percentile method (method 1) | Original data
| CSIRO | 65.5
| CRA (low) | 29
| CRA (high) | 36.5
| Ernst & Young (low) | 26.25
| Ernst & Young (high) | 88
| Ausgrid low estimate | 31.4121
| Ausgrid high estimate | 78.5304
| Energex | 54.9713
| Average | 51.2705
| variance | 577.5505
| Skewness | 0.47999
| Low | 30
| high | 60
| Transmission charges BETA distribution method (method 2) | Original data | Transformed to 0,1 interval |  | This is used to determine alpha such that it is the median between the high and low values
| CSIRO | 65.5 | 0.63563 |  | low | 26.25
| CRA (low) | 29 | 0.044534 |  | high | 88
| CRA (high) | 36.5 | 0.16599 |  | Sample Average | 51.2705
| Ernst & Young (low) | 26.25 | 0 |  | Average as predicted by alpha and beta | 51.2705
| Ernst & Young (high) | 88 | 1 |  | Inverse beta 75 probability | 77.3295 | 80
| Ausgrid low estimate | 31.4121 | 0.083598 |  | Inverse beta 25% probability | 27.3419 | 30
| Ausgrid high estimate | 78.5304 | 0.84665 |  | alpha | 0.23954
| Energex | 54.9713 | 0.46512 |  | beta | 0.35164
| Average | 51.2705 | 0.40519 |  | error from deviation of averages (check) | 5.0487e-29
| variance | 577.5505 | 0.15147
| alpha | 0.23954 | 0.23954
| beta | 0.35164 | 0.35164
| Skewness | 0.47999 | 0.47999
| Low | 30
| High | 80
Generation
| OCGT LRMC min | 90 | From sub 23
| OCGT LRMC max | 110
Distribution and Transmission in total Percentile method (Method 1)
| CSIRO | 262
| CRA (low) | 116
| CRA (high) | 146
| Ernst & Young (low) | 105
| Ernst & Young (high) | 352
| Ausgrid proposal | 217.7255
| ActewAGL proposal | 211.2471
| Jemena proposal | 251.8118
| United Energy proposal | 223.4353
| ETSA proposal | 225.8824
| Ausgrid low estimate | 117.7956
| Ausgrid high estimate | 235.5911
| Energex | 212.032
| Average | 205.8862
| variance | 4833.9924
| Skewness | 0.2295
| Low | 140
| high | 230
All network and generation Percentile method (method 1)
| Low | 230
| high | 340
Distribution and Transmission in total BETA distribution method (method 2)
|  | Original data | Transformed to 0,1 interval |  | This is used to determine alpha and beta using the methods of moments estimation
| CSIRO | 262 | 0.63563 |  | low | 105
| CRA (low) | 116 | 0.044534 |  | high | 352
| CRA (high) | 146 | 0.16599 |  | Sample Average | 205.8862
| Ernst & Young (low) | 105 | 0 |  | Average as predicted by alpha and beta | 205.8862
| Ernst & Young (high) | 352 | 1 |  | Inverse beta 75 probability | 262.0204 | 260
| Ausgrid proposal | 217.7255 | 0.45638 |  | Inverse beta 25% probability | 144.2069 | 140
| ActewAGL proposal | 211.2471 | 0.43015 |  | alpha | 0.83708
| Jemena proposal | 251.8118 | 0.59438 |  | beta | 1.2123
| United Energy proposal | 223.4353 | 0.4795 |  | error from deviation of averages (check) | 0
| ETSA proposal | 225.8824 | 0.4894
| Ausgrid low estimate | 117.7956 | 0.051804
| Ausgrid high estimate | 235.5911 | 0.52871
| Energex | 212.032 | 0.43333
| Average | 205.8862 | 0.40845
| variance | 4833.9924 | 0.079234
| alpha | 0.83708 | 0.83708
| beta | 1.2123 | 1.2123
| Skewness | 0.2295 | 0.2295
| Low | 140
| High | 260
All Network and Transmission in total BETA distribution method (method 2)
| Low | 230
| high | 370
$ per kW per year
Summary (Percentile - method 1)
| Low | High | Part of electricity system
| 100 | 160 | Distribution capacity
| 30 | 60 | Transmission
| 90 | 110 | Generation
| 230 | 340 | All (aggregate measure)
| 220 | 330 | Sum of parts
Summary (BETA distribution - method 2)
| Low | High | Part of electricity system
| 110 | 190 | Distribution capacity
| 30 | 80 | Transmission
| 90 | 110 | Generation
| 230 | 370 | All (aggregate measure)
| 230 | 380 | Sum of parts
If lowest range for total is used
| Low | High | Part of electricity system
| 220 | 330 | All investment
Consistent estimates for parts
| 100 | 160 | Distribution capacity
| 30 | 60 | Transmission
| 90 | 110 | Generation
Introduction
The Commission has drawn on a range of long and short run estimates of the marginal cost of electricity generation, transmission and distribution. In order to translate the marginal cost of electricity into an estimate of the benefits of demand management. The information shown below shows various LRMC estimates, and the interpretation, source and date of information. The Commission has used several estimation approaches and levels of aggregation of analysis to produce LRMC estimates. The results are summarised from row 197.
Note on B13: Given the date, these numbers have not been used, but still are within the range used in our analysis. Note that if inflation for the relative asset costs was 4% pa, the $240 would be $270 - which is in the middle of the range finally used
Note on B21: So use 0.75 as share of network capacity LRMC accounted for by distribution
Note on B58: Uses 25% and 75% percentiles and rounds down for conservatism
Note on C138: 70% correction factor acknowledges non-capital costs

## AECOM LRMC&SRMC
Back to the Contents of this spreadsheet
These calculations are based on AECOM 2012
Cost of increasing capacity in distribution networks (2011$)
DNSP | Estimated Capex/Growth ($M/MW) | LRMC assuming 50 year asset life $ per kW per year |  | SRMC transformed to 0,1 interval | LRMC transformed to 0,1 interval | This is used to determine alpha and beta using the methods of moments estimation | SRMC | LRMC
Energex | 2.8 | 219.885 |  | 0.25926 | 0.25926 | low | 2.1 | 164.9138
Ergon | 3.7 | 290.5624 |  | 0.59259 | 0.59259 | high | 4.8 | 376.9458
Ausgrid | 2.7 | 212.032 |  | 0.22222 | 0.22222 | Sample Average | 3.0167 | 236.9
Essential Energy | 3.3 | 259.1502 |  | 0.44444 | 0.44444 | Average as predicted by alpha and beta | 3.0167 | 236.9
ActewAGL | 2.9 | 227.7381 |  | 0.2963 | 0.2963 | Inverse beta 75% probability | 3.5977 | 282.5326
Powercor | 2.1 | 164.9138 |  | 0 | 0 | Inverse beta 25% probability | 2.3273 | 182.7654
SP AusNet Distr | 2.2 | 172.7668 |  | 0.037037 | 0.037037 | alpha | 0.60311 | 0.60311
United Energy | 2.7 | 212.032 |  | 0.22222 | 0.22222 | beta | 1.1733 | 1.1733
Citipower | 3.3 | 259.1502 |  | 0.44444 | 0.44444 | error from deviation of averages (check) | 1.9722e-31
Jemena | 2.2 | 172.7668 |  | 0.037037 | 0.037037 | Rounded 25th percentile $ per Kw | 3600 | 280
ETSA Utilities | 3.5 | 274.8563 |  | 0.51852 | 0.51852 | Rounded 75th percentile $ per kw | 2330 | 180
Aurora Energy | 4.8 | 376.9458 |  | 1 | 1
Average | 3.0167 | 236.9 |  | 0.33951 | 0.33951
Variance | 0.58879 | 3631.0663 |  | 0.080767 | 0.080767
alpha | 0.60311 | 0.60311 |  | 0.60311 | 0.60311
beta | 1.1733 | 1.1733 |  | 1.1733 | 1.1733
Source: Table 27, p. 59 of AECOM 2012, Impact of Electric Vehicles and Natural Gas Vehicles on the Energy Market, Final Advice to the AEMC, 22 June.
TNSPs
| Estimated capex growth ($m per MW) | LRMC assuming 50 year asset life $ per kW per year |  | SRMC transformed to 0,1 interval | LRMC transformed to 0,1 interval | This is used to determine alpha and beta using the methods of moments estimation | SRMC | LRMC
Powerlink (qld) | 0.85 | 66.7508 |  | 0.37209 | 0.37209 | low | 0.37 | 29.0562
Transgrid (nsw) | 0.9 | 70.6773 |  | 0.41085 | 0.41085 | high | 1.66 | 130.3604
SP Ausnet (Act) | 0.9 | 70.6773 |  | 0.41085 | 0.41085 | Sample Average | 0.83125 | 63.9335
SP Ausnet (VIC) | 0.47 | 36.9093 |  | 0.077519 | 0.077519 | Average as predicted by alpha and beta | 0.83125 | 65.2784
ElectraNet (SA) | 0.37 | 29.0562 |  | 0 | 0 | Inverse beta 75% probability | 1.2027 | 94.4448
Transend (TAS) | 1.66 | 130.3604 |  | 1 | 1 | Inverse beta 25% probability | 0.42572 | 33.4321
AusGrid low estimate | 0.4 | 31.4121 |  | 0.023256 | 0.023256 | alpha | 0.3795 | 0.3795
AusGrid high estimate | 1.1 | 86.3834 |  | 0.56589 | 0.56589 | beta | 0.68186 | 0.68186
Capacity wieghted average | 0.66 | 51.83 |  |  |  | error from deviation of averages (check) | 0
Average | 0.83125 | 65.2784 |  | 0.35756 | 0.35756 | Rounded 25th percentile $ per Kw | 1200 | 90
Variance | 0.18544 | 1143.6187 |  | 0.11144 | 0.11144 | Rounded 75th percentile $ per kw | 430 | 30
alpha | 0.3795 | 0.3795 |  | 0.3795 | 0.3795
beta | 0.68186 | 0.68186 |  | 0.68186 | 0.68186
Source: Table 28, p. 60 of AECOM 2012, Impact of Electric Vehicles and Natural Gas Vehicles on the Energy Market, Final Advice to the AEMC, 22 June.
Generation
| Estimated capex growth ($m per MW) | LRMC assuming 50 year asset life $ per kW per year
All Australia | 0.94 | 73.8186
Source: Table 29, p. 61 of AECOM 2012, Impact of Electric Vehicles and Natural Gas Vehicles on the Energy Market, Final Advice to the AEMC, 22 June.
Summary
SRMC $ per kw
| Low | High
Distribution | 2330 | 3600
Transmission | 430 | 1200
Generation | 940 | 940
Total | 3700 | 5740
LRMC $ per kw per year
| Low | High
Distribution | 180 | 280
Transmission | 30 | 90
Generation | 73.8186 | 73.8186
Total | 283.8186 | 443.8186
Quote from AECOM:
Our analysis suggests that the cost of capacity is between $2.1 and $4.8 million per MW. This range is
close to that proposed by AusGrid in their recent submission to AEMC, namely $1.2 to $4 million per
MW. Growth tends to be more expensive in the DNSPs that service rural areas, for example Aurora
Energy, Ergon and ETSA Utilities. This makes sense since networks in rural areas tend to be less
connected and less dense, reducing the opportunity for load sharing. In the absence of better data, the weighted average of $2.9 million per MW was used as the cost of distribution growth in Western
Australia.
Quote from AECOM:
The cost of transmission growth was estimated to be between $0.37 and $1.66 million per MW, with a
weighted average of $0.66 million. Again, the range was consistent with the estimate reported by
AusGrid (2011) of $0.4 to $1.1 million per MW, with the exception of Transend (again in Tasmania),
which had the most expensive growth. It is worth noting that Transend owns many distribution assets
which may influence their cost estimates.
These are the PC's estimates
These are the PC's estimates
These provide alternative set of estimates of the SRMC (and thereby LRMC), and are from a single report.
The calculation method is based on dividing growth capex by growth in maximum demand (based on AER Regulatory Determinat
These results are higher than the estimates found from other sources, most partiuclarly, consultants' and businesses' direct estimates of SRMC and LRMC.ions)

## One off
Gradual demand response under hypothetical case when all smart meters were rolled out simultaneously |  |  |  |  | Back to the Contents of this spreadsheet
| High | Min | Medium
|  | 6200000 | 6200000 | Generalised logistic
Total peak demand from these households outside Victoria (MVA) | 14850 | 11550 | 13200 | a_val | -0.007
After-before price ratio | 8 | 8 | 8 | K_val | 1
Long-run value of demand management | 1926439701.0722 | 588251058.2879 | 1154038297.1247 | b_val | 0.3
Years to get full demand response | 15 |  |  | V_val | 0.2
|  | DM Savings |  | Q_val | 0.5
|  |  |  | M_val | 1.55
Year | Max | Min | Medium
0 | 3095437.1576 | 945212.1355 | 1854329.0113 | 3095437.1576 | 0.0016068
1 | 25970373.261 | 7930224.6244 | 15557614.0365 | 25970373.261 | 0.013481
2 | 70512384.5078 | 21531421.2981 | 42240612.0982 | 70512384.5078 | 0.036602
3 | 146458930.0677 | 44722199.4855 | 87736571.3342 | 146458930.0677 | 0.076026
4 | 260169067.1064 | 79444339.1994 | 155854900.1045 | 260169067.1064 | 0.13505
5 | 410866337.4367 | 125460743.8154 | 246130459.2806 | 410866337.4367 | 0.21328
6 | 589763357.2587 | 180088127.7798 | 353299145.6408 | 589763357.2587 | 0.30614
7 | 782732778.9398 | 239012612.3915 | 468897937.8948 | 782732778.9398 | 0.40631
8 | 974725721.5656 | 297638922.6885 | 583911768.0419 | 974725721.5656 | 0.50597
9 | 1153491727.0038 | 352226300.5474 | 691001969.9231 | 1153491727.0038 | 0.59877
10 | 1311317072.8027 | 400419309.983 | 785547619.7078 | 1311317072.8027 | 0.68069
11 | 1444933968.6831 | 441220109.6981 | 865591139.8361 | 1444933968.6831 | 0.75005
12 | 1554432162.9495 | 474656104.9291 | 931186294.2441 | 1554432162.9495 | 0.80689
13 | 1641950028.9474 | 501380262.0692 | 983614080.5838 | 1641950028.9474 | 0.85232
14 | 1710581665.4906 | 522337384.5818 | 1024728026.1286 | 1710581665.4906 | 0.88795
Demand management savings follow a logistic curve over time, with low initial savings. This reflects the fact that:
(a) In a national rollout, cost-reflective prices in many regions would be set low because of an absence of constraints
(b) It would be hard to convince people of the need to time-shift power consumption in places where infrastructure was completely adequate to support current patterns of peak consumption (ie 'moral suasion' would be weak). The situation would be analogous to trying to persuade people to save water when local dams are full.
(c) DM savings only occur if there are network savings, which are the result of planned deferral of investment. Such planning requires some certainty about the nature of the demand response, which only becomes apparent over time. The benefit of the targeted approach described in scenario (1) is that the meters are only rolled out when there is such certainty.
Note on A1: This set of calculations are used as the inputs to the more realistic case where the rollout takes several years - which from a practical perspective would be required.
Note on E3: Source: EMCa (2008) Note that there are 5,370,000 households in the NEM, though these may not correspond 1:1 for meters, as other establishments also have SMs. (Equal to households in the NEM excluding Victoria (ABS Household expenditure Survey 2009-10, Cat.No. 6530.0, p. 57)
Note on B4: Commission estimates based on consultations and assorted sources = (Total estimated NEM peak demand less Victoria ) times the share of total accounted for by households
Note on B5: As per the SP Ausnet strategic pricing trial
Note on A11: This period relates to the outcomes occurring in the first year of the rollout (ie between t=0 and t=1)
Note on A25: Outcomes relate to those occurring between years 14 and 15 (by which time the smart meters have fully depreciated).

## Constrained peaky networks (v2)
Max | Limited smart meter with critical peak demand management and one-off one year deferral of distribution network infrastructure | [8 empty] | Back to the Contents of this spreadsheet |  | Min | [9 empty] | Middle
This (SEE NOTE) model is identical to scenario 1, except that it includes a given lumpy project that isdeferred by one year (so the additional gain is the avoided cost for one year of the entire lumpy project)
# meters | 10000 |  | Value of deferred project (multiplier) | 7157954.6841 | [7 empty] | # meters | 10000 | [8 empty] | # meters | 10000
Total peak demand from these households outside Victoria (MWs) | 35.9274 | The 1.5 factor is used because regions where deferral is most likely are areas with higher levels of peak demand | [9 empty] | Total peak demand from these households outside Victoria (MWs) | 27.9435 | [8 empty] | Total peak demand from these households outside Victoria (MWs) | 31.9355
Value ($) of avoided network and generation per kW saved per year | 381.2729 | [10 empty] | Value of Network and generation saved $/kW/year | 271.2729 | [8 empty] | Value of Network and generation saved $/kW/year | 326.2729
Absolute value of long-run elasticity | 0.2 | [10 empty] | Absolute value of elasticity | 0.1 | [8 empty] | Absolute value of elasticity | 0.15
Before-after price ratio | 8 | As per the SP Ausnet strategic pricing trial
SRMC savings (=1 if option is on, and 0 if not) | 1 |  |  | 2000000
Year | Transition costs of meters $ | DM Savings LRMC$ | Total demand reduction (MWs) | DM savings from deferred lumpy investment ($) | Operating costs $ | Operating savings $ | Discount factor | Discounted costs $ | Discounted benefits $ |  | Transition in response by consumers to pricing (short-run to long-run price elasticity) | Year | Transition costs of meters | DM Savings | Total demand reduction (MWs) | DM savings on SRMC distribution | Operating costs | Operating savings | Discount factor | Discounted costs | Discounted benefits | Year | Transition costs of meters | DM Savings | Total demand reduction (MWs) | DM savings on SRMC distribution | Operating costs | Operating savings | Discount factor | Discounted costs | Discounted benefits
0 | -2700000 | 665820.1732 | 1.7463 | 0 | -200000 | 0 | 0.96225 | -2790526.3011 | 640685.7604 | 640685.7604 | 0.14286 | 0 | -8000000 | 203312.5777 | 0.74948 | 0 | -300000 | 0 | 0.96225 | -7986678.7238 | 195637.6192 | 0 | -5350000 | 398861.1626 | 1.2225 | 0 | -250000 | 0 | 0.96225 | -5388602.5124 | 383804.3327
1 | 0 | 0 | 3.4926 | 25000000 | -200000 | 0 | 0.89097 | -178194.5275 | 22274315.941 | 10770881.9663 | 0.28571 | 1 | 0 | 0 | 1.499 | 10729435.0851 | -300000 | 0 | 0.89097 | -267291.7913 | 9559633.0781 | 1 | 0 | 0 | 2.445 | 17500874.6542 | -250000 | 0 | 0.89097 | -222743.1594 | 15592800.4517
2 | 0 | 1997460.5195 | 5.2389 | -25000000 | -200000 | 650000 | 0.82497 | -164994.9329 | -18440278.7582 | 2184087.8538 | 0.42857 | 2 | 0 | 609937.7332 | 2.2484 | -10729435.0851 | -300000 | 500000 | 0.82497 | -247492.3993 | -7935841.6003 | 2 | 0 | 1196583.4878 | 3.6674 | -17500874.6542 | -250000 | 575000 | 0.82497 | -206243.6661 | -12976266.7025
3 | 0 | 2663280.6927 | 6.9852 | 0 | -200000 | 650000 | 0.76387 | -152773.086 | 2530900.5813 | 2530900.5813 | 0.57143 | 3 | 0 | 813250.311 | 2.9979 | 0 | -300000 | 500000 | 0.76387 | -229159.629 | 1003146.5136 | 3 | 0 | 1595444.6504 | 4.8899 | 0 | -250000 | 575000 | 0.76387 | -190966.3575 | 1657927.6363
4 | 0 | 3329100.8659 | 8.7315 | 0 | -200000 | 650000 | 0.70728 | -141456.5611 | 2814349.6243 | 2814349.6243 | 0.71429 | 4 | 0 | 1016562.8887 | 3.7474 | 0 | -300000 | 500000 | 0.70728 | -212184.8417 | 1072638.8549 | 4 | 0 | 1994305.813 | 6.1124 |  | -250000 | 575000 | 0.70728 | -176820.7014 | 1817225.8239
5 | 0 | 3994921.0391 | 10.4779 | 0 | -200000 | 650000 | 0.65489 | -130978.2973 | 3041919.2448 | 3041919.2448 | 0.85714 | 5 | 0 | 1219875.4665 | 4.4969 | 0 | -300000 | 500000 | 0.65489 | -196467.446 | 1126331.8012 | 5 | 0 | 2393166.9756 | 7.3349 |  | -250000 | 575000 | 0.65489 | -163722.8717 | 1943827.2834
6 | 0 | 4660741.2123 | 12.2242 | 0 | -200000 | 650000 | 0.60638 | -121276.2012 | 3220332.5999 | 3220332.5999 | 1 | 6 | 0 | 1423188.0442 | 5.2463 | 0 | -300000 | 500000 | 0.60638 | -181914.3019 | 1166184.7014 | 6 | 0 | 2792028.1382 | 8.5573 |  | -250000 | 575000 | 0.60638 | -151595.2515 | 2041701.9103
7 | -1000000 | 4660741.2123 | 12.2242 | 0 | -200000 | 650000 | 0.56146 | -673756.6735 | 2981789.4444 | 2981789.4444 | 1 | 7 | -1500000 | 1423188.0442 | 5.2463 | 0 | -300000 | 500000 | 0.56146 | -1010635.0103 | 1079800.6494 | 7 | -1250000 | 2792028.1382 | 8.5573 |  | -250000 | 575000 | 0.56146 | -842195.8419 | 1890464.7318
8 | 0 | 4660741.2123 | 12.2242 | 0 | -200000 | 650000 | 0.51987 | -103974.7953 | 2760916.1522 | 2760916.1522 | 1 | 8 | 0 | 1423188.0442 | 5.2463 | 0 | -300000 | 500000 | 0.51987 | -155962.193 | 999815.4161 | 8 | 0 | 2792028.1382 | 8.5573 |  | -250000 | 575000 | 0.51987 | -129968.4941 | 1750430.3072
9 | 0 | 4660741.2123 | 12.2242 | 0 | -200000 | 650000 | 0.48136 | -96272.9586 | 2556403.8446 | 2556403.8446 | 1 | 9 | 0 | 1423188.0442 | 5.2463 | 0 | -300000 | 500000 | 0.48136 | -144409.4379 | 925755.0149 | 9 | 0 | 2792028.1382 | 8.5573 |  | -250000 | 575000 | 0.48136 | -120341.1983 | 1620768.803
10 | 0 | 4660741.2123 | 12.2242 | 0 | -200000 | 650000 | 0.44571 | -89141.6283 | 2367040.5969 | 2367040.5969 | 1 | 10 | 0 | 1423188.0442 | 5.2463 | 0 | -300000 | 500000 | 0.44571 | -133712.4425 | 857180.5694 | 10 | 0 | 2792028.1382 | 8.5573 |  | -250000 | 575000 | 0.44571 | -111427.0354 | 1500711.8546
11 | 0 | 4660741.2123 | 12.2242 | 0 | -200000 | 650000 | 0.41269 | -82538.5448 | 2191704.2564 | 2191704.2564 | 1 | 11 | 0 | 1423188.0442 | 5.2463 | 0 | -300000 | 500000 | 0.41269 | -123807.8171 | 793685.7124 | 11 | 0 | 2792028.1382 | 8.5573 |  | -250000 | 575000 | 0.41269 | -103173.181 | 1389548.0135
12 | 0 | 4660741.2123 | 12.2242 | 0 | -200000 | 650000 | 0.38212 | -76424.5785 | 2029355.7929 | 2029355.7929 | 1 | 12 | 0 | 1423188.0442 | 5.2463 | 0 | -300000 | 500000 | 0.38212 | -114636.8677 | 734894.1781 | 12 | 0 | 2792028.1382 | 8.5573 |  | -250000 | 575000 | 0.38212 | -95530.7231 | 1286618.531
13 | 0 | 4660741.2123 | 12.2242 | 0 | -200000 | 650000 | 0.35382 | -70763.4986 | 1879033.1416 | 1879033.1416 | 1 | 13 | 0 | 1423188.0442 | 5.2463 | 0 | -300000 | 500000 | 0.35382 | -106145.2479 | 680457.5724 | 13 | 0 | 2792028.1382 | 8.5573 |  | -250000 | 575000 | 0.35382 | -88454.3732 | 1191313.4547
14 | 0 | 4660741.2123 | 12.2242 | 0 | -200000 | 650000 | 0.32761 | -65521.758 | 1739845.5015 | 1739845.5015 | 1 | 14 | 0 | 1423188.0442 | 5.2463 | 0 | -300000 | 500000 | 0.32761 | -98282.6369 | 630053.3077 | 14 | 0 | 2792028.1382 | 8.5573 |  | -250000 | 575000 | 0.32761 | -81902.1974 | 1103068.0136
[6 empty] | Costs | -4938594.3428 | [12 empty] | Costs | -11208780.7864 | [8 empty] | Costs | -8073687.5646
[6 empty] | Benefits | 34588313.724 | [12 empty] | Benefits | 12889373.3884 | [8 empty] | Benefits | 22193944.4451
[6 empty] | Net benefit | 29649719.3812 | [12 empty] | Net benefit | 1680592.602 | [8 empty] | Net benefit | 14120256.8805
[6 empty] | Benefit-Cost Ratio | 7.0037 | [12 empty] | Benefit-Cost Ratio | 1.1499 | [8 empty] | Benefit-Cost Ratio | 2.7489
Summary | [5 empty] | Long run reduction in total peak demand from the households concerned | 12.2242
| Units | low | mid-point | high |  | % reduction from base | 34.02%
Smart meters | number | 10000 | 10000 | 10000
Relevant critical peak demand | MWh | 27.9435 | 31.9355 | 35.9274
Up front cost | $ per appliance | 800 | 535 | 270
Refresh cost | $ per appliance | 150 | 125 | 100
Cost profile | Install costs all occur up front. IT refresh after 7 years.
Annual cost | $ per appliance per year | 30 | 25 | 20
Value of demand management savings (network/generation) | $/kW per year all other years | 271.2729 | 326.2729 | 381.2729
Maximum demand management response | % of relevant critical peak demand | 18.7748 | 26.7957 | 34.0246
Demand management savings profile | Seven years to get full demand response, with little demand response in first year. Maximum demand response is subsequently sustained. Linear increase in response over time
Discount rate | per cent | 8 | 8 | 8
Discounted costs | $ Million (npv) | 11.2088 | 8.0737 | 4.9386
Discounted benefits | $ Million (npv) | 12.8894 | 22.1939 | 34.5883
Net benefit | $ Million (npv) | 1.6806 | 14.1203 | 29.6497
Net benefit per household | $ (npv) | 168.0593 | 1412.0257 | 2964.9719
Benefit cost ratio | ratio | 1.1499 | 2.7489 | 7.0037
Annuity in savings per household over 15 year period | $ | 18.8931 | 158.7389 | 333.32
|  |  | 25 percentage points percentile | 75 percentage points percentile
25 and 75% percentiles NPV per household |  |  | 921.1622 | 1931.9901
25 and 75% percentiles annuity per household (rounded to nearest 50) |  |  | 100 | 200
|  | Low | Medium | High
| Household net benefit | 170 | 1410 | 2960
This is used to determine alpha such that it is the median between the high and low values
Inverse beta 50% probability | 1412.0142
Inverse beta 75% probability | 1931.9901
alpha | 1.6627
beta | 2
error from deviation of inverse beta from the median value of the net benefit per household (Use goal seek to set error to zero by changing alpha) | 0.00013277 | Must be zero
Responsiveness of consumers to peak pricing | Percentage reduction
high response | 34.02%
medium response | 26.8%
low response | 18.77%
Note: p1 and p0 are prices after and before cost-reflective pricing. Given q0 is starting value of demand, and q1 the level of demand following the price change, the network saving from reductions in peak energy use is equal to (q0-q1)* the value of network savings from each MW of lower demand. Now e = elasticity = dlog(q)/dlog(p) so that log(q1/q0) = e*log(p1/p0). Accordingly q1/q0 = exp(e*log(p1/p0)) and the MW savings = q0-q1 = q0(1-exp(e*log(p1/p0))). This needs to be multiplied by the value of network and generation savings per unit of energy reduced. Note the elasticity shown as elasticity_high is the absolute value of the elasticity, whereas the e used in the calculation is the negative of that value. It is assumed that it takes 7 years before there is a full demand response. q1 and q0 are quantities of power after and before price changes.
Note:
In this calculation, there is a benefit from deferring a large lumpy investment by one year, with the potential that the value of any given reduction of kVA is worth more than its LRMC. For example, Ausgrid examined its Balgowlah zone substation build, which would have cost $25m, and found that a 2.7MVA load reduction would defer the supply-side proposal by one year.
Given it is usually growth in max demand that creates the need for augmentation, small DM savings are unlikely to defer a project by one full year (though perhaps by some shorter period).
Since the model is illustrative, we have assumed that the size of the deferred project is $25 million per 3.492 MW saving from DM.
Note on Q10: The model has a LRMC saving on DM in year 1 PLUS the additional value of one year deferral using the SRMC. It might appear that this rpresents double counting since the model assigns a full LRMC saving (from transmission, distribution and generation) already. It may seem that the LRMC saving on distribution should be excluded for the year over which the deferral occurs. However, the point of the SRMC calculation is that there is an additional value of deferring a lumpy project. The DM that could achieve this could be very modest. So in highly constrained areas, DM manages to defer some 'not very lumpy' invesments in the distribuition network, but also avoids - for just one period - a large project. This model is particularly speculative as it the savings will depend o0n the nature of the constraints and locality. But across many constrained regions, the model may be a reasonable assumption.
Note on B60: Returns the inverse of the beta cumulative probability density function (BETA.DIST). The form of the function is Beta(prob, alpha,beta, low value, high value). If alpha=beta =2 then the beta probability distribution function is symmetric. If low was 0 and high was 1, then beta.inv(0.5,2,2,0,1) would be 0.5. If prob was set at 0.75 then beta.inv would be 0.67 (ie the integral of the pdf from 0 to 0.75 is 67%).

## References
Back to the Contents of this spreadsheet
References
AECOM 2012, Impact of Electric Vehicles and Natural Gas Vehicles on the Energy Markets, Report for the AEMC, 22 June.
AEMC (Australian Energy Market Commission) 2012, Fact Sheet: Enabling Technology (Metering), 30 November.
AER (Australian Energy Regulator) 2011, Victorian Advanced Metering Infrastructure Review, 2012–15 budget and charges applications, final determination, October.
—— 2012, Determination, Advanced Metering Infrastructure, 2013 revised charges, October 2012.
Ausgrid 2012, Ausgrid Network Pricing Proposal for the Financial Year Ending June 2013, May 2012.
—— 2013, Meter Upgrades, accessed on 25 March 2013 from http://www.ausgrid.com.au/Common/Our-network/Metering/Meter-upgrades.aspx.
CRA (Charles River Associates) 2007, Cost Benefit Analysis of Smart Metering and Direct Load Control, Stream 2, Network Benefits and Recurring Costs, prepared for the Department of Industry, Tourism and Resources, Phase 1 Report, September.
—— 2008a, Cost benefit analysis of smart metering and direct load control, Report to the Ministerial Council on Energy, Work stream 2: Network benefits and recurrent costs.
—— 2008b, Cost benefit analysis of smart metering and direct load control, Report to the Ministerial Council on Energy, Work stream 5: Economic Impacts on wholesale electricity market and greenhouse gas emission outcomes.
Deloitte 2011a, Advanced metering infrastructure cost benefit analysis, Final Report to the Victorian Department of Treasury and Finance, 2 August.
—— 2011b, Advanced metering infrastructure customer impact study, Final Report, 2 volumes, report to the Victorian Department of Primary Industries, October.
—— 2012, Analysis of initiatives to lower peak demand, Report for Energy Supply Association of Australia, April.
EMCa (Energy Market Consulting Associates) 2008, Cost benefit analysis of smart metering and direct load control, Report to the Ministerial Council on Energy, Work stream 6: Transitional implementation costs.
EnergyAustralia and TransGrid 2009, Demand Management Investigation Report, Sydney Inner Metropolitan Area, November.
Ernst and Young, 2011, Rationale and drivers for DSP in the electricity market – demand and supply of electricity, report for the AEMC Power of Choice review, December.
ESC (Essential Services Commission) 2002, Installing interval meters for electricity customers — costs and benefits: Position paper, Melbourne.
—— 2004, Mandatory rollout of interval meters for electricity customers: Final decision, Melbourne.
Etrog Consulting 2012, Flexible pricing of electricity for residential and small business customers, prepared for Department of Primary Industries, Victorian Government.
ETSA Utilities 2009, Annual Demand Management Compliance Report, Issue 1.0, August.
Faruqui, A. and Palmer, J. 2011, ‘Dynamic pricing and Its Discontents’, Regulation, Fall, pp. 16‑22.
Futura Consulting 2009, Advanced metering infrastructure program — benefits realisation roadmap, report prepared for the Department of Primary Industries.
—— 2011, Power of choice — giving consumers options in the way they use electricity, Investigation of existing and plausible future demand side participation in the electricity market, Final Report for the Australian Energy Market Commission, December.
—— 2012, Analysis of Initiatives to Lower Peak Demand, Final Report to the Energy Supply Association of Australia, April.
Harrison, M. 2010, Valuing the Future: the social discount rate in cost-benefit analysis, Visiting Researcher Paper, Productivity Commission, Canberra.
Hierzinger, R., Albu, M., van Elburg, H., Scott, A., Łazicki, A., Penttinen, L., Puente, F., Sæle, H. 2012, European Smart Metering Landscape Report 2012, SmartRegions Deliverable 2.1, www.smartregions.net, October, Vienna.
KPMG 2008, Cost benefit analysis of smart metering and direct load control, Report to the Ministerial Council on Energy, Work stream 3: Retailer impacts.
Langmore, M. and Duffy, G. 2004, Domestic electricity demand elasticities, Issues for the Victorian Energy Market, paper for the St Vincent de Paul Society.
McGowan, S, 2009, ‘Hot in the city’, Ecolibrium, February 2009, pp. 14‑17.
Oakley Greenwood 2010a, Review of AMI benefits, report prepared for the Victorian Department of Primary Industries, July.
—— 2010b, Benefits and Costs of the Victorian AMI Program, report prepared for the Victorian Department of Primary Industries, August.
NERA (NERA Economic Consulting) 2008a, Cost benefit analysis of smart metering and direct load control, Report to the Ministerial Council on Energy, Overview report for consultation.
—— 2008b, Cost benefit analysis of smart metering and direct load control, Report to the Ministerial Council on Energy, Work stream 4: Consumer impacts.
Origin Energy 2012, NSW Pricing Tariffs, accessed in March 2013 from www.originenergy.com.au.
—— 2013, Tariff details for Smart Time of Use Explained and Dynamic Saver Explained, accessed 30 March from www.originenergy.com.au.
Queensland Department of Employment, Economic Development and Innovation 2011, Queensland Energy Management Plan, May.
Victorian Auditor-General, 2009, Toward a ‘smart grid’ — the roll out of advanced metering infrastructure, Report 2009‑10:3, Melbourne.
Wilkenfeld, G. 2011, Demand Response Standard AS/NZS 4755, Consultant to Equipment Energy Efficiency (E3) Program, Australia. Presentation to APEC Workshop, Seoul, November 2011.