D	Sensitivity analysis

Sensitivity analysis was undertaken to test the impact of variations to key parameters in the model. The parameters varied are:

- mean inflows to dams (section D.1)

- the distribution of inflows modelled (section D.2)

- the weight attached to the low inflow scenarios (section D.3)

- price elasticities of demand (section D.4)

- the price and quantity point used to calibrate the linear demand function (section D.5)

- an alternative specification (constant price elasticity) of the demand function (section D.6)

- growth rates of urban water consumption (section D.7)

- discount rates (section D.8)

- initial storage levels (section D.9)

- an alternative specification of long-run marginal cost (LRMC) pricing (section D.10).

The effects of changes in these parameters on key results — prices, storage, investment, and the impact of various pricing and restrictions policies — are presented in this appendix. The results are compared to the ‘central estimates’: the simulation results presented in chapter 3 and 4, using all the default parameter values (as described in appendix B).

## D.1	Mean inflows to dams

This sensitivity test involved running simulations with mean inflows 30 per cent higher (390 GL per year), and 30 per cent lower (210 GL per year) than the base case of 300 GL per year. Results for prices are included in figure D.1, storage in figure D.2, investment in figure D.3, and welfare results are in table D.1.

Figure D.1	Price distributions for different mean inflow assumptions

Under scarcity-based pricing ($/kL)

Low mean inflows High mean inflows

a Maximum price. b Ninetieth percentile price. c Median price. d Tenth percentile price. e Minimum price.

Data source: Modelling results.

Figure D.2	Water in storage for different mean inflow assumptions

Under scarcity-based pricing (GL)

Low mean inflows High mean inflows

Data source: Modelling results.

Figure D.3	Mean discounted, truncated investment expenditure for different mean inflow assumptionsa

Under scarcity-based pricing ($ million)

aIncludes the total cost of investment in all new supply sources.

Data source: Modelling results.

Table D.1	Net social welfare costs of policy constraints for different mean inflow assumptions

Expected, net present value of costs ($ million) relative to scarcity-based pricing, for the next eight years

| Policy | Central estimate | Mean inflows |  |
| --- | --- | --- | --- |
|  |  | Low (-30%) | High (+30%) |
| Restrictions | 522 | 673 | 267 |
| Restrictions and LRMC | 658 | 1 026 | 599 |
| LRMC | 94 | 241 | 60 |
| Cost recovery | 153 | 339 | 137 |

Source: Modelling results.

## D.2	Distribution of inflows

This sensitivity test involved running simulations with alternative inflow distribution assumptions. These were constructed by changing the probabilities attached to low, medium and high inflows in the three-point discrete distribution of inflows. Inflows to dams under the alternate distributions were set by maintaining the median, mean and standard deviation of inflows (table D.2). Results are shown in figures D.4, D.5 and D.6, and in table D.3.

Table D.2	Distribution of annual inflows for sensitivity testing

|  | Base case |  |  | Distribution 1 |  |  | Distribution 2 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Probability | Inflows |  | Probability | Inflows |  | Probability | Inflows |
|  |  | (GL) |  |  | (GL) |  |  | (GL) |
| Low | 0.25 | 180 |  | 0.10 | 156 |  | 0.33 | 189 |
| Medium | 0.50 | 300 |  | 0.80 | 300 |  | 0.33 | 300 |
| High | 0.25 | 573 |  | 0.10 | 744 |  | 0.33 | 537 |

Figure D.4	Price distributions for different inflow distribution assumptions

Under scarcity-based pricing ($/kL)

Distribution 1 Distribution 2

a Maximum price. b Ninetieth percentile price. c Median price. d Tenth percentile price. e Minimum price.

Data source: Modelling results.

Figure D.5	Water in storage for different inflow distribution assumptions

Under scarcity-based pricing (GL)

Distribution 1 Distribution 2

Data source: Modelling results.

Figure D.6	Mean discounted, truncated investment expenditure for different inflow distribution assumptionsa

Under scarcity-based pricing ($ million)

aIncludes the total cost of investment in all new supply sources.

Data source: Modelling results.

Table D.3	Net social welfare costs of policy constraints for different inflow distribution assumptions

Expected, net present value of costs ($ million) relative to scarcity-based pricing, for the next eight years

| Policy | Central estimate | Distribution of inflows |  |
| --- | --- | --- | --- |
|  |  | Distribution 1 | Distribution 2 |
| Restrictions | 522 | 549 | 466 |
| Restrictions and LRMC | 658 | 651 | 786 |
| LRMC | 94 | 97 | 97 |
| Cost recovery | 153 | 141 | 152 |

Source: Modelling results.

## D.3	Weight attached to low inflow scenarios

This sensitivity test involved running the model with additional weight attached to low inflow scenarios in the probability tree. This can be thought of as representing a decision maker that is particularly concerned about low inflow events. In order to implement this, an additional reduction was imposed on the level of inflows attached to low inflow events. This means that deviations in inflows that would only be expected to occur in 10 per cent of years (based on historical data) are given a 25 per cent weighting, effectively increasing the weight given to low inflow scenarios (table D.4). Results are shown in figures D.7, D.8 and D.9, and in table D.5.

Table D.4	Inflow weights for sensitivity testing

|  | Base case |  |  | Alternative weighting |  |
| --- | --- | --- | --- | --- | --- |
|  | Probability | Inflows |  | Probability | Inflows |
|  |  | (GL) |  |  | (GL) |
| Low | 0.25 | 180 |  | 0.25 | 156 |
| Medium | 0.50 | 300 |  | 0.50 | 300 |
| High | 0.25 | 573 |  | 0.25 | 573 |

Figure D.7	Price distributions for greater weighting of low inflows

Under scarcity-based pricing ($/kL)

Central estimate Greater low inflow weight

a Maximum price. b Ninetieth percentile price. c Median price. d Tenth percentile price. e Minimum price.

Data source: Modelling results.

Figure D.8	Water in storage for greater weighting of low inflows

Under scarcity-based pricing (GL)

Central estimate Greater low inflow weight

Data source: Modelling results.

Figure D.9	Mean discounted, truncated investment expenditure for greater weighting of low inflowsa

Under scarcity-based pricing ($ million)

aIncludes the total cost of investment in all new supply sources.

Data source: Modelling results.

Table D.5	Net social welfare costs of policy constraints for greater weighting of low inflows

Expected, net present value of costs ($ million) relative to scarcity-based pricing, for the next eight years

| Policy | Central estimate | Greater weighting of low inflows |
| --- | --- | --- |
| Restrictions | 522 | 544 |
| Restrictions and LRMC | 658 | 698 |
| LRMC | 94 | 101 |
| Cost recovery | 153 | 243 |

Source: Modelling results.

## D.4	Price elasticity of demand

Sensitivity tests were performed in the demand elasticity, to examine how responsive the results are to different elasticity parameter values. A low elasticity (aggregate household elasticity of -0.1) and a high elasticity (aggregate household price elasticity of demand of -0.5) are tested (appendix B).

Testing the sensitivity of the price elasticity of demand can also be interpreted as a test on partial risk aversion in the consumption of water. The degree of partial risk aversion can be quantified using a measure analogous to the Arrow-Pratt measure of relative risk aversion, calculated as  (Menezes and Hanson 1970).  is the quantity of water consumed, and  is the utility function for consumers. Partial risk aversion increases with lower demand elasticity (Table D.6). Results are shown in figures D.10, D.11 and D.12, and in table D.7.

Table D.6	Partial risk aversion for various elasticity values

Measured at the mean level of consumption

| Price elasticity of demand | Relative risk aversion |
| --- | --- |
| Low | 8.5 |
| Central estimate | 7.4 |
| High | 6.5 |

### Figure D.10	Price distributions for different demand elasticity values

Under scarcity-based pricing ($/kL)

Low demand elasticity High demand elasticity

a Maximum price. b Ninetieth percentile price. c Median price. d Tenth percentile price. e Minimum price.

Data source: Modelling results.

Figure D.11	Water in storage for different demand elasticity values

Under scarcity-based pricing (GL)

Low demand elasticity High demand elasticity

Data source: Modelling results.

Figure D.12	Mean discounted, truncated investment expenditure for different demand elasticity valuesa

Under scarcity-based pricing ($ million)

aIncludes the total cost of investment in all new supply sources.

Data source: Modelling results.

Table D.7	Net social welfare costs of policy constraints for different demand elasticity values

Expected, net present value of costs ($ million) relative to scarcity-based pricing, for the next eight years

| Policy | Central estimate | Demand elasticity |  |
| --- | --- | --- | --- |
|  |  | Low (-0.10) | High (-0.5) |
| Restrictions | 522 | 1 013 | 401 |
| Restrictions and LRMC | 658 | 1 573 | 548 |
| LRMC | 94 | 149 | 117 |
| Cost recovery | 153 | 225 | 134 |

Source: Modelling results.

## D.5	Price and quantity point used for demand calibration

The model demand functions (the quantity demanded for a given price) are calibrated using a price and quantity (PQ) reference point. Changes in consumer behaviour — for example, in response to public education or moral suasion initiatives — could change the location of the demand function in the future. This sensitivity test examined the impact of increasing and decreasing the quantity of water consumed at the calibration points by 10 per cent. Results are shown in figures D.13, D.14 and D.15, and in table D.8.

Figure D.13	Price distributions for different demand calibrations

Under scarcity-based pricing ($/kL)

Low PQ point High PQ point

a Maximum price. b Ninetieth percentile price. c Median price. d Tenth percentile price. e Minimum price.

Data source: Modelling results.

Figure D.14	Water in storage for different demand calibrations

Under scarcity-based pricing (GL)

Low PQ point High PQ point

Data source: Modelling results.

Figure D.15	Mean discounted, truncated investment expenditure for different demand calibrationsa

Under scarcity-based pricing ($ million)

aIncludes the total cost of investment in all new supply sources.

Data source: Modelling results.

Table D.8	Net social welfare costs of policy constraints for different demand calibrations

Expected, net present value of costs ($ million) relative to scarcity-based pricing, for the next eight years

| Policy | Central estimate | Price and quantity for calibration |  |
| --- | --- | --- | --- |
|  |  | Low (-10%) | High (+10%) |
| Restrictions | 522 | 406 | 679 |
| Restrictions and LRMC | 658 | 564 | 813 |
| LRMC | 94 | 84 | 160 |
| Cost recovery | 153 | 117 | 293 |

Source: Modelling results.

## D.6	Constant price elasticity demand function

The model’s sensitivity to demand specification was also examined. This was tested by substituting the linear demand function with a constant elasticity of demand function, calibrated to the same elasticity and demand point. Results are shown in figures D.16, D.17 and D.18, and in table D.9.

Figure D.16	Price distributions for constant elasticity of demand

Under scarcity-based pricing ($/kL)

Central estimate Constant elasticity

a Maximum price. b Ninetieth percentile price. c Median price. d Tenth percentile price. e Minimum price.

Data source: Modelling results.

Figure D.17	Water in storage for constant elasticity of demand

Under scarcity-based pricing (GL)

Central estimate Constant elasticity

Data source: Modelling results.

Figure D.18	Mean discounted, truncated investment expenditure for constant elasticity of demanda

Under scarcity-based pricing ($ million)

aIncludes the total cost of investment in all new supply sources.

Data source: Modelling results.

Table D.9	Net social welfare costs of policy constraints for different mean inflow assumptions

Expected, net present value of costs ($ million) relative to scarcity-based pricing, for the next eight years

| Policy | Central estimate | Constant elasticity demand function |
| --- | --- | --- |
| Restrictions | 522 | 644 |
| Restrictions and LRMC | 658 | 822 |
| LRMC | 94 | 106 |
| Cost recovery | 153 | 256 |

Source: Modelling results.

## D.7	Growth rates of demand

The sensitivity of the model results to the growth rate of demand was tested by increasing and reducing the growth rate by 1 percentage point relative to the base case. Results are shown in figures D.19, D.20 and D.21, and in table D.10.

Figure D.19	Price distributions for different growth rates

Under scarcity-based pricing ($/kL)

Low growth rate High growth rate

a Maximum price. b Ninetieth percentile price. c Median price. d Tenth percentile price. e Minimum price.

Data source: Modelling results.

Figure D.20	Water in storage for different growth rates

Under scarcity-based pricing (GL)

Low growth rate High growth rate

Data source: Modelling results.

Figure D.21	Mean discounted, truncated investment expenditure for different growth ratesa

Under scarcity-based pricing ($ million)

aIncludes the total cost of investment in all new supply sources.

Data source: Modelling results.

Table D.10	Net social welfare costs of policy constraints for different growth rates

Expected, net present value of costs ($ million) relative to scarcity-based pricing, for the next eight years

| Policy | Central estimate | Growth rates of demand |  |
| --- | --- | --- | --- |
|  |  | Low (-1 ppt)a | High (+1 ppt)a |
| Restrictions | 522 | 487 | 549 |
| Restrictions and LRMC | 658 | 637 | 583 |
| LRMC | 94 | 89 | 97 |
| Cost recovery | 153 | 134 | 176 |

a ppt.: percentage point

Source: Modelling results.

## D.8	Discount rates

The sensitivity of the model results to the discount rate was tested by increasing and reducing the discount rate by 4 percentage points relative to the base case. Results are shown in figures D.22, D.23 and D.24, and in table D.11.

Figure D.22	Price distributions for different discount rates

Under scarcity-based pricing ($/kL)

Low discount rate High discount rate

a Maximum price. b Ninetieth percentile price. c Median price. d Tenth percentile price. e Minimum price.

Data source: Modelling results.

Figure D.23	Water in storage for different discount rates

Under scarcity-based pricing (GL)

Low discount rate High discount rate

Data source: Modelling results.

Figure D.24	Mean discounted, truncated investment expenditure for different discount ratesa

Under scarcity-based pricing ($ million)

aIncludes the total cost of investment in all new supply sources.

Data source: Modelling results.

Table D.11	Net social welfare costs of policy constraints for different discount rates

Expected, net present value of costs ($ million) relative to scarcity-based pricing, for the next eight years

| Policy | Central estimate | Discount rates |  |
| --- | --- | --- | --- |
|  |  | Low (2 per cent) | High (10 per cent) |
| Restrictions | 522 | 540 | 507 |
| Restrictions and LRMC | 658 | 789 | 816 |
| LRMC | 94 | 98 | 92 |
| Cost recovery | 153 | 151 | 152 |

Source: Modelling results.

## D.9	Initial storages

The sensitivity of the model results to the initial level of dam storage was tested by increasing and reducing initial storages by 20 per cent relative to the base case level of 35 per cent of capacity. Results are shown in figures D.25, D.26 and D.27, and in table D.12.

Figure D.25	Price distributions for different initial storages

Under scarcity-based pricing ($/kL)

Low initial storage High initial storage

a Maximum price. b Ninetieth percentile price. c Median price. d Tenth percentile price. e Minimum price.

Data source: Modelling results.

Figure D.26	Water in storage for different initial storages

Under scarcity-based pricing (GL)

Low initial storage High initial storage

Data source: Modelling results.

Figure D.27	Mean discounted, truncated investment expenditure for different initial storagesa

Under scarcity-based pricing ($ million)

aIncludes the total cost of investment in all new supply sources.

Data source: Modelling results.

Table D.12	Net social welfare costs of policy constraints for different initial storages

Expected, net present value of costs ($ million) relative to scarcity-based pricing, for the next eight years

| Policy | Central estimate | Initial storage |  |
| --- | --- | --- | --- |
|  |  | Low (-20 per cent) | High (+20 per cent) |
| Restrictions | 522 | 641 | 339 |
| Restrictions and LRMC | 658 | 1 320 | 580 |
| LRMC | 94 | 116 | 87 |
| Cost recovery | 153 | 302 | 87 |

Source: Modelling results.

## D.10	Alternative specification of long-run marginal cost pricing

An alternative specification of long-run marginal cost (LRMC) was also examined, in order to test the sensitivity of the LRMC simulations. The alternative specification involved setting all prices based on the levelised cost of the next cheapest source of supply. Initially, this is based on the cost of rural–urban trade. After the pipe has been commissioned, the price increases in line with the cost of desalination. Results are shown in figures D.28, D.29 and D.30, and in table D.13.

Figure D.28	Price distributions for the alternative LRMC specification

Under scarcity-based pricing ($/kL)

Central estimate Alternative LRMC

a Maximum price. b Ninetieth percentile price. c Median price. d Tenth percentile price. e Minimum price.

Data source: Modelling results.

Figure D.29	Water in storage for the alternative LRMC specification

Under scarcity-based pricing (GL)

Central estimate Alternative LRMC

Data source: Modelling results.

Figure D.30	Mean discounted, truncated investment expenditure for the alternative LRMC specificationa

Under scarcity-based pricing ($ million)

aIncludes the total cost of investment in all new supply sources.

Data source: Modelling results.

Table D.13	Net social welfare costs of policy constraints for the alternative LRMC specification

Expected, net present value of costs ($ million) relative to scarcity-based pricing, for the next eight years

| Policy | Central estimate | Alternative LRMC specification |
| --- | --- | --- |
| Restrictions | 522 | n.a. |
| Restrictions and LRMC | 658 | n.a. |
| LRMC | 94 | 304 |
| Cost recovery | 153 | n.a. |

Source: Modelling results.

n.a.: not applicable